## Report Template
Johnson Controls Calibration Report
Unit Type: 520 Ton
Test Request Number: TR 24-0147
Instrument Map Date: 11/04/2024
JADEC Test Facility: WC1200
| Instrument Serial Number | Instrument Title | Calibration Dates
|  |  | Last | Next
DAQ2 RTD Temperatures
| ED5420 | COND WATER ENTERING TEMP A | 2024-06-15 | 2024-12-15
| ED5376 | COND WATER ENTERING TEMP B | 2024-06-15 | 2024-12-15
| ED5357 | COND WATER LEAVING TEMP A | 2024-06-15 | 2024-12-15
| ED53E8 | COND WATER LEAVING TEMP B | 2024-06-15 | 2024-12-15
| ED5422 | EVAP WATER ENTERING TEMP A | 2024-06-15 | 2024-12-15
| ED53E3 | EVAP WATER ENTERING TEMP B | 2024-06-15 | 2024-12-15
| ED17BA | EVAP WATER LEAVING TEMP A | 2024-06-15 | 2024-12-15
| ED19E5 | EVAP WATER LEAVING TEMP B | 2024-06-15 | 2024-12-15
| ED5375 | AUX COOLING WATER ENTERING TEMP | 2024-06-15 | 2024-12-15
| ED5475 | AUX COOLING WATER LEAVING TEMP | 2024-06-15 | 2024-12-15
DAQ3 RTD Temperatures
| D2F1F7 | COMPRESSOR SUCTION TEMP | 2024-06-15 | 2024-12-15
| D2F765 | COMPRESSOR DISCHARGE TEMP | 2024-06-15 | 2024-12-15
| D2F762 | REFRIGERANT LIQUID TEMP TO EXPANSION VALVE | 2024-06-15 | 2024-12-15
| D5E712 | OIL COOLER WATER ON | 2024-06-15 | 2024-12-15
| D2F1EB | OIL COOLER WATER OFF | 2024-06-15 | 2024-12-15
| D2F1F0 | AMBIENT TEMPERATURE | 2024-06-15 | 2024-12-15
Omega Pressure Transducer
| 460445 | COMPRESSOR SUCTION PRESSURE | 2024-10-02 | 2025-04-02
| 532127 | COMPRESSOR DISCHARGE PRESSURE | 2024-10-02 | 2025-04-02
| 460437 | CONDENSER PRESSURE | 2024-10-02 | 2025-04-02
| 532132 | OIL PRESSURE | 2024-10-02 | 2025-04-02
| 460450 | OIL SUMP PRESSURE | 2024-10-02 | 2025-04-02
| 490587 | BAROMETRIC PRESSURE | 2024-10-02 | 2025-04-02
| 1903736 | TEST CHAMBER HUMIDITY | 2024-07-16 | 2025-07-16
Rosemount Delta P Transducer
| 1769839 | EVAPORATOR WATER PRESSURE DROP | 2024-10-02 | 2025-04-02
| 1396531 | CONDENSER WATER PRESSURE DROP | 2024-10-02 | 2025-04-02
| 1895448 | OIL COOLER WATER PRESSURE DROP | 2024-10-02 | 2025-04-02
Rosemount Magmeter
| 14653233_14653224 | EVAPORATOR WATER FLOW A | 2024-02-29 | 2026-02-28
| 14653355_14653320 | EVAPORATOR WATER FLOW B | 2024-02-29 | 2026-02-28
| 14653234_14653225 | CONDENSER WATER FLOW A | 2024-02-27 | 2026-02-27
| 14731924_14731857 | CONDENSER WATER FLOW B | 2024-02-27 | 2026-02-27
| 14652934_14652906 | OIL COOLER WATER FLOW | 2024-02-28 | 2026-02-28
` | Xitron Power Analyzer
| 2643AD1712002 | CHILLER INPUT | 2024-03-01 | 2025-03-01
| 2643AD1606009 | OIL PUMP | 2024-02-21 | 2025-02-21
| Prepared By: | Scott Beach | Date: | 2024-11-11

## Report WorkSheet
Johnson Controls Calibration Report
| Unit Type: | 520 Ton
| Test Request Number: | TR 24-0147 |  | Formatted date for validation
| Instrument Map Date: | 11/04/2024 |  | 2024-11-04
| JADEC Test Facility: | WC1200
| Instrument Serial Number | Instrument Title | Tag Names |  | Notes | ↓ Eng Tag Names from Cal Report ↓ | ↓ Eng Tag Names Match? ↓ | ↓ HW Tag Names from Cal Report ↓ | ↓ HW Tag Names Match? ↓ | ↓ Cal Date from Cal Report ↓ | ↓ Cal Due From Cal Report ↓ | ↓ # Days ↓ | ↓ Date in Range ↓
|  |  | ENG Tag Name | HW Tag Name
DAQ2 RTD Temperatures
| ED5420 | COND WATER ENTERING TEMP A | COND_WTR_E_TEMP_TET-CW-2A | DAQ2_RTD_001 | Facility Information Not on Inst Map Get From Cal Report | COND_WTR_E_TEMP_TET-CW-2A | y | DAQ2_RTD_001 | y | 2024-06-15 | 2024-12-15 | 183 | TRUE
| ED5376 | COND WATER ENTERING TEMP B | COND_WTR_E_TEMP_TET-CW-2B | DAQ2_RTD_002 |  | COND_WTR_E_TEMP_TET-CW-2B | y | DAQ2_RTD_002 | y | 2024-06-15 | 2024-12-15 | 183 | TRUE
| ED5357 | COND WATER LEAVING TEMP A | COND_WTR_L_TEMP_TET-CW-3A | DAQ2_RTD_003 |  | COND_WTR_L_TEMP_TET-CW-3A | y | DAQ2_RTD_003 | y | 2024-06-15 | 2024-12-15 | 183 | TRUE
| ED53E8 | COND WATER LEAVING TEMP B | COND_WTR_L_TEMP_TET-CW-3B | DAQ2_RTD_004 |  | COND_WTR_L_TEMP_TET-CW-3B | y | DAQ2_RTD_004 | y | 2024-06-15 | 2024-12-15 | 183 | TRUE
| ED5422 | EVAP WATER ENTERING TEMP A | EVAP_WTR_E_TEMP_TET-EW-2A | DAQ2_RTD_005 |  | EVAP_WTR_E_TEMP_TET-EW-2A | y | DAQ2_RTD_005 | y | 2024-06-15 | 2024-12-15 | 183 | TRUE
| ED53E3 | EVAP WATER ENTERING TEMP B | EVAP_WTR_E_TEMP_TET-EW-2B | DAQ2_RTD_006 |  | EVAP_WTR_E_TEMP_TET-EW-2B | y | DAQ2_RTD_006 | y | 2024-06-15 | 2024-12-15 | 183 | TRUE
| ED17BA | EVAP WATER LEAVING TEMP A | EVAP_WTR_L_TEMP_TET-EW-3A | DAQ2_RTD_007 |  | EVAP_WTR_L_TEMP_TET-EW-3A | y | DAQ2_RTD_007 | y | 2024-06-15 | 2024-12-15 | 183 | TRUE
| ED19E5 | EVAP WATER LEAVING TEMP B | EVAP_WTR_L_TEMP_TET-EW-3B | DAQ2_RTD_008 |  | EVAP_WTR_L_TEMP_TET-EW-3B | y | DAQ2_RTD_008 | y | 2024-06-15 | 2024-12-15 | 183 | TRUE
| ED5375 | AUX COOLING WATER ENTERING TEMP | CH_WTR_E_TEMP_TET-CH-2 | DAQ2_RTD_009 |  | CH_WTR_E_TEMP_TET-CH-2 | y | DAQ2_RTD_009 | y | 2024-06-15 | 2024-12-15 | 183 | TRUE
| ED5475 | AUX COOLING WATER LEAVING TEMP | CH_WTR_L_TEMP_TET-CH-3 | DAQ2_RTD_010 |  | CH_WTR_L_TEMP_TET-CH-3 | y | DAQ2_RTD_010 | y | 2024-06-15 | 2024-12-15 | 183 | TRUE
DAQ3 RTD Temperatures
| D2F1F7 | COMPRESSOR SUCTION TEMP | COMPR_SYS01_RFG_SUCT_TEMP_01 | DAQ3A_RTD_001 | HW Tag Names Not on Inst Map Use Channel to determine | COMPR_SYS01_RFG_SUCT_TEMP_01 | y | DAQ3A_RTD_001 | y | 2024-06-15 | 2024-12-15 | 183 | TRUE
| D2F765 | COMPRESSOR DISCHARGE TEMP | COMPR_SYS01_RFG_DISCH_TEMP_01 | DAQ3A_RTD_002 |  | COMPR_SYS01_RFG_DISCH_TEMP_01 | y | DAQ3A_RTD_002 | y | 2024-06-15 | 2024-12-15 | 183 | TRUE
| D2F762 | REFRIGERANT LIQUID TEMP TO EXPANSION VALVE | EVAP_SYS01_RLIQ_EV-E_TEMP_01 | DAQ3A_RTD_003 |  | EVAP_SYS01_RLIQ_EV-E_TEMP_01 | y | DAQ3A_RTD_003 | y | 2024-06-15 | 2024-12-15 | 183 | TRUE
| D5E712 | OIL COOLER WATER ON | OIL_SYS01_WTR_CLR-E_TEMP_01 | DAQ3A_RTD_004 |  | OIL_SYS01_WTR_CLR-E_TEMP_01 | y | DAQ3A_RTD_004 | y | 2024-06-15 | 2024-12-15 | 183 | TRUE
| D2F1EB | OIL COOLER WATER OFF | OIL_SYS01_WTR_CLR-L_TEMP_01 | DAQ3A_RTD_006 |  | OIL_SYS01_WTR_CLR-L_TEMP_01 | y | DAQ3A_RTD_006 | y | 2024-06-15 | 2024-12-15 | 183 | TRUE
| D2F1F0 | AMBIENT TEMPERATURE | AMB_UNIT_AIR_EXT_TEMP_01 | DAQ3A_RTD_005 |  | AMB_UNIT_AIR_EXT_TEMP_01 | y | DAQ3A_RTD_005 | y | 2024-06-15 | 2024-12-15 | 183 | TRUE
Omega Pressure Transducer
| 460445 | COMPRESSOR SUCTION PRESSURE | COMPR_SYS01_RVAP_SUCT_PRESS_01 | DAQ3A_AI_001 |  | COMPR_SYS01_RVAP_SUCT_PRESS_01 | y | DAQ3A_AI_001 | y | 2024-10-02 | 2025-04-02 | 182 | TRUE
| 532127 | COMPRESSOR DISCHARGE PRESSURE | COMPR_SYS01_RVAP_DISCH_PRESS_01 | DAQ3A_AI_002 |  | COMPR_SYS01_RVAP_DISCH_PRESS_01 | y | DAQ3A_AI_002 | y | 2024-10-02 | 2025-04-02 | 182 | TRUE
| 460437 | CONDENSER PRESSURE | COND_SYS01_RVAP_HIGH-CTR_PRESS_01 | DAQ3A_AI_003 |  | COND_SYS01_RVAP_HIGH-CTR_PRESS_01 | y | DAQ3A_AI_003 | y | 2024-10-02 | 2025-04-02 | 182 | TRUE
| 532132 | OIL PRESSURE | OIL_SYS01_OIL_PUMP_PRESS_01 | DAQ3A_AI_004 |  | OIL_SYS01_OIL_PUMP_PRESS_01 | y | DAQ3A_AI_004 | y | 2024-10-02 | 2025-04-02 | 182 | TRUE
| 460450 | OIL SUMP PRESSURE | OIL_SYS01_OIL_SUMP-MID_PRESS_01 | DAQ3A_AI_005 |  | OIL_SYS01_OIL_SUMP-MID_PRESS_01 | y | DAQ3A_AI_005 | y | 2024-10-02 | 2025-04-02 | 182 | TRUE
| 490587 | BAROMETRIC PRESSURE | AMB_UNIT_AIR_EXT_PRESS_01 | DAQ3A_AI_006 |  | AMB_UNIT_AIR_EXT_PRESS_01 | y | DAQ3A_AI_006 | y | 2024-10-02 | 2025-04-02 | 182 | TRUE
| 1903736 | TEST CHAMBER HUMIDITY | AMB_UNIT_AIR_EXT_HUMIDITY_01 | DAQ3A_AI_010 |  | AMB_UNIT_AIR_EXT_HUMIDITY_01 | y | DAQ3A_AI_010 | y | 2024-07-16 | 2025-07-16 | 365 | TRUE
Rosemount Delta P Transducer
| 1769839 | EVAPORATOR WATER PRESSURE DROP | EVAP_UNIT_WTR_NOZ_DP_01 | DAQ3A_AI_007 |  | EVAP_UNIT_WTR_NOZ_DP_01 | y | DAQ3A_AI_007 | y | 2024-10-02 | 2025-04-02 | 182 | TRUE
| 1396531 | CONDENSER WATER PRESSURE DROP | COND_UNIT_WTR_NOZ_DP_01 | DAQ3A_AI_008 |  | COND_UNIT_WTR_NOZ_DP_01 | y | DAQ3A_AI_008 | y | 2024-10-02 | 2025-04-02 | 182 | TRUE
| 1895448 | OIL COOLER WATER PRESSURE DROP | OIL_UNIT_WTR_NOZ_DP_01 | DAQ3A_AI_009 |  | OIL_UNIT_WTR_NOZ_DP_01 | y | DAQ3A_AI_009 | y | 2024-10-02 | 2025-04-02 | 182 | TRUE
Rosemount Magmeter
| 14653233_14653224 | EVAPORATOR WATER FLOW A | EVAP_WTR_E_TOTAL_FLOW | EVAP_WTR_E_FLOW_FT-EW-1A | Facility Information Not on Inst Map Get From Cal Report | EVAP_WTR_E_TOTAL_FLOW | y | EVAP_WTR_E_FLOW_FT-EW-1A | y | 2024-02-29 | 2026-02-28 | 730 | TRUE
| 14653355_14653320 | EVAPORATOR WATER FLOW B | EVAP_WTR_E_TOTAL_FLOW | EVAP_WTR_E_FLOW_FT-EW-1B |  | EVAP_WTR_E_TOTAL_FLOW | y | EVAP_WTR_E_FLOW_FT-EW-1B | y | 2024-02-29 | 2026-02-28 | 730 | TRUE
| 14653234_14653225 | CONDENSER WATER FLOW A | COND_WTR_E_TOTAL_FLOW | COND_WTR_E_FLOW_FT-CW-1A |  | COND_WTR_E_TOTAL_FLOW | y | COND_WTR_E_FLOW_FT-CW-1A | y | 2024-02-27 | 2026-02-27 | 731 | TRUE
| 14731924_14731857 | CONDENSER WATER FLOW B | COND_WTR_E_TOTAL_FLOW | COND_WTR_E_FLOW_FT-CW-1B |  | COND_WTR_E_TOTAL_FLOW | y | COND_WTR_E_FLOW_FT-CW-1B | y | 2024-02-27 | 2026-02-27 | 731 | TRUE
| 14652934_14652906 | OIL COOLER WATER FLOW | OIL_SYS01_WTR_CLR-E_FLOW_01 | CH_WTR_E_FLOW_FT-CH-1 |  | CTRL-LOOP-15_PV_CH_WTR_FLOW | n | CH_WTR_E_FLOW_FT-CH-1 | y | 2024-02-28 | 2026-02-28 | 731 | TRUE
` | Xitron Power Analyzer
| 2643AD1712002 | CHILLER INPUT | XT2640-011 | XT2640-011 |  | XT2640-011 | y | XT2640-011 | y | 2024-03-01 | 2025-03-01 | 365 | TRUE
| 2643AD1606009 | OIL PUMP | XT2640-045 | XT2640-045 |  | XT2640-045 | y | XT2640-045 | y | 2024-02-21 | 2025-02-21 | 366 | TRUE
| Prepared By: | Scott Beach | Date: | 2024-11-11

## Instrument Map
Analog Channels |  | 2024-10-21 |  | TR24-0147 520 Ton Production | WC 1200 SR
Ref ID | DAQ Driver | Channel | Serial number | Description/Location | LabVIEW Tag Names | Range
P1 | %DAQ3A_AI_001% | DAQ3A: mA: 1 | 460445 | COMPRESSOR SUCTION PRESSURE | COMPR_SYS01_RVAP_SUCT_PRESS_01 | 0-250 psia
P2 | %DAQ3A_AI_002% | DAQ3A: mA: 2 | 532127 | COMRPRESSOR DISCHARGE PRESSURE | COMPR_SYS01_RVAP_DISCH_PRESS_01 | 0-250 psia
P3 | %DAQ3A_AI_003% | DAQ3A: mA: 3 | 460437 | CONDENSER PRESSURE | COND_SYS01_RVAP_HIGH-CTR_PRESS_01 | 0-250 psia
P4 | %DAQ3A_AI_004% | DAQ3A: mA: 4 | 532132 | OIL PRESSURE | OIL_SYS01_OIL_PUMP_PRESS_01 | 0-250 psia
P5 | %DAQ3A_AI_005% | DAQ3A: mA: 5 | 460450 | OIL SUMP PRESSURE | OIL_SYS01_OIL_SUMP-MID_PRESS_01 | 0-250 psia
P6 | %DAQ3A_AI_006% | DAQ3A: mA: 6 | 490587 | BAROMETRIC PRESSURE | AMB_UNIT_AIR_EXT_PRESS_01 | 0-50 psia
DP1 | %DAQ3A_AI_007% | DAQ3A: mA: 7 | 1769839 | EVAPORATOR WATER PRESSURE DROP | EVAP_UNIT_WTR_NOZ_DP_01 | 0-45 ft,H2O
DP2 | %DAQ3A_AI_008% | DAQ3A: mA: 8 | 1396531 | CONDENSOR WATER PRESSURE DROP | COND_UNIT_WTR_NOZ_DP_01 | 0-45 ft,H2O
DP3 | %DAQ3A_AI_009% | DAQ3A: mA: 9 | 1895448 | OIL COOLER WATER PRESSURE DROP | OIL_UNIT_WTR_NOZ_DP_01 | 0-45 ft,H2O
S1 | %DAQ3A_AI_010% | DAQ3A: mA: 10 | 1903736 | TEST CHAMBER HUMIDITY | AMB_UNIT_AIR_EXT_HUMIDITY_01 | N/A
| %DAQ3A_AI_011% | DAQ3A: mA: 11
| %DAQ3A_AI_012% | DAQ3A: mA: 12
| %DAQ3A_AI_013% | DAQ3A: mA: 13
| %DAQ3A_AI_014% | DAQ3A: mA: 14
| %DAQ3A_AI_015% | DAQ3A: mA: 15
| %DAQ3A_AI_016% | DAQ3A: mA: 16
| %DAQ3A_AI_017% | DAQ3A: mA: 17
| %DAQ3A_AI_018% | DAQ3A: mA: 18
| %DAQ3A_AI_019% | DAQ3A: mA: 19
| %DAQ3A_AI_020% | DAQ3A: mA: 20
| %DAQ3A_AI_021% | DAQ3A: mA: 21
| %DAQ3A_AI_022% | DAQ3A: mA: 22
| %DAQ3A_AI_023% | DAQ3A: mA: 23
| %DAQ3A_AI_024% | DAQ3A: mA: 24
| %DAQ3A_AI_025% | DAQ3A: mA: 25
| %DAQ3A_AI_026% | DAQ3A: mA: 26
| %DAQ3A_AI_027% | DAQ3A: mA: 27
| %DAQ3A_AI_028% | DAQ3A: mA: 28
| %DAQ3A_AI_029% | DAQ3A: mA: 29
| %DAQ3A_AI_030% | DAQ3A: mA: 30
| %DAQ3A_AI_031% | DAQ3A: mA: 31
| %DAQ3A_AI_032% | DAQ3A: mA: 32
[5 empty] | Xitrons Required |  | Facility Flow Meters
[5 empty] | Input power (XT-011) |  | COND_SYS01_WTR_E_FLOW_01 (Condenser)
[5 empty] | Oil Pump (XT-045) |  | EVAP_SYS01_WTR_E_FLOW_01 (Evaporator)
OIL_SYS01_WTR_CLR-E_FLOW_01 (Aux cooling)
RTD Channels |  | 2024-10-21 |  | TR24-0147 520 Ton Production | WC 1200 SR
Ref ID | DAQ Driver | Channel | Serial number | Description/Location | LabVIEW Tag Names | Length
WRTD 1 | %DAQ3A_RTD_001% | DAQ3A: RTD: 1 | X | COMPRESSOR SUCTION TEMP | COMPR_SYS01_RFG_SUCT_TEMP_01 | 8"
WRTD 2 | %DAQ3A_RTD_002% | DAQ3A: RTD: 2 | X | COMPRESSOR DISCHARGE TEMP | COMPR_SYS01_RFG_DISCH_TEMP_01 | 8"
WRTD 3 | %DAQ3A_RTD_003% | DAQ3A: RTD: 3 | X | REFRIGERANT LIQUID TEMP TO EXPANSION VALVE #1 | EVAP_SYS01_RLIQ_EV-E_TEMP_01 | 8"
WRTD 4 | %DAQ3A_RTD_004% | DAQ3A: RTD: 4 | X | OIL COOLER WATER ON | OIL_SYS01_WTR_CLR-E_TEMP_01 | 8"
WRTD 5 | %DAQ3A_RTD_005% | DAQ3A: RTD: 5 | X | AMBIENT TEMPERATURE | AMB_UNIT_AIR_EXT_TEMP_01 | 8"
WRTD 6 | %DAQ3A_RTD_006% | DAQ3A: RTD: 6 | X | OIL COOLER WATER OFF | OIL_SYS01_WTR_CLR-L_TEMP_01 | 8"
WRTD 7 | %DAQ3A_RTD_007% | DAQ3A: RTD: 7 | X |  |  | 10"
WRTD 8 | %DAQ3A_RTD_008% | DAQ3A: RTD: 8 | X |  |  | 10"
WRTD 9 | %DAQ3A_RTD_009% | DAQ3A: RTD: 9 | X |  |  | 10"
WRTD 10 | %DAQ3A_RTD_010% | DAQ3A: RTD: 10 | X |  |  | 10"
WRTD 11 | %DAQ3A_RTD_011% | DAQ3A: RTD: 11 | X |  |  | 10"
WRTD 12 | %DAQ3A_RTD_012% | DAQ3A: RTD: 12 | X |  |  | 10"
WRTD 13 | %DAQ3A_RTD_013% | DAQ3A: RTD: 13 | X |  |  | 10"
WRTD 14 | %DAQ3A_RTD_014% | DAQ3A: RTD: 14 | X |  |  | 10"
WRTD 15 | %DAQ3A_RTD_015% | DAQ3A: RTD: 15 | X |  |  | 12"
WRTD 16 | %DAQ3A_RTD_016% | DAQ3A: RTD: 16 | X |  |  | 12"
WRTD 17 | %DAQ3A_RTD_017% | DAQ3A: RTD: 17 | X |  |  | 8"
WRTD 18 | %DAQ3A_RTD_018% | DAQ3A: RTD: 18 | X |  |  | 8"
WRTD 19 | %DAQ3A_RTD_019% | DAQ3A: RTD: 19 | X |  |  | 8"
WRTD 20 | %DAQ3A_RTD_020% | DAQ3A: RTD: 20 | X |  |  | 8"
WRTD 21 | %DAQ3A_RTD_021% | DAQ3A: RTD: 21 | X |  |  | 8"
WRTD 22 | %DAQ3A_RTD_022% | DAQ3A: RTD: 22 | X |  |  | 8"
WRTD 23 | %DAQ3A_RTD_023% | DAQ3A: RTD: 23 | X |  |  | 10"
WRTD 24 | %DAQ3A_RTD_024% | DAQ3A: RTD: 24 | X |  |  | 10"
WRTD 25 | %DAQ3A_RTD_025% | DAQ3A: RTD: 25 | X |  |  | 10"
WRTD 26 | %DAQ3A_RTD_026% | DAQ3A: RTD: 26 | X |  |  | 10"
WRTD 27 | %DAQ3A_RTD_027% | DAQ3A: RTD: 27 | X |  |  | 10"
WRTD 28 | %DAQ3A_RTD_028% | DAQ3A: RTD: 28 | X |  |  | 10"
WRTD 29 | %DAQ3A_RTD_029% | DAQ3A: RTD: 29 | X |  |  | 10"
WRTD 30 | %DAQ3A_RTD_030% | DAQ3A: RTD: 30 | X |  |  | 10"
WRTD 31 | %DAQ3A_RTD_031% | DAQ3A: RTD: 31 | X |  |  | 12"
WRTD 32 | %DAQ3A_RTD_032% | DAQ3A: RTD: 32 | X |  |  | 12"
TC Channels |  | 2024-10-21 |  | TR24-0147 520 Ton Production | WC 1200 SR
Ref ID | DAQ Driver | Channel | Serial number | Description/Location | LabVIEW Tag Names | Range
TC 1 | %DAQ3A_TC_001% | DAQ3A TC: 1 | X | OIL ON OIL COOLER | OIL_SYS01_OIL_CLR-E_TEMP_01 | 0-350°F
TC 2 | %DAQ3A_TC_002% | DAQ3A TC: 2 | X | OIL OFF OIL COOLER | OIL_SYS01_OIL_CLR-L_TEMP_01 | 0-350°F
TC 3 | %DAQ3A_TC_003% | DAQ3A TC: 3 | X | OIL SUMP TEMP | OIL_SYS01_SUR_SUMP_TEMP_01 | 0-350°F
TC 4 | %DAQ3A_TC_004% | DAQ3A TC: 4 | X | OIL OFF BEARINGS TEMP | OIL_SYS01_SUR_BRG-L_TEMP_01 | 0-350°F
TC 5 | %DAQ3A_TC_005% | DAQ3A TC: 5 | X |  |  | 0-350°F
TC 6 | %DAQ3A_TC_006% | DAQ3A TC: 6 | X |  |  | 0-350°F
TC 7 | %DAQ3A_TC_007% | DAQ3A TC: 7 | X |  |  | 0-350°F
TC 8 | %DAQ3A_TC_008% | DAQ3A TC: 8 | X |  |  | 0-350°F
TC 9 | %DAQ3A_TC_009% | DAQ3A TC: 9 | X |  |  | 0-350°F
TC 10 | %DAQ3A_TC_010% | DAQ3A TC: 10 | X |  |  | 0-350°F
TC 11 | %DAQ3A_TC_011% | DAQ3A TC: 11 | X |  |  | 0-350°F
TC 12 | %DAQ3A_TC_012% | DAQ3A TC: 12 | X |  |  | 0-350°F
TC 13 | %DAQ3A_TC_013% | DAQ3A TC: 13 | X |  |  | 0-350°F
TC 14 | %DAQ3A_TC_014% | DAQ3A TC: 14 | X |  |  | 0-350°F
TC 15 | %DAQ3A_TC_015% | DAQ3A TC: 15 | X |  |  | 0-350°F
TC 16 | %DAQ3A_TC_016% | DAQ3A TC: 16 | X |  |  | 0-350°F
TC 17 | %DAQ3A_TC_017% | DAQ3A TC: 17 | X |  |  | 0-350°F
TC 18 | %DAQ3A_TC_018% | DAQ3A TC: 18 | X |  |  | 0-350°F
TC 19 | %DAQ3A_TC_019% | DAQ3A TC: 19 | X |  |  | 0-350°F
TC 20 | %DAQ3A_TC_020% | DAQ3A TC: 20 | X |  |  | 0-350°F
TC 21 | %DAQ3A_TC_021% | DAQ3A TC: 21 | X |  |  | 0-350°F
TC 22 | %DAQ3A_TC_022% | DAQ3A TC: 22 | X |  |  | 0-350°F
TC 23 | %DAQ3A_TC_023% | DAQ3A TC: 23 | X |  |  | 0-350°F
TC 24 | %DAQ3A_TC_024% | DAQ3A TC: 24 | X |  |  | 0-350°F
TC 25 | %DAQ3A_TC_025% | DAQ3A TC: 25 | X |  |  | 0-350°F
TC 26 | %DAQ3A_TC_026% | DAQ3A TC: 26 | X |  |  | 0-350°F
TC 27 | %DAQ3A_TC_027% | DAQ3A TC: 27 | X |  |  | 0-350°F
TC 28 | %DAQ3A_TC_028% | DAQ3A TC: 28 | X |  |  | 0-350°F
TC 29 | %DAQ3A_TC_029% | DAQ3A TC: 29 | X |  |  | 0-350°F
TC 30 | %DAQ3A_TC_030% | DAQ3A TC: 30 | X |  |  | 0-350°F
TC 31 | %DAQ3A_TC_031% | DAQ3A TC: 31 | X |  |  | 0-350°F
TC 32 | %DAQ3A_TC_032% | DAQ3A TC: 32 | X |  |  | 0-350°F
Reference ID naming:
P = Pressure Transducer
DP = Differential Pressure
F = Flow Meter
S= Special Instrument
NOTE: DP are pressure differentials. All pressure differentials should be mounted so that the instrument is at the highest point and all lines run continuously down hill to the measurement location with no liquid traps. Keep lines as short as possible.
Reference ID naming:
WRTD = Resistance RTD (0-200°F)
NOTE: RTDs in thermal wells should be installed with a coating of thermal paste.
Reference ID naming:
TC = Thermocouple

## CalReport
System Date | 2024-11-04 13:24
Report Type | System | System ID | System Name | Site ID | Site Name | System Type | System IP Address
System | Base System | 21 | WC1200 | 1 | JADEC | JADEC WC1200-WC2000 | 192.168.1.3
System | Subsystem 1 | 31 | XT2640-011 | 1 | JADEC | Xitron XT2640 | 192.168.1.150
System | Subsystem 2 | 74 | XT2640-045 | 1 | JADEC | Xitron XT2640 | 192.168.1.151
System | Subsystem 3 | 79 | XT2640-050 | 1 | JADEC | Xitron XT2640 | 192.168.1.159
Report Type | System ID | System Name | Serial Number | System Type | Manufacturer | Model | Calibration Date | Calibration Due | Cal Due (Days) | Status
Additional Equipment | 31 | XT2640-011 | 2643AD1712002 | Xitron XT2640 | XITRON | XT2640 | 2024-03-01 | 2025-03-01 | 117 | OK
Additional Equipment | 74 | XT2640-045 | 2643AD1606009 | Xitron XT2640 | XITRON | XT2640 | 2024-02-21 | 2025-02-21 | 109 | OK
Additional Equipment | 79 | XT2640-050 | 2643AD1904001 | Xitron XT2640 | XITRON | XT2640 | 2024-06-27 | 2025-06-27 | 235 | OK
Report Type | System | Chassis Serial Number | Chassis Panel | Chassis Index | Collection Hardware ID | Module Serial Number | Manufacturer | Model | Slot | Calibration ID | Calibration Date | Calibration Due Date | Cal Due (Days) | Status
Collection Hardware | WC1200 | 28520354 | DAQ 3 | 2 | 93 | 29072571 | NI | 9208 | 3 | 19076 | 2024-01-05 | 2026-01-05 | 427 | OK
Collection Hardware | WC1200 | 28520474 | DAQ 2 | 1 | 97 | 28724572 | NI | 9208 | 1 | 19078 | 2024-01-05 | 2026-01-05 | 427 | OK
Collection Hardware | WC1200 | 28520354 | DAQ 3 | 2 | 155 | 28912794 | NI | 9214 | 1 | 19086 | 2024-01-05 | 2025-01-05 | 62 | OK
Collection Hardware | WC1200 | 28520354 | DAQ 3 | 2 | 229 | 29072578 | NI | 9208 | 2 | 19077 | 2024-01-05 | 2026-01-05 | 427 | OK
Collection Hardware | WC1200 | 28918155 | DAQ 1 | -1 | 233 | 29072519 | NI | 9208 | 2 | 19079 | 2024-01-05 | 2026-01-05 | 427 | OK
Collection Hardware | WC1200 | 28918155 | DAQ 1 | -1 | 243 | 29025558 | NI | 9425 | 7 | 19081 | 2024-01-05 | 2026-01-05 | 427 | OK
Collection Hardware | WC1200 | 28918155 | DAQ 1 | -1 | 244 | 28724347 | NI | 9476 | 8 | 19082 | 2024-01-05 | 2026-01-05 | 427 | OK
Collection Hardware | WC1200 | 28520474 | DAQ 2 | 1 | 246 | 29025749 | NI | 9425 | 5 | 19083 | 2024-01-05 | 2026-01-05 | 427 | OK
Collection Hardware | WC1200 | 28520474 | DAQ 2 | 1 | 247 | 29026021 | NI | 9425 | 6 | 19084 | 2024-01-05 | 2026-01-05 | 427 | OK
Collection Hardware | WC1200 | 28520474 | DAQ 2 | 1 | 248 | 28678324 | NI | 9476 | 7 | 19085 | 2024-01-05 | 2026-01-05 | 427 | OK
Collection Hardware | WC1200 | 28520474 | DAQ 2 | 1 | 423 | 30652524 | NI | 9216 | 2 | 22330 | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Collection Hardware | WC1200 | 28520474 | DAQ 2 | 1 | 424 | 30449159 | NI | 9216 | 3 | 22329 | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Collection Hardware | WC1200 | 28520354 | DAQ 3 | 2 | 436 | 31014915 | NI | 9214 | 4 | 19087 | 2024-01-05 | 2025-01-05 | 62 | OK
Collection Hardware | WC1200 | 28918155 | DAQ 1 | -1 | 571 | 28932682 | NI | 9208 | 1 | 19080 | 2024-01-05 | 2026-01-05 | 427 | OK
Collection Hardware | WC1200 | 28520354 | DAQ 3 | 2 | 3599 | 34004033 | NI | 9216 | 5 | 22326 | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Collection Hardware | WC1200 | 28520354 | DAQ 3 | 2 | 3600 | 34004026 | NI | 9216 | 6 | 22327 | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Collection Hardware | WC1200 | 28520354 | DAQ 3 | 2 | 3601 | 34004024 | NI | 9216 | 7 | 22325 | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Collection Hardware | WC1200 | 28520354 | DAQ 3 | 2 | 3602 | 34068419 | NI | 9216 | 8 | 22328 | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Collection Hardware | WC1200 | 28918155 | DAQ 1 | -1 | 4617 | 34777069 | NI | 9265 | 3 | 19088 | 2024-01-05 | 2025-01-05 | 62 | OK
Collection Hardware | WC1200 | 28918155 | DAQ 1 | -1 | 4618 | 34777073 | NI | 9265 | 6 | 19089 | 2024-01-05 | 2025-01-05 | 62 | OK
Collection Hardware | WC1200 | 28918155 | DAQ 1 | -1 | 4619 | 34777156 | NI | 9265 | 5 | 19091 | 2024-01-05 | 2025-01-05 | 62 | OK
Collection Hardware | WC1200 | 28918155 | DAQ 1 | -1 | 4620 | 34777158 | NI | 9265 | 4 | 19090 | 2024-01-05 | 2025-01-05 | 62 | OK
Report Type | System (Eng. Tag) | Engineering Tag ID | Engineering Tag Name | System (HW Tag) | Hardware Channel Tag ID | Hardware Channel Tag Name | Caption | Type | Active | Scan Enabled | Logging Enabled | HW Min | HW Max | HW Units | SW Units | Process Interface ID | Serial Number | Type | Manufacturer | Model | Calibration Date | Calibration Due Date | Cal Due (Days) | Status
Process Interfaces | N/A | N/A | N/A | WC1200 | 7026 | CTRL-LOOP-01_OUTPUT_CW-P1 | Control Loop 1 CW-P1 Output | AO | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | % | 1738 | WC1200_CW-P1 | Pump |  |  | 2018-01-01 | 2118-01-01 | 34025 | OK
Process Interfaces | WC1200 | 7031 | COND_WTR_E_TOTAL_FLOW | WC1200 | 7029 | COND_WTR_E_FLOW_FT-CW-1A | Cond Water Entering Flow 1A | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | gpm | 1727 | 14653234_14653225 | Flow | Rosemount |  | 2024-02-27 | 2026-02-27 | 480 | OK
Process Interfaces | WC1200 | 7031 | COND_WTR_E_TOTAL_FLOW | WC1200 | 7030 | COND_WTR_E_FLOW_FT-CW-1B | Cond Water Entering Flow 1B | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | gpm | 1730 | 14731924_14731857 | Flow | Rosemount |  | 2024-02-27 | 2026-02-27 | 480 | OK
Process Interfaces | N/A | N/A | N/A | WC1200 | 7040 | CTRL-LOOP-03_AUTO_SP_TCV-CH-5B | Control Loop 3 TCV-CH-5B Auto Setpoint | AI | TRUE | TRUE | TRUE | #NAME? | Inf | % | degF | 1775 | WC1200_LOOP-03_AUTO-SP | Loop |  |  | 2018-01-01 | 2118-01-01 | 34025 | OK
Process Interfaces | N/A | N/A | N/A | WC1200 | 7042 | CTRL-LOOP_OUTPUT_TCV-CH-5B | Control Loop TCV-CH-5B Output | AO | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | % | 1721 | WC1200_TCV-CH-5B | Valve | FISHER |  | 2018-01-01 | 2118-01-01 | 34025 | OK
Process Interfaces | WC1200 | 7043 | CTRL-LOOP-03_PV_COND_WTR_E_TEMP | WC1200 | 7049 | COND_WTR_E_TEMP_TET-CW-1A | Cond Water Loop Temp 1A | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | degF | 1752 | M304B323 | RTD | Pyromation |  | 2018-01-01 | 2118-01-01 | 34025 | OK
Process Interfaces | N/A | N/A | N/A | WC1200 | 7057 | CTRL-LOOP-05_OUTPUT_FCV-CW-4 | Control Loop 5 FCV-CW-4 Output | AO | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | % | 1717 | WC1200_FCV-CW-4 | Valve | FISHER |  | 2018-01-01 | 2118-01-01 | 34025 | OK
Process Interfaces | N/A | N/A | N/A | WC1200 | 7063 | CTRL-LOOP-06_OUTPUT_TCV-CW-2 | Control Loop 6 TCV-CW-2 Output | AO | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | % | 1722 | WC1200_TCV-CW-2 | Valve | FISHER |  | 2018-01-01 | 2118-01-01 | 34025 | OK
Process Interfaces | N/A | N/A | N/A | WC1200 | 7069 | CTRL-LOOP-07_OUTPUT_EW-P1 | Control Loop 7 EW-P1 | AO | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | % | 1739 | WC1200_EW-P1 | Pump |  |  | 2018-01-01 | 2118-01-01 | 34025 | OK
Process Interfaces | WC1200 | 7074 | EVAP_WTR_E_TOTAL_FLOW | WC1200 | 7072 | EVAP_WTR_E_FLOW_FT-EW-1A | EVAP Water Entering Flow 1A | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | gpm | 1726 | 14653233_14653224 | Flow | Rosemount |  | 2024-02-29 | 2026-02-28 | 481 | OK
Process Interfaces | WC1200 | 7074 | EVAP_WTR_E_TOTAL_FLOW | WC1200 | 7073 | EVAP_WTR_E_FLOW_FT-EW-1B | EVAP Water Entering Flow 1B | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | gpm | 1729 | 14653355_14653320 | Flow | Rosemount |  | 2024-02-29 | 2026-02-28 | 481 | OK
Process Interfaces | N/A | N/A | N/A | WC1200 | 7083 | CTRL-LOOP-09_AUTO_SP_TCV-CW-3B | Control Loop 9 TCV-CW-3B Auto Setpoint | AI | TRUE | TRUE | TRUE | #NAME? | Inf | % | degF | 1776 | WC1200_LOOP-09_AUTO-SP | Loop |  |  | 2018-01-01 | 2118-01-01 | 34025 | OK
Process Interfaces | N/A | N/A | N/A | WC1200 | 7085 | CTRL-LOOP_OUTPUT_TCV-CW-3B | Control Loop TCV-CW-3B Output | AO | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | % | 1724 | WC1200_TCV-CW-3B | Valve | FISHER |  | 2018-01-01 | 2118-01-01 | 34025 | OK
Process Interfaces | WC1200 | 7086 | CTRL-LOOP-09_PV_EVAP_WTR_E_TEMP | WC1200 | 7092 | EVAP_WTR_E_TEMP_TET-EW-1A | Evap Water Loop Temp 1A | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | degF | 1748 | M3049423 | RTD | Pyromation |  | 2018-01-01 | 2118-01-01 | 34025 | OK
Process Interfaces | N/A | N/A | N/A | WC1200 | 7106 | CTRL-LOOP-12_OUTPUT_FCV-EW-1 | Control Loop 12 FCV-EW-1 Output | AO | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | % | 1718 | WC1200_FCV-EW-1 | Valve | FISHER |  | 2018-01-01 | 2118-01-01 | 34025 | OK
Process Interfaces | N/A | N/A | N/A | WC1200 | 7112 | CTRL-LOOP-13_OUTPUT_FCV-EW-7 | Control Loop 13 FCV-EW-7 Output | AO | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | % | 1719 | WC1200_FCV-EW-7 | Valve | FISHER |  | 2018-01-01 | 2118-01-01 | 34025 | OK
Process Interfaces | N/A | N/A | N/A | WC1200 | 7122 | CTRL-LOOP-15_AUTO_SP_FCV-CH-6 | Control Loop 15 FCV-CH-6 Auto Setpoint | AI | TRUE | TRUE | TRUE | #NAME? | Inf | % | degF | 1777 | WC1200_LOOP-15_AUTO-SP | Loop |  |  | 2018-01-01 | 2118-01-01 | 34025 | OK
Process Interfaces | WC1200 | 7136 | CTRL-LOOP-17_PV_OUTPUT_FCV-CH-6 | WC1200 | 7124 | CTRL-LOOP_OUTPUT_FCV-CH-6 | Control Loop FCV-CH-6 Output | AO | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | % | 1716 | WC1200_FCV-CH-6 | Valve | FISHER |  | 2018-01-01 | 2118-01-01 | 34025 | OK
Process Interfaces | N/A | N/A | N/A | WC1200 | 7135 | CTRL-LOOP-17_OUTPUT_CH-P1 | Control Loop 17 CH-P1 Output | AO | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | % | 1737 | WC1200_CH-P1 | Pump |  |  | 2018-01-01 | 2118-01-01 | 34025 | OK
Process Interfaces | WC1200 | 7125 | CTRL-LOOP-15_PV_CH_WTR_FLOW | WC1200 | 7138 | CH_WTR_E_FLOW_FT-CH-1 | Aux Cooling Water Flow | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | gpm | 1725 | 14652934_14652906 | Flow | Rosemount |  | 2024-02-28 | 2026-02-28 | 481 | OK
Process Interfaces | WC1200 | 7393 | AUX_COOLING_CAPACITY | WC1200 | 7138 | CH_WTR_E_FLOW_FT-CH-1 | Aux Cooling Water Flow | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | gpm | 1725 | 14652934_14652906 | Flow | Rosemount |  | 2024-02-28 | 2026-02-28 | 481 | OK
Process Interfaces | WC1200 | 18783 | OIL_SYS01_WTR_CLR-E_FLOW_01 | WC1200 | 7138 | CH_WTR_E_FLOW_FT-CH-1 | Aux Cooling Water Flow | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | gpm | 1725 | 14652934_14652906 | Flow | Rosemount |  | 2024-02-28 | 2026-02-28 | 481 | OK
Process Interfaces | N/A | N/A | N/A | WC1200 | 7139 | CH_WTR_E_FLOW_FT-CH-2 | Plant Chilled Water Supply Flow | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | gpm | 1728 | 14653351_14653318 | Flow | Rosemount |  | 2018-01-01 | 2118-01-01 | 34025 | OK
Process Interfaces | N/A | N/A | N/A | WC1200 | 7140 | CH_WTR_E_TEMP_TET-CH-1 | Plant Chilled Water Supply Temp | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | degF | 1746 | M3040E23 | RTD | Pyromation |  | 2018-01-01 | 2118-01-01 | 34025 | OK
Process Interfaces | N/A | N/A | N/A | WC1200 | 7143 | CH_WTR_L_TEMP_TET-CH-4 | Plant Chilled Water Return Temp | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | degF | 1741 | M303F323 | RTD | Pyromation |  | 2018-01-01 | 2118-01-01 | 34025 | OK
Process Interfaces | N/A | N/A | N/A | WC1200 | 7146 | COND_WTR_E_TEMP_TET-CW-4A | Cond Water Loop Temp 4A | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | degF | 1750 | M304A923 | RTD | Pyromation |  | 2018-01-01 | 2118-01-01 | 34025 | OK
Process Interfaces | N/A | N/A | N/A | WC1200 | 7150 | EVAP_WTR_E_TEMP_TET-EW-4A | Evap Water Loop Temp 4A | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | degF | 1744 | M303FC23 | RTD | Pyromation |  | 2018-01-01 | 2118-01-01 | 34025 | OK
Process Interfaces | WC1200 | 7386 | COND_PUMP_DIFF_PRESS_CW-P1 | WC1200 | 7152 | COND_WTR_PRESS_PT-CW-1 | Cond Water Pump Discharge Pressure | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | psi | 1735 | 1A00I2WI72G | Pressure | WIKA |  | 2018-01-01 | 2118-01-01 | 34025 | OK
Process Interfaces | N/A | N/A | N/A | WC1200 | 7153 | COND_WTR_PRESS_PT-CW-2 | Cond Water Loop Back Pressure | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | psi | 1732 | 1A00F0U3J2A | Pressure | WIKA |  | 2018-01-01 | 2118-01-01 | 34025 | OK
Process Interfaces | WC1200 | 7386 | COND_PUMP_DIFF_PRESS_CW-P1 | WC1200 | 7154 | COND_WTR_PRESS_PT-CW-3 | Cond Water Pump Suction Pressure | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | psi | 1734 | 1A00F0UDPIR | Pressure | WIKA |  | 2018-01-01 | 2118-01-01 | 34025 | OK
Process Interfaces | WC1200 | 7387 | EVAP_PUMP_DIFF_PRESS_EW-P1 | WC1200 | 7155 | EVAP_WTR_PRESS_PT-EW-1 | Evap Water Pump Discharge Pressure | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | psi | 22161 | EA20274 | Pressure | Keller |  | 2023-01-01 | 2030-01-01 | 1884 | OK
Process Interfaces | N/A | N/A | N/A | WC1200 | 7156 | EVAP_WTR_PRESS_PT-EW-2 | Evap Water Loop Back Pressure | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | psi | 1731 | 1A00F0U2HI8 | Pressure | WIKA |  | 2018-01-01 | 2118-01-01 | 34025 | OK
Process Interfaces | WC1200 | 7387 | EVAP_PUMP_DIFF_PRESS_EW-P1 | WC1200 | 7157 | EVAP_WTR_PRESS_PT-EW-3 | Evap Water Pump Suction Pressure | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | psig | 22178 | EA22197 | Pressure | Keller |  | 2023-01-01 | 2030-01-01 | 1884 | OK
Process Interfaces | WC1200 | 16450 | COMPR_SYS01_RVAP_SUCT_PRESS_01 | WC1200 | 7258 | DAQ3A_AI_001 | DAQ3A Current Input 1 | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | psia | 7921 | 460445 | Pressure | Omega |  | 2024-10-02 | 2025-04-02 | 149 | OK
Process Interfaces | WC1200 | 16449 | COMPR_SYS01_RVAP_DISCH_PRESS_01 | WC1200 | 7259 | DAQ3A_AI_002 | DAQ3A Current Input 2 | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | psia | 17650 | 532127 | Pressure | Omega |  | 2024-10-02 | 2025-04-02 | 149 | OK
Process Interfaces | WC1200 | 16451 | COND_SYS01_RVAP_HIGH-CTR_PRESS_01 | WC1200 | 7260 | DAQ3A_AI_003 | DAQ3A Current Input 3 | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | psia | 14332 | 460437 | Pressure | Omega |  | 2024-10-02 | 2025-04-02 | 149 | OK
Process Interfaces | WC1200 | 19057 | OIL_SYS01_OIL_PUMP_PRESS_01 | WC1200 | 7261 | DAQ3A_AI_004 | DAQ3A Current Input 4 | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | psia | 17651 | 532132 | Pressure | Omega |  | 2024-10-02 | 2025-04-02 | 149 | OK
Process Interfaces | WC1200 | 19058 | OIL_SYS01_OIL_SUMP-MID_PRESS_01 | WC1200 | 7262 | DAQ3A_AI_005 | DAQ3A Current Input 5 | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | psia | 7923 | 460450 | Pressure | Omega |  | 2024-10-02 | 2025-04-02 | 149 | OK
Process Interfaces | WC1200 | 19059 | AMB_UNIT_AIR_EXT_PRESS_01 | WC1200 | 7263 | DAQ3A_AI_006 | DAQ3A Current Input 6 | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | psia | 1854 | 490587 | Pressure | Omega |  | 2024-10-02 | 2025-04-02 | 149 | OK
Process Interfaces | WC1200 | 16434 | EVAP_UNIT_WTR_NOZ_DP_01 | WC1200 | 7264 | DAQ3A_AI_007 | DAQ3A Current Input 7 | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | ftH2O | 3169 | 1769839 | Diff Pressure | Rosemount |  | 2024-10-02 | 2025-04-02 | 149 | OK
Process Interfaces | WC1200 | 16428 | COND_UNIT_WTR_NOZ_DP_01 | WC1200 | 7265 | DAQ3A_AI_008 | DAQ3A Current Input 8 | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | ftH2O | 4847 | 1396531 | Diff Pressure | Rosemount |  | 2024-10-02 | 2025-04-02 | 149 | OK
Process Interfaces | WC1200 | 18784 | OIL_UNIT_WTR_NOZ_DP_01 | WC1200 | 7266 | DAQ3A_AI_009 | DAQ3A Current Input 9 | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | ftH2O | 1842 | 1895448 | Diff Pressure | Rosemount |  | 2024-10-02 | 2025-04-02 | 149 | OK
Process Interfaces | WC1200 | 21301 | AMB_UNIT_AIR_EXT_HUMIDITY_01 | WC1200 | 7267 | DAQ3A_AI_010 | DAQ3A Current Input 10 | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | % | 17647 | 1903736 | Device | Omega |  | 2024-07-16 | 2025-07-16 | 254 | OK
Process Interfaces | N/A | N/A | N/A | WC1200 | 7271 | DAQ3A_AI_014 | DAQ3A Current Input 14 | AI | FALSE | TRUE | TRUE | 0.003 | 0.021 | mA | gpm | 22187 | 12213539_26209955 | Flow | Micro Motion |  | 2022-06-15 | 2025-06-15 | 223 | OK
Process Interfaces | N/A | N/A | N/A | WC1200 | 7272 | DAQ3A_AI_015 | DAQ3A Current Input 15 | AI | FALSE | TRUE | TRUE | 0.003 | 0.021 | mA | gpm | 22152 | 12112441_25693743 | Flow | Micro Motion |  | 2023-08-09 | 2026-08-09 | 643 | OK
Process Interfaces | N/A | N/A | N/A | WC1200 | 7273 | DAQ3A_AI_016 | DAQ3A Current Input 16 | AI | FALSE | TRUE | TRUE | 0.003 | 0.021 | mA | gpm | 22044 | 0870135755_0860223583 | Flow | Rosemount |  | 2023-02-14 | 2025-02-15 | 103 | OK
Process Interfaces | WC1200 | 7050 | COND_WTR_E_TEMP_TET-CW-2A | WC1200 | 16293 | DAQ2_RTD_001 | DAQ2 RTD Input 1 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 20938 | ED5420 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | WC1200 | 7051 | COND_WTR_E_TEMP_TET-CW-2B | WC1200 | 16294 | DAQ2_RTD_002 | DAQ2 RTD Input 2 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 20932 | ED5376 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | WC1200 | 7144 | COND_WTR_L_TEMP_TET-CW-3A | WC1200 | 16295 | DAQ2_RTD_003 | DAQ2 RTD Input 3 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 20930 | ED5357 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | WC1200 | 7145 | COND_WTR_L_TEMP_TET-CW-3B | WC1200 | 16296 | DAQ2_RTD_004 | DAQ2 RTD Input 4 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 20936 | ED53E8 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | WC1200 | 7093 | EVAP_WTR_E_TEMP_TET-EW-2A | WC1200 | 16297 | DAQ2_RTD_005 | DAQ2 RTD Input 5 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 20939 | ED5422 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | WC1200 | 7094 | EVAP_WTR_E_TEMP_TET-EW-2B | WC1200 | 16298 | DAQ2_RTD_006 | DAQ2 RTD Input 6 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 20935 | ED53E3 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | WC1200 | 7148 | EVAP_WTR_L_TEMP_TET-EW-3A | WC1200 | 16299 | DAQ2_RTD_007 | DAQ2 RTD Input 7 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 20925 | ED17BA | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | WC1200 | 7149 | EVAP_WTR_L_TEMP_TET-EW-3B | WC1200 | 16300 | DAQ2_RTD_008 | DAQ2 RTD Input 8 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 20928 | ED19E5 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | WC1200 | 7141 | CH_WTR_E_TEMP_TET-CH-2 | WC1200 | 16301 | DAQ2_RTD_009 | DAQ2 RTD Input 9 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 20931 | ED5375 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | WC1200 | 7142 | CH_WTR_L_TEMP_TET-CH-3 | WC1200 | 16302 | DAQ2_RTD_010 | DAQ2 RTD Input 10 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 20940 | ED5475 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16303 | DAQ2_RTD_011 | DAQ2 RTD Input 11 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 20933 | ED537C | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16304 | DAQ2_RTD_012 | DAQ2 RTD Input 12 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 20926 | ED17CD | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16305 | DAQ2_RTD_013 | DAQ2 RTD Input 13 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 20927 | ED181B | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16306 | DAQ2_RTD_014 | DAQ2 RTD Input 14 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 20929 | ED1A02 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16307 | DAQ2_RTD_015 | DAQ2 RTD Input 15 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 20934 | ED537D | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16308 | DAQ2_RTD_016 | DAQ2 RTD Input 16 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 20937 | ED541E | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | WC1200 | 16464 | COMPR_SYS01_RFG_SUCT_TEMP_01 | WC1200 | 16309 | DAQ3A_RTD_001 | DAQ3A RTD Input 1 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 4968 | D2F1F7 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | WC1200 | 16463 | COMPR_SYS01_RFG_DISCH_TEMP_01 | WC1200 | 16310 | DAQ3A_RTD_002 | DAQ3A RTD Input 2 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 9397 | D2F765 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | WC1200 | 19060 | EVAP_SYS01_RLIQ_EV-E_TEMP_01 | WC1200 | 16311 | DAQ3A_RTD_003 | DAQ3A RTD Input 3 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 9396 | D2F762 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | WC1200 | 18785 | OIL_SYS01_WTR_CLR-E_TEMP_01 | WC1200 | 16312 | DAQ3A_RTD_004 | DAQ3A RTD Input 4 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 4795 | D5E712 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | WC1200 | 16462 | AMB_UNIT_AIR_EXT_TEMP_01 | WC1200 | 16313 | DAQ3A_RTD_005 | DAQ3A RTD Input 5 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 9412 | D2F1F0 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | WC1200 | 18786 | OIL_SYS01_WTR_CLR-L_TEMP_01 | WC1200 | 16314 | DAQ3A_RTD_006 | DAQ3A RTD Input 6 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 9408 | D2F1EB | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16315 | DAQ3A_RTD_007 | DAQ3A RTD Input 7 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19972 | EE57F9 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16316 | DAQ3A_RTD_008 | DAQ3A RTD Input 8 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19971 | EE57F8 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16317 | DAQ3A_RTD_009 | DAQ3A RTD Input 9 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19979 | EE587B | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16318 | DAQ3A_RTD_010 | DAQ3A RTD Input 10 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19973 | EE5828 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16319 | DAQ3A_RTD_011 | DAQ3A RTD Input 11 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19974 | EE5857 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16320 | DAQ3A_RTD_012 | DAQ3A RTD Input 12 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19982 | EE58D6 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16321 | DAQ3A_RTD_013 | DAQ3A RTD Input 13 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19970 | EE57F7 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16322 | DAQ3A_RTD_014 | DAQ3A RTD Input 14 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19968 | EE57DE | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16323 | DAQ3A_RTD_015 | DAQ3A RTD Input 15 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19966 | D5F088 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16324 | DAQ3A_RTD_016 | DAQ3A RTD Input 16 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19964 | D5D31F | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16325 | DAQ3A_RTD_017 | DAQ3A RTD Input 17 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 4800 | D5E719 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16326 | DAQ3A_RTD_018 | DAQ3A RTD Input 18 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 4925 | D5CD0B | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16327 | DAQ3A_RTD_019 | DAQ3A RTD Input 19 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 3441 | D31998 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16328 | DAQ3A_RTD_020 | DAQ3A RTD Input 20 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 9401 | D3199C | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16329 | DAQ3A_RTD_021 | DAQ3A RTD Input 21 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 1815 | D2DDBE | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16330 | DAQ3A_RTD_022 | DAQ3A RTD Input 22 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 4904 | D2E66C | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16331 | DAQ3A_RTD_023 | DAQ3A RTD Input 23 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19978 | EE586A | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16332 | DAQ3A_RTD_024 | DAQ3A RTD Input 24 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19977 | EE585A | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16333 | DAQ3A_RTD_025 | DAQ3A RTD Input 25 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19975 | EE5858 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16334 | DAQ3A_RTD_026 | DAQ3A RTD Input 26 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19981 | EE587D | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16335 | DAQ3A_RTD_027 | DAQ3A RTD Input 27 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19980 | EE587C | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16336 | DAQ3A_RTD_028 | DAQ3A RTD Input 28 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19976 | EE5859 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16337 | DAQ3A_RTD_029 | DAQ3A RTD Input 29 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19967 | EE39E4 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16338 | DAQ3A_RTD_030 | DAQ3A RTD Input 30 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19969 | EE57DF | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16339 | DAQ3A_RTD_031 | DAQ3A RTD Input 31 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19963 | D5C2A1 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 16340 | DAQ3A_RTD_032 | DAQ3A RTD Input 32 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19965 | D5DFE1 | RTD | Pyromation |  | 2024-06-15 | 2024-12-15 | 41 | 60-Days
Process Interfaces | N/A | N/A | N/A | WC1200 | 23572 | CTRL-LOOP_OUTPUT_TCV-CW-3A | Control Loop TCV-CW-3A Output | AO | TRUE | TRUE | TRUE | 0 | 100 | mA | % | 1723 | WC1200_TCV-CW-3A | Valve | FISHER |  | 2018-01-01 | 2118-01-01 | 34025 | OK
Process Interfaces | N/A | N/A | N/A | WC1200 | 23573 | CTRL-LOOP_OUTPUT_TCV-CH-5A | Control Loop TCV-CH-5A Output | AO | TRUE | TRUE | TRUE | 0 | 100 | mA | % | 1720 | WC1200_TCV-CH-5A | Valve | FISHER |  | 2018-01-01 | 2118-01-01 | 34025 | OK