## Report Template
Johnson Controls Calibration Report
Unit Type: 375 Ton HESC
Test Request Number: TR 24-0069
Instrument Map Date: 11/19/2024
JADEC Test Facility: WC500-3
| Instrument Serial Number | Instrument Title | Calibration Dates
|  |  | Last | Next
DAQ2 RTD Temperatures
| ED26F5 | COND WATER ENTERING TEMP A | 2024-08-26 | 2025-02-26
| ED2613 | COND WATER ENTERING TEMP B | 2024-08-26 | 2025-02-26
| ED260B | COND WATER LEAVING TEMP A | 2024-08-26 | 2025-02-26
| ED2765 | COND WATER LEAVING TEMP B | 2024-08-26 | 2025-02-26
| ED276A | EVAP WATER ENTERING TEMP A | 2024-08-26 | 2025-02-26
| ED2615 | EVAP WATER ENTERING TEMP B | 2024-08-26 | 2025-02-26
| ED2767 | EVAP WATER LEAVING TEMP A | 2024-08-26 | 2025-02-26
| ED2677 | EVAP WATER LEAVING TEMP B | 2024-08-26 | 2025-02-26
| ED2614 | AUX COOLING WATER ENTERING TEMP | 2024-08-26 | 2025-02-26
| ED26F7 | AUX COOLING WATER LEAVING TEMP | 2024-08-26 | 2025-02-26
DAQ3 RTD Temperatures
| D302D6 | COMPRESSOR SUCTION TEMP | 2024-08-26 | 2025-02-26
| D5E714 | COMPRESSOR DISCHARGE TEMP | 2024-08-26 | 2025-02-26
| D311C8 | REFRIGERANT LIQUID TEMP TO EXPANSION VALVE #1 | 2024-08-26 | 2025-02-26
| D2F759 | REFRIGERANT LIQUID TEMP TO EXPANSION VALVE #2 | 2024-08-26 | 2025-02-26
| D2D59E | MOTOR HOUSING TOP PLATE TEMP | 2024-08-26 | 2025-02-26
| D2E850 | VSD COOLING ON | 2024-08-27 | 2025-02-27
| D2DFEC | VSD COOLING OFF | 2024-08-27 | 2025-02-27
Omega Pressure Transducer
| 460456 | COMPRESSOR SUCTION PRESSURE | 2024-08-28 | 2025-02-28
| 481329 | COMRPRESSOR DISCHARGE PRESSURE | 2024-08-28 | 2025-02-28
| 460452 | CONDENSER PRESSURE | 2024-08-28 | 2025-02-28
| 481330 | MOTOR COOLING VAPOR TANK PRESSURE | 2024-08-28 | 2025-02-28
| 446104 | ECONOMIZER VAPOR PRESSURE | 2024-08-28 | 2025-02-28
| 489945 | BAROMETRIC PRESSURE | 2024-08-28 | 2025-02-28
Rosemount Delta P Transducer
| 1505060 | EVAPORATOR WATER PRESSURE DROP | 2024-08-27 | 2025-02-27
| 1142262 | CONDENSOR WATER PRESSURE DROP | 2024-08-27 | 2025-02-27
Rosemount Magmeter
| 14653614_14653638 | EVAPORATOR WATER FLOW A | 2024-02-15 | 2026-02-15
| 14653345_14653310 | EVAPORATOR WATER FLOW B | 2024-02-15 | 2026-02-15
| 14653230_14653222 | CONDENSER WATER FLOW A | 2024-02-16 | 2026-02-16
| 14653344_14653309 | CONDENSER WATER FLOW B | 2024-02-16 | 2026-02-16
| 14652927_14652900 | VSD COOLER WATER FLOW | 2024-02-15 | 2026-02-15
` | Xitron Power Analyzer
| 2643AD1605013 | CHILLER INPUT | 2024-06-27 | 2025-06-27
| 2643AD1606002 | VSD OUTPUT | 2024-03-01 | 2025-03-01
| Prepared By: | Scott Beach | Date: | 2024-11-20

## Report WorkSheet
Johnson Controls Calibration Report
| Unit Type: | 375 Ton HESC
| Test Request Number: | TR 24-0069 |  | Formatted date for validation
| Instrument Map Date: | 11/19/2024 |  | 2024-11-19
| JADEC Test Facility: | WC500-3
| Instrument Serial Number | Instrument Title | Tag Names |  | Notes | ↓ Eng Tag Names from Cal Report ↓ | ↓ Eng Tag Names Match? ↓ | ↓ HW Tag Names from Cal Report ↓ | ↓ HW Tag Names Match? ↓ | ↓ Cal Date from Cal Report ↓ | ↓ Cal Due From Cal Report ↓ | ↓ # Days ↓ | ↓ Date in Range ↓
|  |  | ENG Tag Name | HW Tag Name
DAQ2 RTD Temperatures
| ED26F5 | COND WATER ENTERING TEMP A | COND_WTR_E_TEMP_TET-CW-2A | DAQ2_RTD_001 | Facility Information Not on Inst Map Get From Cal Report ENG and HW Tag Names Should remain the same | COND_WTR_E_TEMP_TET-CW-2A | y | DAQ2_RTD_001 | y | 2024-08-26 | 2025-02-26 | 184 | TRUE
| ED2613 | COND WATER ENTERING TEMP B | COND_WTR_E_TEMP_TET-CW-2B | DAQ2_RTD_002 |  | COND_WTR_E_TEMP_TET-CW-2B | y | DAQ2_RTD_002 | y | 2024-08-26 | 2025-02-26 | 184 | TRUE
| ED260B | COND WATER LEAVING TEMP A | COND_WTR_L_TEMP_TET-CW-3A | DAQ2_RTD_003 |  | COND_WTR_L_TEMP_TET-CW-3A | y | DAQ2_RTD_003 | y | 2024-08-26 | 2025-02-26 | 184 | TRUE
| ED2765 | COND WATER LEAVING TEMP B | COND_WTR_L_TEMP_TET-CW-3B | DAQ2_RTD_004 |  | COND_WTR_L_TEMP_TET-CW-3B | y | DAQ2_RTD_004 | y | 2024-08-26 | 2025-02-26 | 184 | TRUE
| ED276A | EVAP WATER ENTERING TEMP A | EVAP_WTR_E_TEMP_TET-EW-2A | DAQ2_RTD_005 |  | EVAP_WTR_E_TEMP_TET-EW-2A | y | DAQ2_RTD_005 | y | 2024-08-26 | 2025-02-26 | 184 | TRUE
| ED2615 | EVAP WATER ENTERING TEMP B | EVAP_WTR_E_TEMP_TET-EW-2B | DAQ2_RTD_006 |  | EVAP_WTR_E_TEMP_TET-EW-2B | y | DAQ2_RTD_006 | y | 2024-08-26 | 2025-02-26 | 184 | TRUE
| ED2767 | EVAP WATER LEAVING TEMP A | EVAP_WTR_L_TEMP_TET-EW-3A | DAQ2_RTD_007 |  | EVAP_WTR_L_TEMP_TET-EW-3A | y | DAQ2_RTD_007 | y | 2024-08-26 | 2025-02-26 | 184 | TRUE
| ED2677 | EVAP WATER LEAVING TEMP B | EVAP_WTR_L_TEMP_TET-EW-3B | DAQ2_RTD_008 |  | EVAP_WTR_L_TEMP_TET-EW-3B | y | DAQ2_RTD_008 | y | 2024-08-26 | 2025-02-26 | 184 | TRUE
| ED2614 | AUX COOLING WATER ENTERING TEMP | CH_WTR_E_TEMP_TET-CH-2 | DAQ2_RTD_009 |  | CH_WTR_E_TEMP_TET-CH-2 | y | DAQ2_RTD_009 | y | 2024-08-26 | 2025-02-26 | 184 | TRUE
| ED26F7 | AUX COOLING WATER LEAVING TEMP | CH_WTR_L_TEMP_TET-CH-3 | DAQ2_RTD_010 |  | CH_WTR_L_TEMP_TET-CH-3 | y | DAQ2_RTD_010 | y | 2024-08-26 | 2025-02-26 | 184 | TRUE
DAQ3 RTD Temperatures
| D302D6 | COMPRESSOR SUCTION TEMP | COMPR_SYS01_RFG_SUCT_TEMP_01 | DAQ3B_RTD_001 | HW Tag Names Not on Inst Map Use Channel to determine Eng Tag Names Should remain the same | COMPR_SYS01_RFG_SUCT_TEMP_01 | y | DAQ3B_RTD_001 | y | 2024-08-26 | 2025-02-26 | 184 | TRUE
| D5E714 | COMPRESSOR DISCHARGE TEMP | COMPR_SYS01_RFG_DISCH_TEMP_01 | DAQ3B_RTD_002 |  | COMPR_SYS01_RFG_DISCH_TEMP_01 | y | DAQ3B_RTD_002 | y | 2024-08-26 | 2025-02-26 | 184 | TRUE
| D311C8 | REFRIGERANT LIQUID TEMP TO EXPANSION VALVE #1 | EVAP_SYS01_RLIQ_EV-E_TEMP_01 | DAQ3B_RTD_003 |  | EVAP_SYS01_RLIQ_EV-E_TEMP_01 | y | DAQ3B_RTD_003 | y | 2024-08-26 | 2025-02-26 | 184 | TRUE
| D2F759 | REFRIGERANT LIQUID TEMP TO EXPANSION VALVE #2 | EVAP_SYS02_RLIQ_EV-E_TEMP_01 | DAQ3B_RTD_004 |  | EVAP_SYS02_RLIQ_EV-E_TEMP_01 | y | DAQ3B_RTD_004 | y | 2024-08-26 | 2025-02-26 | 184 | TRUE
| D2D59E | MOTOR HOUSING TOP PLATE TEMP | MTR_SYS01_HSG_TOP_TEMP_01 | DAQ3B_RTD_005 |  | MTR_SYS01_HSG_TOP_TEMP_01 | y | DAQ3B_RTD_005 | y | 2024-08-26 | 2025-02-26 | 184 | TRUE
| D2E850 | VSD COOLING ON | VSD_SYS01_WTR_HX-E_TEMP_01 | DAQ3A_RTD_015 |  | VSD_SYS01_WTR_HX-E_TEMP_01 | y | DAQ3A_RTD_015 | y | 2024-08-27 | 2025-02-27 | 184 | TRUE
| D2DFEC | VSD COOLING OFF | VSD_SYS01_WTR_HX-L_TEMP_01 | DAQ3A_RTD_016 |  | VSD_SYS01_WTR_HX-L_TEMP_01 | y | DAQ3A_RTD_016 | y | 2024-08-27 | 2025-02-27 | 184 | TRUE
Omega Pressure Transducer
| 460456 | COMPRESSOR SUCTION PRESSURE | COMPR_SYS01_RVAP_SUCT_PRESS_01 | DAQ3B_AI_001 |  | COMPR_SYS01_RVAP_SUCT_PRESS_01 | y | DAQ3B_AI_001 | y | 2024-08-28 | 2025-02-28 | 184 | TRUE
| 481329 | COMRPRESSOR DISCHARGE PRESSURE | COMPR_SYS01_RVAP_DISCH_PRESS_01 | DAQ3B_AI_002 |  | COMPR_SYS01_RVAP_DISCH_PRESS_01 | y | DAQ3B_AI_002 | y | 2024-08-28 | 2025-02-28 | 184 | TRUE
| 460452 | CONDENSER PRESSURE | COND_SYS01_RVAP_HIGH-CTR_PRESS_01 | DAQ3B_AI_003 |  | COND_SYS01_RVAP_HIGH-CTR_PRESS_01 | y | DAQ3B_AI_003 | y | 2024-08-28 | 2025-02-28 | 184 | TRUE
| 481330 | MOTOR COOLING VAPOR TANK PRESSURE | MTR-CLG_SYS01_RFG_TANK_PRESS_01 | DAQ3B_AI_004 |  | MTR-CLG_SYS01_RFG_TANK_PRESS_01 | y | DAQ3B_AI_004 | y | 2024-08-28 | 2025-02-28 | 184 | TRUE
| 446104 | ECONOMIZER VAPOR PRESSURE | ECON_SYS01_RFG_E_PRESS_01 | DAQ3B_AI_005 |  | ECON_SYS01_RFG_E_PRESS_01 | y | DAQ3B_AI_005 | y | 2024-08-28 | 2025-02-28 | 184 | TRUE
| 489945 | BAROMETRIC PRESSURE | AMB_UNIT_AIR_EXT_PRESS_01 | DAQ3B_AI_006 |  | AMB_UNIT_AIR_EXT_PRESS_01 | y | DAQ3B_AI_006 | y | 2024-08-28 | 2025-02-28 | 184 | TRUE
Rosemount Delta P Transducer
| 1505060 | EVAPORATOR WATER PRESSURE DROP | EVAP_UNIT_WTR_NOZ_DP_01 | DAQ3B_AI_007 |  | EVAP_UNIT_WTR_NOZ_DP_01 | y | DAQ3B_AI_007 | y | 2024-08-27 | 2025-02-27 | 184 | TRUE
| 1142262 | CONDENSOR WATER PRESSURE DROP | COND_UNIT_WTR_NOZ_DP_01 | DAQ3B_AI_008 |  | COND_UNIT_WTR_NOZ_DP_01 | y | DAQ3B_AI_008 | y | 2024-08-27 | 2025-02-27 | 184 | TRUE
Rosemount Magmeter
| 14653614_14653638 | EVAPORATOR WATER FLOW A | EVAP_WTR_E_TOTAL_FLOW | EVAP_WTR_E_FLOW_FT-EW-1A | Facility Information Not on Inst Map Get From Cal Report | EVAP_WTR_E_TOTAL_FLOW | y | EVAP_WTR_E_FLOW_FT-EW-1A | y | 2024-02-15 | 2026-02-15 | 731 | TRUE
| 14653345_14653310 | EVAPORATOR WATER FLOW B | EVAP_WTR_E_TOTAL_FLOW | EVAP_WTR_E_FLOW_FT-EW-1B |  | EVAP_WTR_E_TOTAL_FLOW | y | EVAP_WTR_E_FLOW_FT-EW-1B | y | 2024-02-15 | 2026-02-15 | 731 | TRUE
| 14653230_14653222 | CONDENSER WATER FLOW A | COND_WTR_E_TOTAL_FLOW | COND_WTR_E_FLOW_FT-CW-1A |  | COND_WTR_E_TOTAL_FLOW | y | COND_WTR_E_FLOW_FT-CW-1A | y | 2024-02-16 | 2026-02-16 | 731 | TRUE
| 14653344_14653309 | CONDENSER WATER FLOW B | COND_WTR_E_TOTAL_FLOW | COND_WTR_E_FLOW_FT-CW-1B |  | COND_WTR_E_TOTAL_FLOW | y | COND_WTR_E_FLOW_FT-CW-1B | y | 2024-02-16 | 2026-02-16 | 731 | TRUE
| 14652927_14652900 | VSD COOLER WATER FLOW | VSD_SYS01_WTR_HX-E_FLOW_01 | CH_WTR_E_FLOW_FT-CH-1 |  | CTRL-LOOP-15_PV_CH_WTR_FLOW | n | CH_WTR_E_FLOW_FT-CH-1 | y | 2024-02-15 | 2026-02-15 | 731 | TRUE
` | Xitron Power Analyzer
| 2643AD1605013 | CHILLER INPUT | XT2640-042 | XT2640-042 | Not on Inst Map Get From Cal Report | XT2640-042 | y | XT2640-042 | y | 2024-06-27 | 2025-06-27 | 365 | TRUE
| 2643AD1606002 | VSD OUTPUT | XT2640-006 | XT2640-006 |  | XT2640-006 | y | XT2640-006 | y | 2024-03-01 | 2025-03-01 | 365 | TRUE
| Prepared By: | Scott Beach | Date: | 2024-11-20

## Instrument Map
Analog Channels |  | 2024-11-15 |  | TR24-0069 / HESC | WC 500-3 SR
Ref ID | DAQ Driver | Channel | Serial number | Description/Location | LabVIEW Tag Names | Range
P1 | %DAQ3B_AI_001% | DAQ3B: mA: 1 | 460456 | COMPRESSOR SUCTION PRESSURE | COMPR_SYS01_RVAP_SUCT_PRESS_01 | 0-250 psia
P2 | %DAQ3B_AI_002% | DAQ3B: mA: 2 | 481329 | COMRPRESSOR DISCHARGE PRESSURE | COMPR_SYS01_RVAP_DISCH_PRESS_01 | 0-250 psia
P3 | %DAQ3B_AI_003% | DAQ3B: mA: 3 | 460452 | CONDENSER PRESSURE | COND_SYS01_RVAP_HIGH-CTR_PRESS_01 | 0-250 psia
P4 | %DAQ3B_AI_004% | DAQ3B: mA: 4 | 481330 | MOTOR COOLING VAPOR TANK PRESSURE | MTR-CLG_SYS01_RFG_TANK_PRESS_01 | 0-250 psia
P5 | %DAQ3B_AI_005% | DAQ3B: mA: 5 | 446104 | ECONOMIZER VAPOR PRESSURE | ECON_SYS01_RFG_E_PRESS_01 | 0-250 psia
P6 | %DAQ3B_AI_006% | DAQ3B: mA: 6 | 489945 | BAROMETRIC PRESSURE | AMB_UNIT_AIR_EXT_PRESS_01 | 0-50 psia
DP1 | %DAQ3B_AI_007% | DAQ3B: mA: 7 | 1505060 | EVAPORATOR WATER PRESSURE DROP | EVAP_UNIT_WTR_NOZ_DP_01 | 0-45 ft,H2O
DP2 | %DAQ3B_AI_008% | DAQ3B: mA: 8 | 1142262 | CONDENSOR WATER PRESSURE DROP | COND_UNIT_WTR_NOZ_DP_01 | 0-45 ft,H2O
| %DAQ3B_AI_009% | DAQ3B: mA: 9
| %DAQ3B_AI_010% | DAQ3B: mA: 10
| %DAQ3B_AI_011% | DAQ3B: mA: 11
| %DAQ3B_AI_012% | DAQ3B: mA: 12
| %DAQ3B_AI_013% | DAQ3B: mA: 13
| %DAQ3B_AI_014% | DAQ3B: mA: 14
| %DAQ3B_AI_015% | DAQ3B: mA: 15
| %DAQ3B_AI_016% | DAQ3B: mA: 16
| %DAQ3B_AI_017% | DAQ3B: mA: 17
| %DAQ3B_AI_018% | DAQ3B: mA: 18
| %DAQ3B_AI_019% | DAQ3B: mA: 19
| %DAQ3B_AI_020% | DAQ3B: mA: 20
| %DAQ3B_AI_021% | DAQ3B: mA: 21
| %DAQ3B_AI_022% | DAQ3B: mA: 22
| %DAQ3B_AI_023% | DAQ3B: mA: 23
| %DAQ3B_AI_024% | DAQ3B: mA: 24
| %DAQ3B_AI_025% | DAQ3B: mA: 25
| %DAQ3B_AI_026% | DAQ3B: mA: 26
| %DAQ3B_AI_027% | DAQ3B: mA: 27
| %DAQ3B_AI_028% | DAQ3B: mA: 28
| %DAQ3B_AI_029% | DAQ3B: mA: 29
| %DAQ3B_AI_030% | DAQ3B: mA: 30
| %DAQ3B_AI_031% | DAQ3B: mA: 31
| %DAQ3B_AI_032% | DAQ3B: mA: 32
[5 empty] | Xitrons Required |  | Flow Meters Required
[5 empty] | VSD input power (XT-042) |  | Facility Condenser Flow
[5 empty] | VSD output power (XT-006) |  | Facility Evaporator Flow
Facility Aux Cooling Flow
RTD Channels |  | 2024-11-15 |  | TR24-0069 / HESC | WC 500-3 SR
Ref ID | DAQ Driver | Channel | Serial number | Description/Location | LabVIEW Tag Names | Length
WRTD 1 | %DAQ3B_RTD_001% | DAQ3B: RTD: 1 | X | COMPRESSOR SUCTION TEMP | COMPR_SYS01_RFG_SUCT_TEMP_01 | 8"
WRTD 2 | %DAQ3B_RTD_002% | DAQ3B: RTD: 2 | X | COMPRESSOR DISCHARGE TEMP | COMPR_SYS01_RFG_DISCH_TEMP_01 | 8"
WRTD 3 | %DAQ3B_RTD_003% | DAQ3B: RTD: 3 | X | REFRIGERANT LIQUID TEMP TO EXPANSION VALVE #1 | EVAP_SYS01_RLIQ_EV-E_TEMP_01 | 8"
WRTD 4 | %DAQ3B_RTD_004% | DAQ3B: RTD: 4 | X | REFRIGERANT LIQUID TEMP TO EXPANSION VALVE #2 | EVAP_SYS02_RLIQ_EV-E_TEMP_01 | 8"
WRTD 5 | %DAQ3B_RTD_005% | DAQ3B: RTD: 5 | X | MOTOR HOUSING TOP PLATE TEMP | MTR_SYS01_HSG_TOP_TEMP_01 | 8"
|  |  | X |  |  | 8"
|  |  | X |  |  | 10"
|  |  | X |  |  | 10"
|  |  | X |  |  | 10"
|  |  | X |  |  | 10"
|  |  | X |  |  | 10"
|  |  | X |  |  | 10"
|  |  | X |  |  | 10"
|  |  | X |  |  | 10"
|  |  | X |  |  | 12"
|  |  | X |  |  | 12"
|  |  | X |  |  | 8"
|  |  | X |  |  | 8"
|  |  | X |  |  | 8"
|  |  | X |  |  | 8"
|  |  | X |  |  | 8"
|  |  | X |  |  | 8"
|  |  | X |  |  | 10"
|  |  | X |  |  | 10"
|  |  | X |  |  | 10"
|  |  | X |  |  | 10"
|  |  | X |  |  | 10"
|  |  | X |  |  | 10"
|  |  | X |  |  | 10"
|  |  | X |  |  | 10"
WRTD 6 | %DAQ3A_RTD_015% | DAQ3A: RTD: 15 | X | VSD COOLING ON | VSD_SYS01_WTR_HX-E_TEMP_01 | 12"
WRTD 7 | %DAQ3A_RTD_016% | DAQ3A: RTD: 16 | X | VSD COOLING OFF | VSD_SYS01_WTR_HX-L_TEMP_01 | 12"
TC Channels |  | 2024-11-15 |  | TR24-0069 / HESC | WC 500-3 SR
Ref ID | DAQ Driver | Channel | Serial number | Description/Location | LabVIEW Tag Names | Range
TC 1 | %DAQ3B_TC_001% | DAQ3B TC: 1 | X | CONDENSER DRAIN #1 | SUBCR_SYS01_SUR_L_TEMP_01 | 0-350°F
TC 2 | %DAQ3B_TC_002% | DAQ3B TC: 2 | X | CONDENSER DRAIN #2 | SUBCR_SYS02_SUR_L_TEMP_01 | 0-350°F
TC 3 | %DAQ3B_TC_003% | DAQ3B TC: 3 | X | ECONOMIZER CONTROL VALVE #1 | SUBCR_SYS01_SUR_EV-E_TEMP_01 | 0-350°F
TC 4 | %DAQ3B_TC_004% | DAQ3B TC: 4 | X | ECONOMIZER CONTROL VALVE #2 | SUBCR_SYS02_SUR_EV-E_TEMP_01 | 0-350°F
TC 5 | %DAQ3B_TC_005% | DAQ3B TC: 5 | X | AMBIENT TEMP | AMB_UNIT_AIR_EXT_TEMP_01 | 0-350°F
|  |  | X |  |  | 0-350°F
|  |  | X |  |  | 0-350°F
|  |  | X |  |  | 0-350°F
|  |  | X |  |  | 0-350°F
|  |  | X |  |  | 0-350°F
|  |  | X |  |  | 0-350°F
|  |  | X |  |  | 0-350°F
|  |  | X |  |  | 0-350°F
|  |  | X |  |  | 0-350°F
|  |  | X |  |  | 0-350°F
|  |  | X |  |  | 0-350°F
|  |  | X |  |  | 0-350°F
|  |  | X |  |  | 0-350°F
|  |  | X |  |  | 0-350°F
|  |  | X |  |  | 0-350°F
|  |  | X |  |  | 0-350°F
|  |  | X |  |  | 0-350°F
|  |  | X |  |  | 0-350°F
|  |  | X |  |  | 0-350°F
|  |  | X |  |  | 0-350°F
|  |  | X |  |  | 0-350°F
TC6 | %DAQ3A_TC_001% | DAQ3A TC: 01 | X | VSD Grid Inductor 1 Temp (V) | VSD_SYS01_GRID-IND-1_TEMP_01 | 0-350°F | TC's come embedded in VSD components
TC7 | %DAQ3A_TC_002% | DAQ3A TC: 02 | X | VSD Grid Inductor 2 Temp (W) | VSD_SYS01_GRID-IND-2_TEMP_01 | 0-350°F | TC's come embedded in VSD components
TC8 | %DAQ3A_TC_003% | DAQ3A TC: 03 | X | VSD Motor Inductor 1 Temp (Y) | VSD_SYS01_MTR-IND-1_TEMP_01 | 0-350°F | TC's come embedded in VSD components
TC9 | %DAQ3A_TC_004% | DAQ3A TC: 04 | X | VSD Motor Inductor 2 Temp | VSD_SYS01_MTR-IND-2_TEMP_01 | 0-350°F | TC's come embedded in VSD components
TC10 | %DAQ3A_TC_005% | DAQ3A TC: 05 | X | VSD refrigerant pump inlet temperature | VSD_SYS01_RFG_PP-E_TEMP_01 | 0-350°F
TC11 | %DAQ3A_TC_006% | DAQ3A TC: 06 | X | VSD refrigerant pump outlet temperature | VSD_SYS01_RFG_PP-L_TEMP_01 | 0-350°F
Reference ID naming:
P = Pressure Transducer
DP = Differential Pressure
F = Flow Meter
NOTE: DP are pressure differentials. All pressure differentials should be mounted so that the instrument is at the highest point and all lines run continuously down hill to the measurement location with no liquid traps. Keep lines as short as possible.
Reference ID naming:
WRTD = Resistance RTD (0-200°F)
NOTE: RTDs in thermal wells should be installed with a coating of thermal paste.
Reference ID naming:
TC = Thermocouple

## CalReport
System Date | 2024-11-19 09:18
Report Type | System | System ID | System Name | Site ID | Site Name | System Type | System IP Address
System | Base System | 20 | WC500-3 | 1 | JADEC | JADEC WC500-WC1000 | 192.168.1.3
System | Subsystem 1 | 15 | XT2640-006 | 1 | JADEC | Xitron XT2640 | 192.168.1.151
System | Subsystem 2 | 71 | XT2640-042 | 1 | JADEC | Xitron XT2640 | 192.168.1.150
Report Type | System ID | System Name | Serial Number | System Type | Manufacturer | Model | Calibration Date | Calibration Due | Cal Due (Days) | Status
Additional Equipment | 15 | XT2640-006 | 2643AD1606002 | Xitron XT2640 | XITRON | XT2640 | 2024-03-01 | 2025-03-01 | 102 | OK
Additional Equipment | 71 | XT2640-042 | 2643AD1605013 | Xitron XT2640 | XITRON | XT2640 | 2024-06-27 | 2025-06-27 | 220 | OK
Report Type | System | Chassis Serial Number | Chassis Panel | Chassis Index | Collection Hardware ID | Module Serial Number | Manufacturer | Model | Slot | Calibration ID | Calibration Date | Calibration Due Date | Cal Due (Days) | Status
Collection Hardware | WC500-3 | 29857707 | DAQ 3A | 2 | 16 | 29224145 | NI | 9214 | 1 | 22488 | 2024-08-27 | 2025-08-27 | 281 | OK
Collection Hardware | WC500-3 | 28520385 | DAQ 3B | 4 | 20 | 29139286 | NI | 9214 | 1 | 22489 | 2024-08-27 | 2025-08-27 | 281 | OK
Collection Hardware | WC500-3 | 29857707 | DAQ 3A | 2 | 37 | 29023916 | NI | 9208 | 3 | 19045 | 2023-11-29 | 2025-11-29 | 375 | OK
Collection Hardware | WC500-3 | 28658522 | DAQ 1 | -1 | 83 | 28990386 | NI | 9265 | 6 | 22473 | 2024-08-26 | 2025-08-26 | 280 | OK
Collection Hardware | WC500-3 | 28658522 | DAQ 1 | -1 | 85 | 28990585 | NI | 9265 | 5 | 22474 | 2024-08-26 | 2025-08-26 | 280 | OK
Collection Hardware | WC500-3 | 28693621 | DAQ 2 | 1 | 113 | 29023909 | NI | 9208 | 1 | 19047 | 2023-12-04 | 2025-12-04 | 380 | OK
Collection Hardware | WC500-3 | 28520385 | DAQ 3B | 4 | 150 | 29072630 | NI | 9208 | 2 | 19048 | 2023-11-29 | 2025-11-29 | 375 | OK
Collection Hardware | WC500-3 | 28658522 | DAQ 1 | -1 | 222 | 30064355 | NI | 9425 | 7 | 19039 | 2023-11-29 | 2025-11-29 | 375 | OK
Collection Hardware | WC500-3 | 28658522 | DAQ 1 | -1 | 223 | 29196078 | NI | 9476 | 8 | 19040 | 2023-11-29 | 2025-11-29 | 375 | OK
Collection Hardware | WC500-3 | 28693621 | DAQ 2 | 1 | 225 | 29025704 | NI | 9425 | 5 | 19041 | 2023-11-29 | 2025-11-29 | 375 | OK
Collection Hardware | WC500-3 | 28693621 | DAQ 2 | 1 | 226 | 30064311 | NI | 9425 | 6 | 19042 | 2023-11-29 | 2025-11-29 | 375 | OK
Collection Hardware | WC500-3 | 28693621 | DAQ 2 | 1 | 227 | 28724240 | NI | 9476 | 7 | 19043 | 2023-11-29 | 2025-11-29 | 375 | OK
Collection Hardware | WC500-3 | 28693621 | DAQ 2 | 1 | 228 | 28724242 | NI | 9476 | 8 | 19044 | 2023-11-29 | 2025-11-29 | 375 | OK
Collection Hardware | WC500-3 | 28658522 | DAQ 1 | -1 | 269 | 29033323 | NI | 9265 | 4 | 22475 | 2024-08-26 | 2025-08-26 | 280 | OK
Collection Hardware | WC500-3 | 28658522 | DAQ 1 | -1 | 271 | 28798179 | NI | 9208 | 2 | 19050 | 2023-12-04 | 2025-12-04 | 380 | OK
Collection Hardware | WC500-3 | 29857707 | DAQ 3A | 2 | 272 | 29072584 | NI | 9208 | 2 | 19046 | 2023-12-04 | 2025-12-04 | 380 | OK
Collection Hardware | WC500-3 | 28658522 | DAQ 1 | -1 | 290 | 29171715 | NI | 9265 | 3 | 22476 | 2024-08-26 | 2025-08-26 | 280 | OK
Collection Hardware | WC500-3 | 28520385 | DAQ 3B | 4 | 449 | 31102703 | NI | 9216 | 5 | 22481 | 2024-08-26 | 2025-02-26 | 99 | OK
Collection Hardware | WC500-3 | 28520385 | DAQ 3B | 4 | 450 | 31102712 | NI | 9216 | 6 | 22482 | 2024-08-26 | 2025-02-26 | 99 | OK
Collection Hardware | WC500-3 | 28520385 | DAQ 3B | 4 | 451 | 31102666 | NI | 9216 | 7 | 22483 | 2024-08-26 | 2025-02-26 | 99 | OK
Collection Hardware | WC500-3 | 28520385 | DAQ 3B | 4 | 452 | 31102714 | NI | 9216 | 8 | 22484 | 2024-08-26 | 2025-02-26 | 99 | OK
Collection Hardware | WC500-3 | 28520385 | DAQ 3B | 4 | 476 | 31015018 | NI | 9214 | 4 | 22490 | 2024-08-27 | 2025-08-27 | 281 | OK
Collection Hardware | WC500-3 | 28693621 | DAQ 2 | 1 | 528 | 30686191 | NI | 9216 | 2 | 22485 | 2024-08-26 | 2025-02-26 | 99 | OK
Collection Hardware | WC500-3 | 28693621 | DAQ 2 | 1 | 529 | 30686162 | NI | 9216 | 3 | 22486 | 2024-08-26 | 2025-02-26 | 99 | OK
Collection Hardware | WC500-3 | 28658522 | DAQ 1 | -1 | 547 | 28932705 | NI | 9208 | 1 | 19051 | 2023-11-29 | 2025-11-29 | 375 | OK
Collection Hardware | WC500-3 | 29857707 | DAQ 3A | 2 | 3589 | 34068437 | NI | 9216 | 7 | 22479 | 2024-08-27 | 2025-02-27 | 100 | OK
Collection Hardware | WC500-3 | 29857707 | DAQ 3A | 2 | 3590 | 34044180 | NI | 9216 | 8 | 22480 | 2024-08-27 | 2025-02-27 | 100 | OK
Collection Hardware | WC500-3 | 29857707 | DAQ 3A | 2 | 3591 | 34068422 | NI | 9216 | 5 | 22477 | 2024-08-27 | 2025-02-27 | 100 | OK
Collection Hardware | WC500-3 | 29857707 | DAQ 3A | 2 | 3592 | 34003976 | NI | 9216 | 6 | 22478 | 2024-08-27 | 2025-02-27 | 100 | OK
Collection Hardware | WC500-3 | 28520385 | DAQ 3B | 4 | 4612 | 34446689 | NI | 9208 | 3 | 19049 | 2023-11-29 | 2025-11-29 | 375 | OK
Collection Hardware | WC500-3 | 29857707 | DAQ 3A | 2 | 5671 | 28003449 | NI | 9214 | 4 | 22487 | 2024-08-27 | 2025-08-27 | 281 | OK
Report Type | System (Eng. Tag) | Engineering Tag ID | Engineering Tag Name | System (HW Tag) | Hardware Channel Tag ID | Hardware Channel Tag Name | Caption | Type | Active | Scan Enabled | Logging Enabled | HW Min | HW Max | HW Units | SW Units | Process Interface ID | Serial Number | Type | Manufacturer | Model | Calibration Date | Calibration Due Date | Cal Due (Days) | Status
Process Interfaces | N/A | N/A | N/A | WC500-3 | 6581 | CTRL-LOOP-01_OUTPUT_CW-P1 | Control Loop 1 CW-P1 Output | AO | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | % | 702 | WC500-3_CW-P1 | Pump |  |  | 2018-01-01 | 2118-01-01 | 34010 | OK
Process Interfaces | WC500-3 | 6586 | COND_WTR_E_TOTAL_FLOW | WC500-3 | 6584 | COND_WTR_E_FLOW_FT-CW-1A | Cond Water Entering Flow 1A | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | gpm | 1758 | 14653230_14653222 | Flow | Rosemount |  | 2024-02-16 | 2026-02-16 | 454 | OK
Process Interfaces | WC500-3 | 6586 | COND_WTR_E_TOTAL_FLOW | WC500-3 | 6585 | COND_WTR_E_FLOW_FT-CW-1B | Cond Water Entering Flow 1B | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | gpm | 17705 | 14653344_14653309 | Flow | Rosemount |  | 2024-02-16 | 2026-02-16 | 454 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 6595 | CTRL-LOOP-03_AUTO_SP_TCV-CH-5B | Control Loop 3 TCV-CH-5B Auto Setpoint | AI | TRUE | TRUE | TRUE | #NAME? | Inf | % | degF | 1772 | WC500-3_LOOP-03_AUTO-SP | Loop |  |  | 2018-01-01 | 2118-01-01 | 34010 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 6597 | CTRL-LOOP_OUTPUT_TCV-CH-5B | Control Loop TCV-CH-5B Output | AO | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | % | 691 | WC500-3_TCV-CH-5B | Valve | FISHER |  | 2018-01-01 | 2118-01-01 | 34010 | OK
Process Interfaces | WC500-3 | 6598 | CTRL-LOOP-03_PV_COND_WTR_E_TEMP | WC500-3 | 6604 | COND_WTR_E_TEMP_TET-CW-1A | Cond Water Loop Temp 1A | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | degF | 705 | M3047F23 | RTD | Pyromation |  | 2018-01-01 | 2118-01-01 | 34010 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 6612 | CTRL-LOOP-05_OUTPUT_FCV-CW-4 | Control Loop 5 FCV-CW-4 Output | AO | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | % | 687 | WC500-3_FCV-CW-4 | Valve | FISHER |  | 2018-01-01 | 2118-01-01 | 34010 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 6618 | CTRL-LOOP-06_OUTPUT_TCV-CW-2 | Control Loop 6 TCV-CW-2 Output | AO | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | % | 692 | WC500-3_TCV-CW-2 | Valve | FISHER |  | 2018-01-01 | 2118-01-01 | 34010 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 6624 | CTRL-LOOP-07_OUTPUT_EW-P1 | Control Loop 7 EW-P1 | AO | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | % | 703 | WC500-3_EW-P1 | Pump |  |  | 2018-01-01 | 2118-01-01 | 34010 | OK
Process Interfaces | WC500-3 | 6629 | EVAP_WTR_E_TOTAL_FLOW | WC500-3 | 6627 | EVAP_WTR_E_FLOW_FT-EW-1A | EVAP Water Entering Flow 1A | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | gpm | 1761 | 14653614_14653638 | Flow | Rosemount |  | 2024-02-15 | 2026-02-15 | 453 | OK
Process Interfaces | WC500-3 | 6629 | EVAP_WTR_E_TOTAL_FLOW | WC500-3 | 6628 | EVAP_WTR_E_FLOW_FT-EW-1B | EVAP Water Entering Flow 1B | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | gpm | 17696 | 14653345_14653310 | Flow | Rosemount |  | 2024-02-15 | 2026-02-15 | 453 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 6638 | CTRL-LOOP-09_AUTO_SP_TCV-CW-3B | Control Loop 9 TCV-CW-3B Auto Setpoint | AI | TRUE | TRUE | TRUE | #NAME? | Inf | % | degF | 1773 | WC500-3_LOOP-09_AUTO-SP | Loop |  |  | 2018-01-01 | 2118-01-01 | 34010 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 6640 | CTRL-LOOP_OUTPUT_TCV-CW-3B | Control Loop TCV-CW-3B Output | AO | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | % | 694 | WC500-3_TCV-CW-3B | Valve | FISHER |  | 2018-01-01 | 2118-01-01 | 34010 | OK
Process Interfaces | WC500-3 | 6641 | CTRL-LOOP-09_PV_EVAP_WTR_E_TEMP | WC500-3 | 6647 | EVAP_WTR_E_TEMP_TET-EW-1A | Evap Water Loop Temp 1A | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | degF | 713 | M4048423 | RTD | Pyromation |  | 2018-01-01 | 2118-01-01 | 34010 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 6661 | CTRL-LOOP-12_OUTPUT_FCV-EW-1 | Control Loop 12 FCV-EW-1 Output | AO | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | % | 688 | WC500-3_FCV-EW-1 | Valve | FISHER |  | 2018-01-01 | 2118-01-01 | 34010 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 6667 | CTRL-LOOP-13_OUTPUT_FCV-EW-7 | Control Loop 13 FCV-EW-7 Output | AO | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | % | 689 | WC500-3_FCV-EW-7 | Valve | FISHER |  | 2018-01-01 | 2118-01-01 | 34010 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 6677 | CTRL-LOOP-15_AUTO_SP_FCV-CH-6 | Control Loop 15 FCV-CH-6 Auto Setpoint | AI | TRUE | TRUE | TRUE | #NAME? | Inf | % | degF | 1774 | WC500-3_LOOP-15_AUTO-SP | Loop |  |  | 2018-01-01 | 2118-01-01 | 34010 | OK
Process Interfaces | WC500-3 | 6691 | CTRL-LOOP-17_PV_OUTPUT_FCV-CH-6 | WC500-3 | 6679 | CTRL-LOOP_OUTPUT_FCV-CH-6 | Control Loop FCV-CH-6 Output | AO | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | % | 686 | WC500-3_FCV-CH-6 | Valve | FISHER |  | 2018-01-01 | 2118-01-01 | 34010 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 6690 | CTRL-LOOP-17_OUTPUT_CH-P1 | Control Loop 17 CH-P1 Output | AO | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | % | 701 | WC500-3_CH-P1 | Pump |  |  | 2018-01-01 | 2118-01-01 | 34010 | OK
Process Interfaces | WC500-3 | 6680 | CTRL-LOOP-15_PV_CH_WTR_FLOW | WC500-3 | 6693 | CH_WTR_E_FLOW_FT-CH-1 | Aux Cooling Water Flow | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | gpm | 17695 | 14652927_14652900 | Flow | Rosemount |  | 2024-02-15 | 2026-02-15 | 453 | OK
Process Interfaces | WC500-3 | 7008 | AUX_COOLING_CAPACITY | WC500-3 | 6693 | CH_WTR_E_FLOW_FT-CH-1 | Aux Cooling Water Flow | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | gpm | 17695 | 14652927_14652900 | Flow | Rosemount |  | 2024-02-15 | 2026-02-15 | 453 | OK
Process Interfaces | WC500-3 | 17147 | VSD_SYS01_WTR_HX-E_FLOW_01 | WC500-3 | 6693 | CH_WTR_E_FLOW_FT-CH-1 | Aux Cooling Water Flow | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | gpm | 17695 | 14652927_14652900 | Flow | Rosemount |  | 2024-02-15 | 2026-02-15 | 453 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 6694 | CH_WTR_E_FLOW_FT-CH-2 | Plant Chilled Water Supply Flow | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | gpm | 1757 | 14652938_14652909 | Flow | Rosemount |  | 2018-01-01 | 2118-01-01 | 34010 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 6695 | CH_WTR_E_TEMP_TET-CH-1 | Plant Chilled Water Supply Temp | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | degF | 718 | M505E723 | RTD | Pyromation |  | 2018-01-01 | 2118-01-01 | 34010 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 6698 | CH_WTR_L_TEMP_TET-CH-4 | Plant Chilled Water Return Temp | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | degF | 719 | M505F023 | RTD | Pyromation |  | 2018-01-01 | 2118-01-01 | 34010 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 6701 | COND_WTR_E_TEMP_TET-CW-4A | Cond Water Loop Temp 4A | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | degF | 715 | M4048F23 | RTD | Pyromation |  | 2018-01-01 | 2118-01-01 | 34010 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 6705 | EVAP_WTR_E_TEMP_TET-EW-4A | Evap Water Loop Temp 4A | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | degF | 707 | M3048723 | RTD | Pyromation |  | 2018-01-01 | 2118-01-01 | 34010 | OK
Process Interfaces | WC500-3 | 7001 | COND_PUMP_DIFF_PRESS_CW-P1 | WC500-3 | 6707 | COND_WTR_PRESS_PT-CW-1 | Cond Water Pump Discharge Pressure | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | psi | 700 | 1A00I2WO32I | Pressure | WIKA |  | 2018-01-01 | 2118-01-01 | 34010 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 6708 | COND_WTR_PRESS_PT-CW-2 | Cond Water Loop Back Pressure | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | psi | 695 | 1A00F0U1SII | Pressure | WIKA |  | 2018-01-01 | 2118-01-01 | 34010 | OK
Process Interfaces | WC500-3 | 7001 | COND_PUMP_DIFF_PRESS_CW-P1 | WC500-3 | 6709 | COND_WTR_PRESS_PT-CW-3 | Cond Water Pump Suction Pressure | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | psi | 698 | 1A00F0UI9IG | Pressure | WIKA |  | 2018-01-01 | 2118-01-01 | 34010 | OK
Process Interfaces | WC500-3 | 7002 | EVAP_PUMP_DIFF_PRESS_EW-P1 | WC500-3 | 6710 | EVAP_WTR_PRESS_PT-EW-1 | Evap Water Pump Discharge Pressure | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | psi | 699 | 1A00I2WNR35 | Pressure | WIKA |  | 2018-01-01 | 2118-01-01 | 34010 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 6711 | EVAP_WTR_PRESS_PT-EW-2 | Evap Water Loop Back Pressure | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | psi | 697 | 1A00F0U831Z | Pressure | WIKA |  | 2018-01-01 | 2118-01-01 | 34010 | OK
Process Interfaces | WC500-3 | 7002 | EVAP_PUMP_DIFF_PRESS_EW-P1 | WC500-3 | 6712 | EVAP_WTR_PRESS_PT-EW-3 | Evap Water Pump Suction Pressure | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | psi | 696 | 1A00F0U7W2R | Pressure | WIKA |  | 2018-01-01 | 2118-01-01 | 34010 | OK
Process Interfaces | WC500-3 | 16220 | COMPR_SYS01_RVAP_SUCT_PRESS_01 | WC500-3 | 6937 | DAQ3B_AI_001 | DAQ3B Current Input 1 | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | psia | 8240 | 460456 | Pressure | Omega |  | 2024-08-28 | 2025-02-28 | 101 | OK
Process Interfaces | WC500-3 | 16222 | COMPR_SYS01_RVAP_DISCH_PRESS_01 | WC500-3 | 6938 | DAQ3B_AI_002 | DAQ3B Current Input 2 | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | psia | 3183 | 481329 | Pressure | Omega |  | 2024-08-28 | 2025-02-28 | 101 | OK
Process Interfaces | WC500-3 | 17105 | COND_SYS01_RVAP_HIGH-CTR_PRESS_01 | WC500-3 | 6939 | DAQ3B_AI_003 | DAQ3B Current Input 3 | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | psia | 9969 | 460452 | Pressure | Omega |  | 2024-08-28 | 2025-02-28 | 101 | OK
Process Interfaces | WC500-3 | 17151 | MTR-CLG_SYS01_RFG_TANK_PRESS_01 | WC500-3 | 6940 | DAQ3B_AI_004 | DAQ3B Current Input 4 | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | psia | 4449 | 481330 | Pressure | Omega |  | 2024-08-28 | 2025-02-28 | 101 | OK
Process Interfaces | WC500-3 | 17106 | ECON_SYS01_RFG_E_PRESS_01 | WC500-3 | 6941 | DAQ3B_AI_005 | DAQ3B Current Input 5 | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | psia | 8234 | 446104 | Pressure | Omega |  | 2024-08-28 | 2025-02-28 | 101 | OK
Process Interfaces | WC500-3 | 17150 | AMB_UNIT_AIR_EXT_PRESS_01 | WC500-3 | 6942 | DAQ3B_AI_006 | DAQ3B Current Input 6 | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | psia | 1847 | 489945 | Pressure | Omega |  | 2024-08-28 | 2025-02-28 | 101 | OK
Process Interfaces | WC500-3 | 16227 | EVAP_UNIT_WTR_NOZ_DP_01 | WC500-3 | 6943 | DAQ3B_AI_007 | DAQ3B Current Input 7 | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | ftH2O | 4848 | 1505060 | Diff Pressure | Rosemount |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | WC500-3 | 16226 | COND_UNIT_WTR_NOZ_DP_01 | WC500-3 | 6944 | DAQ3B_AI_008 | DAQ3B Current Input 8 | AI | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | ftH2O | 4443 | 1142262 | Diff Pressure | Rosemount |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 6945 | DAQ3B_AI_009 | DAQ3B Current Input 9 | AI | FALSE | TRUE | TRUE | 0.003 | 0.021 | mA | ftH2O | 2884 | 1043692 | Diff Pressure | Rosemount |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | WC500-3 | 6605 | COND_WTR_E_TEMP_TET-CW-2A | WC500-3 | 16083 | DAQ2_RTD_001 | DAQ2 RTD Input 1 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 17747 | ED26F5 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | WC500-3 | 6606 | COND_WTR_E_TEMP_TET-CW-2B | WC500-3 | 16084 | DAQ2_RTD_002 | DAQ2 RTD Input 2 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 17742 | ED2613 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | WC500-3 | 6699 | COND_WTR_L_TEMP_TET-CW-3A | WC500-3 | 16085 | DAQ2_RTD_003 | DAQ2 RTD Input 3 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 17741 | ED260B | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | WC500-3 | 6700 | COND_WTR_L_TEMP_TET-CW-3B | WC500-3 | 16086 | DAQ2_RTD_004 | DAQ2 RTD Input 4 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 17752 | ED2765 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | WC500-3 | 6648 | EVAP_WTR_E_TEMP_TET-EW-2A | WC500-3 | 16087 | DAQ2_RTD_005 | DAQ2 RTD Input 5 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 17755 | ED276A | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | WC500-3 | 6649 | EVAP_WTR_E_TEMP_TET-EW-2B | WC500-3 | 16088 | DAQ2_RTD_006 | DAQ2 RTD Input 6 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 17744 | ED2615 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | WC500-3 | 6703 | EVAP_WTR_L_TEMP_TET-EW-3A | WC500-3 | 16089 | DAQ2_RTD_007 | DAQ2 RTD Input 7 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 17753 | ED2767 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | WC500-3 | 6704 | EVAP_WTR_L_TEMP_TET-EW-3B | WC500-3 | 16090 | DAQ2_RTD_008 | DAQ2 RTD Input 8 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 17745 | ED2677 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | WC500-3 | 6696 | CH_WTR_E_TEMP_TET-CH-2 | WC500-3 | 16091 | DAQ2_RTD_009 | DAQ2 RTD Input 9 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 17743 | ED2614 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | WC500-3 | 6697 | CH_WTR_L_TEMP_TET-CH-3 | WC500-3 | 16092 | DAQ2_RTD_010 | DAQ2 RTD Input 10 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 17749 | ED26F7 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16093 | DAQ2_RTD_011 | DAQ2 RTD Input 11 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 17754 | ED2769 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16094 | DAQ2_RTD_012 | DAQ2 RTD Input 12 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 17748 | ED26F6 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16095 | DAQ2_RTD_013 | DAQ2 RTD Input 13 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 17746 | ED267F | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16096 | DAQ2_RTD_014 | DAQ2 RTD Input 14 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 17750 | ED26FD | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16097 | DAQ2_RTD_015 | DAQ2 RTD Input 15 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 17751 | ED2764 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16098 | DAQ2_RTD_016 | DAQ2 RTD Input 16 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 17740 | ED2609 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16099 | DAQ3A_RTD_001 | DAQ3A RTD Input 1 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 3353 | D311CB | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16100 | DAQ3A_RTD_002 | DAQ3A RTD Input 2 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 4464 | D2F75C | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16101 | DAQ3A_RTD_003 | DAQ3A RTD Input 3 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 4656 | D3199A | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16102 | DAQ3A_RTD_004 | DAQ3A RTD Input 4 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 3347 | D2F76C | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16103 | DAQ3A_RTD_005 | DAQ3A RTD Input 5 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5064 | D2FCBB | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16104 | DAQ3A_RTD_006 | DAQ3A RTD Input 6 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5063 | D2F76A | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16105 | DAQ3A_RTD_007 | DAQ3A RTD Input 7 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19872 | EE39DB | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16106 | DAQ3A_RTD_008 | DAQ3A RTD Input 8 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19873 | EE39DD | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16107 | DAQ3A_RTD_009 | DAQ3A RTD Input 9 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19877 | EE39E9 | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16108 | DAQ3A_RTD_010 | DAQ3A RTD Input 10 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19874 | EE39E0 | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16109 | DAQ3A_RTD_011 | DAQ3A RTD Input 11 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19871 | EE39D9 | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16110 | DAQ3A_RTD_012 | DAQ3A RTD Input 12 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19875 | EE39E5 | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16111 | DAQ3A_RTD_013 | DAQ3A RTD Input 13 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19865 | EE3924 | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16112 | DAQ3A_RTD_014 | DAQ3A RTD Input 14 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19878 | EE39EA | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | WC500-3 | 17148 | VSD_SYS01_WTR_HX-E_TEMP_01 | WC500-3 | 16113 | DAQ3A_RTD_015 | DAQ3A RTD Input 15 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19860 | D2E850 | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | WC500-3 | 17149 | VSD_SYS01_WTR_HX-L_TEMP_01 | WC500-3 | 16114 | DAQ3A_RTD_016 | DAQ3A RTD Input 16 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19859 | D2DFEC | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16115 | DAQ3A_RTD_017 | DAQ3A RTD Input 17 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 4833 | D5BB38 | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16116 | DAQ3A_RTD_018 | DAQ3A RTD Input 18 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 4910 | D2F75B | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16117 | DAQ3A_RTD_019 | DAQ3A RTD Input 19 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 4531 | D2E664 | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16118 | DAQ3A_RTD_020 | DAQ3A RTD Input 20 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5339 | D2FCBE | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16119 | DAQ3A_RTD_021 | DAQ3A RTD Input 21 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 4796 | D5E713 | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16120 | DAQ3A_RTD_022 | DAQ3A RTD Input 22 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 4829 | D5AC27 | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16121 | DAQ3A_RTD_023 | DAQ3A RTD Input 23 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19869 | EE3946 | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16122 | DAQ3A_RTD_024 | DAQ3A RTD Input 24 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19867 | EE3942 | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16123 | DAQ3A_RTD_025 | DAQ3A RTD Input 25 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19863 | EE391B | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16124 | DAQ3A_RTD_026 | DAQ3A RTD Input 26 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19876 | EE39E7 | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16125 | DAQ3A_RTD_027 | DAQ3A RTD Input 27 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19870 | EE39D2 | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16126 | DAQ3A_RTD_028 | DAQ3A RTD Input 28 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19868 | EE3943 | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16127 | DAQ3A_RTD_029 | DAQ3A RTD Input 29 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19866 | EE3925 | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16128 | DAQ3A_RTD_030 | DAQ3A RTD Input 30 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19864 | EE391C | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16129 | DAQ3A_RTD_031 | DAQ3A RTD Input 31 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19861 | D2ECDA | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16130 | DAQ3A_RTD_032 | DAQ3A RTD Input 32 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 19862 | D5D5B0 | RTD | Pyromation |  | 2024-08-27 | 2025-02-27 | 100 | OK
Process Interfaces | WC500-3 | 17104 | COMPR_SYS01_RFG_SUCT_TEMP_01 | WC500-3 | 16131 | DAQ3B_RTD_001 | DAQ3B RTD Input 1 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5051 | D302D6 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | WC500-3 | 16597 | COMPR_SYS01_RFG_DISCH_TEMP_01 | WC500-3 | 16132 | DAQ3B_RTD_002 | DAQ3B RTD Input 2 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5062 | D5E714 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | WC500-3 | 17107 | EVAP_SYS01_RLIQ_EV-E_TEMP_01 | WC500-3 | 16133 | DAQ3B_RTD_003 | DAQ3B RTD Input 3 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5059 | D311C8 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | WC500-3 | 17108 | EVAP_SYS02_RLIQ_EV-E_TEMP_01 | WC500-3 | 16134 | DAQ3B_RTD_004 | DAQ3B RTD Input 4 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5046 | D2F759 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | WC500-3 | 17146 | MTR_SYS01_HSG_TOP_TEMP_01 | WC500-3 | 16135 | DAQ3B_RTD_005 | DAQ3B RTD Input 5 | AI | TRUE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5031 | D2D59E | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16136 | DAQ3B_RTD_006 | DAQ3B RTD Input 6 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5061 | D5CD03 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16137 | DAQ3B_RTD_007 | DAQ3B RTD Input 7 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5045 | D2F313 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16138 | DAQ3B_RTD_008 | DAQ3B RTD Input 8 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5047 | D2F7A2 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16139 | DAQ3B_RTD_009 | DAQ3B RTD Input 9 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5032 | D2D6C9 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16140 | DAQ3B_RTD_010 | DAQ3B RTD Input 10 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5037 | D2E6E3 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16141 | DAQ3B_RTD_011 | DAQ3B RTD Input 11 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5094 | D5F0AF | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16142 | DAQ3B_RTD_012 | DAQ3B RTD Input 12 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5058 | D30A78 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16143 | DAQ3B_RTD_013 | DAQ3B RTD Input 13 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5041 | D2EC0D | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16144 | DAQ3B_RTD_014 | DAQ3B RTD Input 14 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5057 | D30A75 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16145 | DAQ3B_RTD_015 | DAQ3B RTD Input 15 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5038 | D2E849 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16146 | DAQ3B_RTD_016 | DAQ3B RTD Input 16 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5042 | D2ECD9 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16147 | DAQ3B_RTD_017 | DAQ3B RTD Input 17 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5056 | D3097D | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16148 | DAQ3B_RTD_018 | DAQ3B RTD Input 18 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5050 | D302D4 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16149 | DAQ3B_RTD_019 | DAQ3B RTD Input 19 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5043 | D2F1EF | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16150 | DAQ3B_RTD_020 | DAQ3B RTD Input 20 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5040 | D2EBBE | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16151 | DAQ3B_RTD_021 | DAQ3B RTD Input 21 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5033 | D2DDC7 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16152 | DAQ3B_RTD_022 | DAQ3B RTD Input 22 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5048 | D2FCB1 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16153 | DAQ3B_RTD_023 | DAQ3B RTD Input 23 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5044 | D2F30C | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16154 | DAQ3B_RTD_024 | DAQ3B RTD Input 24 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5054 | D3043D | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16155 | DAQ3B_RTD_025 | DAQ3B RTD Input 25 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5053 | D30439 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16156 | DAQ3B_RTD_026 | DAQ3B RTD Input 26 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5049 | D2FEA8 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16157 | DAQ3B_RTD_027 | DAQ3B RTD Input 27 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5052 | D3042F | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16158 | DAQ3B_RTD_028 | DAQ3B RTD Input 28 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5055 | D3043E | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16159 | DAQ3B_RTD_029 | DAQ3B RTD Input 29 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5060 | D3186E | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16160 | DAQ3B_RTD_030 | DAQ3B RTD Input 30 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5034 | D2DF63 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16161 | DAQ3B_RTD_031 | DAQ3B RTD Input 31 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5035 | D2DFF6 | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 16162 | DAQ3B_RTD_032 | DAQ3B RTD Input 32 | AI | FALSE | TRUE | TRUE | 0 | 1000 | Ohms | degF | 5039 | D2E84D | RTD | Pyromation |  | 2024-08-26 | 2025-02-26 | 99 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 23569 | CTRL-LOOP_OUTPUT_TCV-CH-5A | Control Loop TCV-CH-5A Output | AO | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | % | 690 | WC500-3_TCV-CH-5A | Valve | FISHER |  | 2018-01-01 | 2118-01-01 | 34010 | OK
Process Interfaces | N/A | N/A | N/A | WC500-3 | 23570 | CTRL-LOOP_OUTPUT_TCV-CW-3A | Control Loop TCV-CW-3A Output | AO | TRUE | TRUE | TRUE | 0.003 | 0.021 | mA | % | 693 | WC500-3_TCV-CW-3A | Valve | FISHER |  | 2018-01-01 | 2118-01-01 | 34010 | OK