## Slide 1
Process Mapping – Calibration Report Process for JCNS
JCI INTERNAL ONLY
Revision: 1
Process Map
Effective Date: Pending
Page 1
Process Map Key
Johnson Controls Navy Systems (JCNS)
Calibration Lab
Begin Process
Send report to JCNS
NOTE: Requests must include date of most current instrumentation load out.
NOTE: Requests must include an Instrumentation Map.
Open report template file and save to folder
Paste instrumentation map into the report template.
Calibration report utility to generate “combined report”
Save combined report to the folder
Paste combined report into the template
Template performs checks and generates report
Print PDF of report
Save report to folder
JCNS will provide follow up if required.
Request Calibration Report from Calibration Lab
Create a folder for the project
Copy the map to the folder
End Process
NOTE: Each unit has a different calibration report template.
File Name Format:
TemplateName_Unit_Date.xlsx
Populate the template using the map and combined report
File Name Format:
Calibration Report_Date.csv
Name Format:
TemplateName_Unit_Date.pdf

## Slide 2
Process Mapping – CI Opportunities
Notes:
Instrument map: have to type in unit type, test request number, instrument map date (“good run date”).
  Date and map that is accurate to that date.
  Yellow boxes at top of template
What power analyzers were used for testing, (not on instrument map)
  ID number (XT2640-###)
  Measurement Description (ex: Chiller Input
Update channel names in instrument maps
Operators need to verify in SCADA system that calibration light is off (not red) before testing.