## 570 Ton
Johnson Controls Calibration Report
Unit Type: 570 Ton
Test Request Number:
Instrument Map Date:
JADEC Test Facility:
| Instrument Serial Number | Instrument Title | Calibration Dates
|  |  | Last | Next
DAQ2 RTD Temperatures
| 0 | COND WATER ENTERING TEMP A | #N/A | #N/A
| 0 | COND WATER ENTERING TEMP B | #N/A | #N/A
| 0 | COND WATER LEAVING TEMP A | #N/A | #N/A
| 0 | COND WATER LEAVING TEMP B | #N/A | #N/A
| 0 | EVAP WATER ENTERING TEMP A | #N/A | #N/A
| 0 | EVAP WATER ENTERING TEMP B | #N/A | #N/A
| 0 | EVAP WATER LEAVING TEMP A | #N/A | #N/A
| 0 | EVAP WATER LEAVING TEMP B | #N/A | #N/A
| 0 | AUX COOLING WATER ENTERING TEMP | #N/A | #N/A
| 0 | AUX COOLING WATER LEAVING TEMP | #N/A | #N/A
DAQ3 RTD Temperatures
| 0 | COMPRESSOR SUCTION TEMP SYS01 | #N/A | #N/A
| 0 | COMPRESSOR DISCHARGE TEMP SYS01 | #N/A | #N/A
| 0 | COMPRESSOR SUCTION TEMP SYS02 | #N/A | #N/A
| 0 | COMPRESSOR DISCHARGE TEMP SYS02 | #N/A | #N/A
| 0 | OIL COOLER WATER ON SYS01 | #N/A | #N/A
| 0 | OIL COOLER WATER OFF SYS01 | #N/A | #N/A
| 0 | OIL COOLER WATER ON SYS02 | #N/A | #N/A
| 0 | OIL COOLER WATER OFF SYS02 | #N/A | #N/A
| 0 | EVAP LIQUID LOW CENTER RTD | #N/A | #N/A
| 0 | LIQUID OUT OF COND SYS01 | #N/A | #N/A
| 0 | LIQUID OUT OF COND SYS02 | #N/A | #N/A
| 0 | AMBIENT TEMPERATURE | #N/A | #N/A
| 0 | COND WATER LEAVING TEMP 01 | #N/A | #N/A
| 0 | COND WATER LEAVING TEMP 02 | #N/A | #N/A
Omega Pressure Transducer
| 0 | EVAP PRESSURE | #N/A | #N/A
| 0 | COND PRESSURE | #N/A | #N/A
| 0 | OIL PRESSURE SYS01 | #N/A | #N/A
| 0 | OIL PRESSURE SYS02 | #N/A | #N/A
| 0 | OIL SUMP PRESSURE | #N/A | #N/A
| 0 | BAROMETRIC PRESSURE | #N/A | #N/A
| 0 | CWCV INLET PRESSURE | #N/A | #N/A
| 0 | CWCV OUTLET PRESSURE | #N/A | #N/A
| 0 | CWCV BYPASS LEG PRESSURE | #N/A | #N/A
Rosemount Delta P Transducer
| 0 | EVAP WATER PRESSURE DROP | #N/A | #N/A
| 0 | COND WATER PRESSURE DROP | #N/A | #N/A
| 0 | OIL COOLER WATER PRESSURE DROP SYS01 | #N/A | #N/A
| 0 | OIL COOLER WATER PRESSURE DROP SYS02 | #N/A | #N/A
Rosemount Magmeter
| 0 | EVAPORATOR WATER FLOW A | #N/A | #N/A
| 0 | EVAPORATOR WATER FLOW B | #N/A | #N/A
| 0 | CONDENSER WATER FLOW A | #N/A | #N/A
| 0 | CONDENSER WATER FLOW B | #N/A | #N/A
| 0 | OIL COOLER WATER FLOW SYS01 | #N/A | #N/A
| 0 | OIL COOLER WATER FLOW SYS02 | #N/A | #N/A
| 0 | CWCV BYPASS FLOW | #N/A | #N/A
` | Xitron Power Analyzer
| 0 | MOTOR 1 INPUT | #N/A | #N/A
| 0 | MOTOR 2 INPUT | #N/A | #N/A
| Prepared By: | 0 | Date: | 0

## 520 Ton
Johnson Controls Calibration Report
Unit Type: 520 Ton
Test Request Number:
Instrument Map Date:
JADEC Test Facility:
| Instrument Serial Number | Instrument Title | Calibration Dates
|  |  | Last | Next
DAQ2 RTD Temperatures
| 0 | COND WATER ENTERING TEMP A | #N/A | #N/A
| 0 | COND WATER ENTERING TEMP B | #N/A | #N/A
| 0 | COND WATER LEAVING TEMP A | #N/A | #N/A
| 0 | COND WATER LEAVING TEMP B | #N/A | #N/A
| 0 | EVAP WATER ENTERING TEMP A | #N/A | #N/A
| 0 | EVAP WATER ENTERING TEMP B | #N/A | #N/A
| 0 | EVAP WATER LEAVING TEMP A | #N/A | #N/A
| 0 | EVAP WATER LEAVING TEMP B | #N/A | #N/A
| 0 | AUX COOLING WATER ENTERING TEMP | #N/A | #N/A
| 0 | AUX COOLING WATER LEAVING TEMP | #N/A | #N/A
DAQ3 RTD Temperatures
| 0 | COMPRESSOR SUCTION TEMP | #N/A | #N/A
| 0 | COMPRESSOR DISCHARGE TEMP | #N/A | #N/A
| 0 | REFRIGERANT LIQUID TEMP TO EXPANSION VALVE | #N/A | #N/A
| 0 | OIL COOLER WATER ON | #N/A | #N/A
| 0 | OIL COOLER WATER OFF | #N/A | #N/A
| 0 | AMBIENT TEMPERATURE | #N/A | #N/A
Omega Pressure Transducer
| 0 | COMPRESSOR SUCTION PRESSURE | #N/A | #N/A
| 0 | COMPRESSOR DISCHARGE PRESSURE | #N/A | #N/A
| 0 | CONDENSER PRESSURE | #N/A | #N/A
| 0 | OIL PRESSURE | #N/A | #N/A
| 0 | OIL SUMP PRESSURE | #N/A | #N/A
| 0 | BAROMETRIC PRESSURE | #N/A | #N/A
| 0 | TEST CHAMBER HUMIDITY | #N/A | #N/A
Rosemount Delta P Transducer
| 0 | EVAPORATOR WATER PRESSURE DROP | #N/A | #N/A
| 0 | CONDENSER WATER PRESSURE DROP | #N/A | #N/A
| 0 | OIL COOLER WATER PRESSURE DROP | #N/A | #N/A
Rosemount Magmeter
| 0 | EVAPORATOR WATER FLOW A | #N/A | #N/A
| 0 | EVAPORATOR WATER FLOW B | #N/A | #N/A
| 0 | CONDENSER WATER FLOW A | #N/A | #N/A
| 0 | CONDENSER WATER FLOW B | #N/A | #N/A
| 0 | OIL COOLER WATER FLOW | #N/A | #N/A
` | Xitron Power Analyzer
| 0 | CHILLER INPUT | #N/A | #N/A
| 0 | OIL PUMP | #N/A | #N/A
| Prepared By: | 0 | Date: | 0

## 500 Ton
Johnson Controls Calibration Report
Unit Type: 500 Ton
Test Request Number:
Instrument Map Date:
JADEC Test Facility:
| Instrument Serial Number | Instrument Title | Calibration Dates
|  |  | Last | Next
DAQ2 RTD Temperatures
| 0 | COND WATER ENTERING TEMP A | #N/A | #N/A
| 0 | COND WATER ENTERING TEMP B | #N/A | #N/A
| 0 | COND WATER LEAVING TEMP A | #N/A | #N/A
| 0 | COND WATER LEAVING TEMP B | #N/A | #N/A
| 0 | EVAP WATER ENTERING TEMP A | #N/A | #N/A
| 0 | EVAP WATER ENTERING TEMP B | #N/A | #N/A
| 0 | EVAP WATER LEAVING TEMP A | #N/A | #N/A
| 0 | EVAP WATER LEAVING TEMP B | #N/A | #N/A
| 0 | AUX COOLING WATER ENTERING TEMP | #N/A | #N/A
| 0 | AUX COOLING WATER LEAVING TEMP | #N/A | #N/A
DAQ3 RTD Temperatures
| 0 | OIL COOLER WATER ON | #N/A | #N/A
| 0 | OIL COOLER WATER OFF | #N/A | #N/A
| 0 | AMBIENT TEMPERATURE | #N/A | #N/A
Omega Pressure Transducer
| 0 | BAROMETRIC PRESSURE | #N/A | #N/A
Rosemount Delta P Transducer
| 0 | EVAPORATOR WATER PRESSURE DROP | #N/A | #N/A
| 0 | CONDENSER WATER PRESSURE DROP | #N/A | #N/A
| 0 | OIL COOLER WATER PRESSURE DROP | #N/A | #N/A
Rosemount Magmeter
| 0 | EVAPORATOR WATER FLOW A | #N/A | #N/A
| 0 | EVAPORATOR WATER FLOW B | #N/A | #N/A
| 0 | CONDENSER WATER FLOW A | #N/A | #N/A
| 0 | CONDENSER WATER FLOW B | #N/A | #N/A
| 0 | OIL COOLER WATER FLOW | #N/A | #N/A
Xitron Power Analyzer
| 0 | CHILLER INPUT | #N/A | #N/A
| Prepared By: | 0 | Date: | 0
`

## 450 Ton
Johnson Controls Calibration Report
Unit Type: 450 Ton SSN Compressor
Test Request Number:
Instrument Map Date:
JADEC Test Facility:
| Instrument Serial Number | Instrument Title | Calibration Dates
|  |  | Last | Next
DAQ2 RTD Temperatures
| 0 | COND WATER ENTERING TEMP A | #N/A | #N/A
| 0 | COND WATER ENTERING TEMP B | #N/A | #N/A
| 0 | COND WATER LEAVING TEMP A | #N/A | #N/A
| 0 | COND WATER LEAVING TEMP B | #N/A | #N/A
| 0 | EVAP WATER ENTERING TEMP A | #N/A | #N/A
| 0 | EVAP WATER ENTERING TEMP B | #N/A | #N/A
| 0 | EVAP WATER LEAVING TEMP A | #N/A | #N/A
| 0 | EVAP WATER LEAVING TEMP B | #N/A | #N/A
| 0 | AUX COOLING WATER ENTERING TEMP | #N/A | #N/A
| 0 | AUX COOLING WATER LEAVING TEMP | #N/A | #N/A
DAQ3 RTD Temperatures
| 0 | COMPRESSOR SUCTION TEMP | #N/A | #N/A
| 0 | COMPRESSOR DISCHARGE TEMP | #N/A | #N/A
| 0 | REFRIGERANT LIQUID TEMP TO EXPANSION VALVE #1 | #N/A | #N/A
| 0 | REFRIGERANT LIQUID TEMP TO EXPANSION VALVE #2 | #N/A | #N/A
| 0 | OIL COOLER WATER ON | #N/A | #N/A
| 0 | OIL COOLER WATER OFF | #N/A | #N/A
| 0 | AMBIENT TEMPERATURE | #N/A | #N/A
Omega Pressure Transducer
| 0 | COMPRESSOR SUCTION PRESSURE | #N/A | #N/A
| 0 | COMPRESSOR DISCHARGE PRESSURE | #N/A | #N/A
| 0 | CONDENSER PRESSURE | #N/A | #N/A
| 0 | OIL PRESSURE | #N/A | #N/A
| 0 | OIL SUMP PRESSURE | #N/A | #N/A
| 0 | BAROMETRIC PRESSURE | #N/A | #N/A
Rosemount Delta P Transducer
| 0 | EVAPORATOR WATER PRESSURE DROP | #N/A | #N/A
| 0 | CONDENSER WATER PRESSURE DROP | #N/A | #N/A
| 0 | OIL COOLER WATER PRESSURE DROP | #N/A | #N/A
Rosemount Magmeter
| 0 | EVAPORATOR WATER FLOW A | #N/A | #N/A
| 0 | EVAPORATOR WATER FLOW B | #N/A | #N/A
| 0 | CONDENSER WATER FLOW A | #N/A | #N/A
| 0 | CONDENSER WATER FLOW B | #N/A | #N/A
| 0 | AUX COOLING WATER FLOW | #N/A | #N/A
` | Xitron Power Analyzer
| 0 | CHILLER INPUT | #N/A | #N/A
| Prepared By: | 0 | Date: | 0

## 375 Ton
Johnson Controls Calibration Report
Unit Type: 375 Ton HESC
Test Request Number:
Instrument Map Date:
JADEC Test Facility:
| Instrument Serial Number | Instrument Title | Calibration Dates
|  |  | Last | Next
DAQ2 RTD Temperatures
| 0 | COND WATER ENTERING TEMP A | #N/A | #N/A
| 0 | COND WATER ENTERING TEMP B | #N/A | #N/A
| 0 | COND WATER LEAVING TEMP A | #N/A | #N/A
| 0 | COND WATER LEAVING TEMP B | #N/A | #N/A
| 0 | EVAP WATER ENTERING TEMP A | #N/A | #N/A
| 0 | EVAP WATER ENTERING TEMP B | #N/A | #N/A
| 0 | EVAP WATER LEAVING TEMP A | #N/A | #N/A
| 0 | EVAP WATER LEAVING TEMP B | #N/A | #N/A
| 0 | AUX COOLING WATER ENTERING TEMP | #N/A | #N/A
| 0 | AUX COOLING WATER LEAVING TEMP | #N/A | #N/A
DAQ3 RTD Temperatures
| 0 | COMPRESSOR SUCTION TEMP | #N/A | #N/A
| 0 | COMPRESSOR DISCHARGE TEMP | #N/A | #N/A
| 0 | REFRIGERANT LIQUID TEMP TO EXPANSION VALVE #1 | #N/A | #N/A
| 0 | REFRIGERANT LIQUID TEMP TO EXPANSION VALVE #2 | #N/A | #N/A
| 0 | MOTOR HOUSING TOP PLATE TEMP | #N/A | #N/A
| 0 | VSD COOLING ON | #N/A | #N/A
| 0 | VSD COOLING OFF | #N/A | #N/A
Omega Pressure Transducer
| 0 | COMPRESSOR SUCTION PRESSURE | #N/A | #N/A
| 0 | COMRPRESSOR DISCHARGE PRESSURE | #N/A | #N/A
| 0 | CONDENSER PRESSURE | #N/A | #N/A
| 0 | MOTOR COOLING VAPOR TANK PRESSURE | #N/A | #N/A
| 0 | ECONOMIZER VAPOR PRESSURE | #N/A | #N/A
| 0 | BAROMETRIC PRESSURE | #N/A | #N/A
Rosemount Delta P Transducer
| 0 | EVAPORATOR WATER PRESSURE DROP | #N/A | #N/A
| 0 | CONDENSOR WATER PRESSURE DROP | #N/A | #N/A
Rosemount Magmeter
| 0 | EVAPORATOR WATER FLOW A | #N/A | #N/A
| 0 | EVAPORATOR WATER FLOW B | #N/A | #N/A
| 0 | CONDENSER WATER FLOW A | #N/A | #N/A
| 0 | CONDENSER WATER FLOW B | #N/A | #N/A
| 0 | VSD COOLER WATER FLOW | #N/A | #N/A
` | Xitron Power Analyzer
| 0 | CHILLER INPUT | #N/A | #N/A
| 0 | VSD OUTPUT | #N/A | #N/A
| Prepared By: | 0 | Date: | 0

## 1100 Ton
Johnson Controls Calibration Report
Unit Type: 1100 Ton
Test Request Number:
Instrument Map Date:
JADEC Test Facility:
| Instrument Serial Number | Instrument Title | Calibration Dates
|  |  | Last | Next
DAQ2 RTD Temperatures
| 0 | COND WATER ENTERING TEMP A | #N/A | #N/A
| 0 | COND WATER ENTERING TEMP B | #N/A | #N/A
| 0 | COND WATER LEAVING TEMP A | #N/A | #N/A
| 0 | COND WATER LEAVING TEMP B | #N/A | #N/A
| 0 | EVAP WATER ENTERING TEMP A | #N/A | #N/A
| 0 | EVAP WATER ENTERING TEMP B | #N/A | #N/A
| 0 | EVAP WATER LEAVING TEMP A | #N/A | #N/A
| 0 | EVAP WATER LEAVING TEMP B | #N/A | #N/A
| 0 | AUX COOLING WATER ENTERING TEMP | #N/A | #N/A
| 0 | AUX COOLING WATER LEAVING TEMP | #N/A | #N/A
DAQ3 RTD Temperatures
| 0 | COMPRESSOR SUCTION TEMP SYS 1 | #N/A | #N/A
| 0 | COMPRESSOR DISCHARGE TEMP SYS 1 | #N/A | #N/A
| 0 | COMPRESSOR SUCTION TEMP SYS 2 | #N/A | #N/A
| 0 | COMPRESSOR DISCHARGE TEMP SYS 2 | #N/A | #N/A
| 0 | LIQUID OUT OF CONDENSER | #N/A | #N/A
| 0 | OIL COOLER WATER ON SYS 1 | #N/A | #N/A
| 0 | OIL COOLER WATER OFF SYS 1 | #N/A | #N/A
| 0 | OIL COOLER WATER ON SYS 2 | #N/A | #N/A
| 0 | OIL COOLER WATER OFF SYS 2 | #N/A | #N/A
| 0 | EVAPORATOR LIQUID LOW CENTER RTD | #N/A | #N/A
| 0 | AMBIENT TEMPERATURE | #N/A | #N/A
Omega Pressure Transducer
| 0 | EVAPORATOR PRESSURE | #N/A | #N/A
| 0 | CONDENSER PRESSURE | #N/A | #N/A
| 0 | OIL PRESSURE SYS 1 | #N/A | #N/A
| 0 | OIL PRESSURE SYS 2 | #N/A | #N/A
| 0 | OIL SUMP PRESSURE | #N/A | #N/A
| 0 | MOTOR BARREL PRESSURE SYS 1 | #N/A | #N/A
| 0 | MOTOR BARREL PRESSURE SYS 2 | #N/A | #N/A
| 0 | BAROMETRIC PRESSURE | #N/A | #N/A
Rosemount Delta P Transducer
| 0 | EVAPORATOR WATER PRESSURE DROP | #N/A | #N/A
| 0 | CONDENSER WATER PRESSURE DROP | #N/A | #N/A
| 0 | OIL COOLER WATER PRESSURE DROP SYS 1 | #N/A | #N/A
| 0 | OIL COOLER WATER PRESSURE DROP SYS 2 | #N/A | #N/A
Rosemount Magmeter
| 0 | EVAPORATOR WATER FLOW A | #N/A | #N/A
| 0 | EVAPORATOR WATER FLOW B | #N/A | #N/A
| 0 | CONDENSER WATER FLOW A | #N/A | #N/A
| 0 | CONDENSER WATER FLOW B | #N/A | #N/A
| 0 | OIL COOLER WATER FLOW SYS 1 | #N/A | #N/A
| 0 | OIL COOLER WATER FLOW SYS 2 | #N/A | #N/A
` | Xitron Power Analyzer
| 0 | STARTER SYS 1 | #N/A | #N/A
| 0 | STARTER SYS 2 | #N/A | #N/A
| 0 | OIL SYS 1 | #N/A | #N/A
| 0 | OIL SYS 2 | #N/A | #N/A
| Prepared By: | 0 | Date: | 0

## 110 Ton
Johnson Controls Calibration Report
Unit Type: 110 Ton
Test Request Number:
Instrument Map Date:
JADEC Test Facility:
| Instrument Serial Number | Instrument Title | Calibration Dates
|  |  | Last | Next
DAQ2 RTD Temperatures
| 0 | COND WATER ENTERING TEMP A | #N/A | #N/A
| 0 | COND WATER ENTERING TEMP B | #N/A | #N/A
| 0 | COND WATER LEAVING TEMP A | #N/A | #N/A
| 0 | COND WATER LEAVING TEMP B | #N/A | #N/A
| 0 | EVAP WATER ENTERING TEMP A | #N/A | #N/A
| 0 | EVAP WATER ENTERING TEMP B | #N/A | #N/A
| 0 | EVAP WATER LEAVING TEMP A | #N/A | #N/A
| 0 | EVAP WATER LEAVING TEMP B | #N/A | #N/A
| 0 | AUX COOLING WATER ENTERING TEMP | #N/A | #N/A
| 0 | AUX COOLING WATER LEAVING TEMP | #N/A | #N/A
DAQ3 RTD Temperatures
| 0 | COMPRESSOR SUCTION TEMP SYS 1 | #N/A | #N/A
| 0 | COMPRESSOR DISCHARGE TEMP SYS 1 | #N/A | #N/A
| 0 | LIQUID OUT OF CONDENSER SYS 1 | #N/A | #N/A
| 0 | COMPRESSOR SUCTION TEMP SYS 2 | #N/A | #N/A
| 0 | COMPRESSOR DISCHARGE TEMP SYS 2 | #N/A | #N/A
| 0 | LIQUID OUT OF CONDENSER SYS 2 | #N/A | #N/A
| 0 | LIQUID OUT ECONOMIZER SYS 1 | #N/A | #N/A
| 0 | GAS OUT ECONOMIZER SYS 1 | #N/A | #N/A
| 0 | LIQUID OUT ECONOMIZER SYS 2 | #N/A | #N/A
| 0 | GAS OUT ECONOMIZER SYS 2 | #N/A | #N/A
| 0 | AMBIENT TEMPERATURE | #N/A | #N/A
Omega Pressure Transducer
| 0 | COMPRESSOR SUCTION PRESSURE SYS 1 | #N/A | #N/A
| 0 | COMPRESSOR DISCHARGE PRESSURE SYS 1 | #N/A | #N/A
| 0 | COMPRESSOR SUCTION PRESSURE SYS 2 | #N/A | #N/A
| 0 | COMPRESSOR DISCHARGE PRESSURE SYS 2 | #N/A | #N/A
| 0 | GAS OUT ECONOMIZER SYS01 | #N/A | #N/A
| 0 | GAS OUT ECONOMIZER SYS02 | #N/A | #N/A
| 0 | BAROMETRIC PRESSURE | #N/A | #N/A
Rosemount Delta P Transducer
| 0 | EVAPORATOR WATER PRESSURE DROP | #N/A | #N/A
| 0 | CONDENSER WATER PRESSURE DROP | #N/A | #N/A
Rosemount Magmeter
| 0 | EVAPORATOR WATER FLOW A | #N/A | #N/A
| 0 | EVAPORATOR WATER FLOW B | #N/A | #N/A
| 0 | CONDENSER WATER FLOW A | #N/A | #N/A
| 0 | CONDENSER WATER FLOW B | #N/A | #N/A
` | Xitron Power Analyzer
| 0 | CHILLER INPUT | #N/A | #N/A
| Prepared By: | 0 | Date: | 0

## Comparison
Unit | DAQ2 RTD Temperatures | DAQ3 RTD Temperatures | Omega Pressure Transducer | Rosemount Delta P Transducer | Rosemount Magmeter | Xitron Power Analyzer
570 | 10 | 14 | 9 | 4 | 7 | 2
520 | 10 | 6 | 7 | 3 | 5 | 2
500 | 10 | 3 | 1 | 3 | 5 | 1
450 | 10 | 7 | 6 | 3 | 5 | 1
375 | 10 | 7 | 6 | 2 | 5 | 2
1100 | 10 | 11 | 8 | 4 | 6 | 4
110 | 10 | 11 | 7 | 2 | 4 | 1
Max | 10 | 14 | 9 | 4 | 7 | 4