“National Instruments LabVIEW Install Quick Reference Guide”

# TABLE OF CONTENTS

TABLE OF CONTENTS	2

REVISION LOG	3

PROCEDURE STATUS	3

REFERENCES	3

PURPOSE	3

SCOPE	3

PERSONNEL TRAINING AND QUALIFICATION	3

APPARATUS AND EQUIPMENT	3

PREQEQUISITE	5

A.	“Y” Drive Setup – Must Have Drive Privledges	5

# REVISION LOG

| Revision: 1.0 |  | Effective Date: |  |  |
| --- | --- | --- | --- | --- |
| Section | Justification |  |  | Changes |
| Impact of above change(s) on other documents: |  |  |  |  |

# PROCEDURE STATUS

The status of this procedure is: DRAFT.

# REFERENCES

- https://www.ni.com/en.html

- https://www.ni.com/en/support/downloads/software-products/download.labview.html#521715

- \\c1315mv65\groups\Private\TestSupport\JADEC Commissioning\Software\National Instruments

- https://www.ni.com/pdf/manuals/374715c.html

# PURPOSE

This quick start guide provides instructions on how to install National Instruments LabVIEW in preparation for working with JCI Software Projects.

# SCOPE

This procedure applies to all personnel who will be using National Instruments Software Products at JCI.

# PERSONNEL TRAINING AND QUALIFICATION

- System Users need to have proficiency with:

  - Microsoft Windows

  - National Instruments Software

- Access to “Y” Drive

# APPARATUS AND EQUIPMENT

Minimum System Requirements for National Instruments LabVIEW.

| Windows | Run-Time Engine | Development Environment |
| --- | --- | --- |
| Processor | Pentium III/Celeron 866 MHz (or equivalent) or later (32-bit) Pentium 4 G1 (or equivalent) or later (64-bit) | Pentium 4M (or equivalent) or later (32-bit) Pentium 4 G1 (or equivalent) or later (64-bit) |
| RAM | 256 MB | 1 GB |
| Screen Resolution | 1024 x 768 pixels | 1024 x 768 pixels |
| Operating System | Windows 8.1/8/7/Vista (32-bit and 64-bit) Windows XP SP3 (32-bit) Windows Server 2012 R2 (64-bit) Windows Server 2008 R2 (64-bit) Windows Server 2003 R2 (32-bit) | Windows 8.1/8/7/Vista (32-bit and 64-bit) Windows XP SP3 (32-bit) Windows Server 2012 R2 (64-bit) Windows Server 2008 R2 (64-bit) Windows Server 2003 R2 (32-bit) |
| Disk Space | 620 MB | 5 GB (includes default drivers from the NI Device Drivers media) |
| Color Palette | N/A | LabVIEW and the LabVIEW Help contain 16-bit color graphics. LabVIEW requires a minimum color palette setting of 16-bit color. |
| Temporary Files Directory | N/A | LabVIEW uses a directory for storing temporary files. National Instruments recommends that you have several megabytes of disk space available for this temporary directory. |
| Adobe Reader | N/A | You must have Adobe Reader installed to search PDF versions of all LabVIEW manuals. |

# PREREQUISITE

- “Y” Drive Setup

  - Navigate to “This PC”

  - Select “Map network drive” form the Ribbon

  - A “Map Network Drive” Window will open prompting some information.

    - Use the drop down and select “Y” for the “Drive”.

    - Enter \\c1823m003.go.johnsoncontrols.com\yorkdata\esg\Dept1892 into “Folder”

    - Verify “Reconnect at Sign-in” is selected.

    - Verify “Connect using different credentials” is not selected.

    - Press “Finish”

  - This will now close the “Map Network Drive” Window and open an additional Windows Explorer Window with the “Y” Drive contents.

# PROCEDURE

## NI Developer Suite 2015 DS2 Install

- From the mapped “Y” Drive, navigate to Groups\Private\TestSupport\JADEC Commissioning\Software\National Instruments

- Open the Folder “LabVIEW 2015”

- Open the Folder " 501400AP-01M_2015DS2DVD1_ENG”

- Run Setup.exe (Application) by right clicking and selecting

- A “NI Developer Suite 2015 DS2” Window will open.  This window will direct the user thru the installation process.  Press “Next” to proceed.

- The next setup screen will display.   This screen prompts the user to “Select Installation Option”.  That option is whether to use a serial number or to just evaluate the product.

- Verify that “I have serial numbers for one or more products in this installer.” Is selected.

- Verify “Select and activate products based on my serial numbers.” is selected.

- Press “Next” to proceed.

- The next Screen will prompt the user to enter serial number(s).

  - For each serial number:

    - Enter the serial number in the provided text box.

    - Press “Add Serial Number”

    - Another “NI Developer Suite 2015 DS2” Window will display to validate the serial number.

    - A serial number for “LabVIEW Professional” and “LabVIEW Real-Time Module” will be entered.

    - When both serial numbers are validated.  Press “Next” to proceed.

- The next screen will prompt the user to select the “Product(s)” from the “Licensed Product List”

  - Click the drop down on “VI Package Manager” and select the option Install.

  - Click the drop down on “NI General Security Patch Q2 2013” and select the option Install.

  - Click the drop down on “NI Device Drivers – August ” and select the option Install.

  - Press “Next” to proceed.

- The next screen is prompting the user to determine if they want to check for important updates to the products they are choosing to install.  Please verify that the box is checked and press “Next” to proceed.

- The next screen will proceed to check for any important updates to the selected products.  When it is done, it will go away and proceed to the next screen.

- The next screen will go over any important updates for the selected products.  There should be no updates.

Press “Next” to proceed.

- The next screen will provide a list of directories for install files.  Press “Next” to proceed.

- The next screen will ask the user to accept the license agreements.  Please select “I accept the above x License Agreement(s).” and press “Next” to proceed.

- The next screen is more license agreement acceptance.   Please select “I accept the above x License Agreement(s).”  Press “Next” to proceed.

- The next screen is prompting the user to always trust software from National Instruments Corporation.  Verify “Always trust software from National Instruments Corporation.” is selected.  Press “Next” to proceed.

- The next screen will try to active the products. It may show a “Page Error” or need to be refreshed.  This is due to the software being older and web pages changing.  Press “Next” to proceed.

- The next screen will prompt for user information.  Please fill in “First Name”, “Last Name”, “Organization”, and “Email”.  Press “Next” to proceed.

- The next step will verify the products to be installed and once “Next” is pressed, installation will begin.  Press “Next” to proceed.

- Installation will now begin. Please wait for it to finish before proceeding.  The screen may flash and/or command prompts may appear.  This is normal.

- During Installation, the user will be prompt to enter the location for Disc 2, Disc 3, and Instrument Drivers.  There can be found on the “Y” Drive at:

  - Disc 2 – “Groups\Private\TestSupport\JADEC Commissioning\Software\National Instruments\LabVIEW 2015\501400AP-02M_2015DS2DVD2”

  - Disc 3 – “Groups\Private\TestSupport\JADEC Commissioning\Software\National Instruments\LabVIEW 2015\ 501400AP-03M_2015DS2DVD3”

  - Instrument Drivers – “Groups\Private\TestSupport\JADEC Commissioning\Software\National Instruments\NI Device Drivers\Aug15\DCD-Aug15-1”

- For the Instrument Drivers, the user is prompted to accept x License Agreements.  At this screen, please select “I accept the above x License Agreement(s).”  Press “Next” to proceed.

- Installation will continue.

- Once installation is complete, a “Product Information” screen will display.  This screen displays information about the products that were installed.  Press “Next” to proceed.

- The next screen is the “Installation Summary”.  This screen shows all of the products that were installed. Press “Next” to proceed.

- After the previous screen is advanced, a “NI Update Service” window displays.  Select “Yes” to prompt the software to check for updates.

- Another prompt will now appear, alerting the user that the installer will now connect to a website to install “Windows Software Development Kit”.  Press “Yes” to proceed.

- A “Windows Software Development Kit for Windows 8.1” window will now display.  Keep all settings default and press “Next” to proceed.

- The next screen will ask the user to “Join the Customer Experience”.  Verify “No” is Selected and then press “Next” to proceed.

- The next screen is a “License Agreement” screen.  Press “Accept” to proceed.

- The next screen will prompt the user to “Select the features you want to install”.  Verify “Windows Software Development Kit” is selected and press “Install” to start installing.

- The software will begin to install.  Please, wait for the installation to complete.

- After installation if complete, a “Welcome” screen will appear.  Press “Close” to close the window.

- An “NI Developer Suite 2015 DS2” window will appear.  This prompt will ask the user to restart the PC to complete installation.  Press “Yes” to proceed.

- The PC will now restart.

- After Windows reboots, there will e a “Windows Firewall” Prompt.  Press “Allow Access” to proceed.

- A “NI Update Service” Window will come up after this.  Press “Remind Me Later”

## Software Activation