## Originals
User | Name | Version | Bitness | Year | Runtime/Development | Mfg | Dependant | Part Of | Installed with | Consistant
Corey | IVI Compliance Package | 15.0 | 32 | 2015* | Development | NI | N | IVI Compliance Package 15.0
Corey | LabVIEW |  | 32 | 2015 SP1 f10 | Development | NI | N | LabVIEW 2015 SP1 f10
Corey | Advanced Signal Processing Toolkit | 15.0.0 | 32 | 2015 | Development | NI | Y | LabVIEW 2015 SP1 f10
Corey | Database Connectivity Toolkit | 15.0.0 | 32 | 2015 | Development | NI | Y | LabVIEW 2015 SP1 f10
Corey | DataFinder Toolkit | 15.0.06020 | 32 | 2015 | Development | NI | Y | LabVIEW 2015 SP1 f10
Corey | Digital Filter Design Toolkit | 15.0.0 | 32 | 2015 | Development | NI | Y | LabVIEW 2015 SP1 f10
Corey | MathScript RT Module | 15.0.0 | 32 | 2015 | Development | NI | Y | LabVIEW 2015 SP1 f10
Corey | Real-Time | 15.0.1 | 32 | 2015 | Development | NI | Y | LabVIEW 2015 SP1 f10
Corey | Real-Time Trace Viewer - LabVIEW 2015 Support | 15.0.1 | 32 | 2015 | Development | NI | Y | LabVIEW 2015 SP1 f10
Corey | Report Generation Toolkit For Microsoft Office | 15.0.0 | 32 | 2015 | Development | NI | Y | LabVIEW 2015 SP1 f10
Corey | Statechart Module | 15.0 | 32 | 2015 | Development | NI | Y | LabVIEW 2015 SP1 f10
Corey | Unit Test Framework Toolkit | 15.0.0 | 32 | 2015 | Development | NI | Y | LabVIEW 2015 SP1 f10
Corey | VI Analyzer Toolki |  | 32 | 2015 | Development | NI | Y | LabVIEW 2015 SP1 f10
Corey | LabVIEW | 12.0.1 | 32 | 2012 SP1 f9 | Runtime | NI | N | LabVIEW Runtime 2012 SP1 f9 12.0.1
Corey | LabVIEW | 12.0.1 | 64 | 2012 SP1 f9 | Runtime | NI | N | LabVIEW Runtime 2012 SP1 f9 12.0.1
Corey | LabVIEW |  | 32 | 2013 SP1 f6 | Runtime | NI | N | LabVIEW Runtime 2013 SP1 f6
Corey | LabVIEW |  | 32 | 2014 SP1 f11 | Runtime | NI | N | LabVIEW Runtime 2014 SP1 f11
Corey | LabVIEW | 14.0.1 | 64 | 2014 SP1 f11 | Runtime | NI | N | LabVIEW Runtime 2014 SP1 f11 14.0.1
Corey | LabVIEW | 15.0.1 | 32 | 2015 SP1 | Runtime | NI | N | LabVIEW Runtime 2015 SP1 15.0.1
Corey | LabVIEW | 19.0.1 | 32 | 2019 SP1 f3 | Runtime | NI | N | LabVIEW Runtime 2019 SP1 f3 19.0.1
Corey | CVI | 15.0.0.408 | 32 | 2015 | Runtime | NI | N | CVI Runtime 2015 15.0.0.408
Corey | Measurement & Automation Explorer | 15.3.0f0 | 32 | 2015* | Development | NI | N | Measurement & Automation Explorer 15.3.0f0
Corey | Measurement Studio for VS2010 |  | 32 |  | Development | NI | Y | Measurement Studio for VS2010
Corey | DotNET |  | 32 |  | Development | NI | Y | Measurement Studio for VS2010
Corey | Common | 15.0.40.49154 | 32 | 2015* | Development | NI | Y | Measurement Studio for VS2010
Corey | Common | 15.0.40.49154 | 64 | 2015* | Development | NI | Y | Measurement Studio for VS2010
Corey | NI 1588-2008 Network Management | 15.0.0f0 | 32 | 2015* | Development | NI | N | NI 1588-2008 Network Management 15.0.0f0
Corey | NI I/O Trace | 15.0.0f0 | 32 | 2015* | Development | NI | N | NI I/O Trace 15.0.0f0
Corey | NI PXI Platform Services Configuration | 15.0.0f1 | 32 | 2015* | Development | NI | N | NI PXI Platform Services Configuration 15.0.0f1
Corey | NI PXI Platform Services Configuration | 19.5.0f0 | 32 | 2019* | Development | NI | N | NI PXI Platform Services Configuration 19.5.0f0
Corey | NI R Series Multifunction RIO | 15.0.0 | 32 | 2015* | Development | NI | N | NI R Series Multifunction RIO 15.0.0
Corey | NI Script Editor | 14.0 | 32 | 2014* | Development | NI | N | NI Script Editor 14.0
Corey | NI SignalExpress | 2015 | 32 | 2015 | Development | NI | N | NI SignalExpress 2015
Corey | NI System Configuration | 19.5.0f0 | 32 | 2019* | Development | NI | N | NI System Configuration 19.5.0f0
Corey | NI-488.2 | 15.0 | 32 | 2015* | Development | NI | N | NI-488.2 15.0
Corey | NI-488.2 | 19.5 | 32 | 2019* | Development | NI | N | NI-488.2 19.5
Corey | NI-DAQmx ADE Support | 15.0.0 | 32 | 2015* | Development | NI | N | NI-DAQmx ADE Support 15.0.0
Corey | NI-DAQmx Device Driver | 15.0.0f2 | 32 | 2015* | Development | NI | N | NI-DAQmx Device Driver 15.0.0f2
Corey | NI-DAQmx MAX Configuration | 15.0.0 | 32 | 2015* | Development | NI | N | NI-DAQmx MAX Configuration 15.0.0
Corey | NI-DCPower | 15.0 | 32 | 2015* | Development | NI | N | NI-DCPower 15.0
Corey | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DCPower 15.0
Corey | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DCPower 15.0
Corey | Runtime | 15.0 | 32 | 2015* | Development | NI | Y | NI-DCPower 15.0
Corey | NI-DCPower Soft Front Panel | 15.0 | 32 | 2015* | Development | NI | Y | NI-DCPower 15.0
Corey | NI-DMM | 15.0 | 32 | 2015* | Development | NI | N | NI-DMM 15.0
Corey | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DMM 15.0
Corey | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DMM 15.0
Corey | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-DMM 15.0
Corey | DMM Soft Front Panel | 15.0.0 | 32 | 2015* | Development | NI | Y | NI-DMM 15.0
Corey | NI-FGEN | 15.0 | 32 | 2015* | Development | NI | N | NI-FGEN 15.0
Corey | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-FGEN 15.0
Corey | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-FGEN 15.0
Corey | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-FGEN 15.0
Corey | FGEN Soft Front Panel | 15.0 | 32 | 2015* | Development | NI | Y | NI-FGEN 15.0
Corey | NI-SCOPE | 15.0 | 32 | 2015* | Development | NI | N | NI-SCOPE 15.0
Corey | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SCOPE 15.0
Corey | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SCOPE 15.0
Corey | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-SCOPE 15.0
Corey | SCOPE Soft Front Panel | 15.0 | 32 | 2015* | Development | NI | Y | NI-SCOPE 15.0
Corey | NI-Serial Configuration | 15.0 | 32 | 2015* | Development | NI | N | NI-Serial Configuration 15.0
Corey | NI-Serial Runtime | 18.5 | 32 | 2018* | Development | NI | N | NI-Serial Runtime 18.5
Corey | NI-SWITCH | 15.0 | 32 | 2015* | Development | NI | N | NI-SWITCH 15.0
Corey | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SWITCH 15.0
Corey | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SWITCH 15.0
Corey | Runtime Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SWITCH 15.0
Corey | Soft Front Panel | 15.0.0 | 32 | 2015* | Development | NI | Y | NI-SWITCH 15.0
Corey | NI-Sync | 15.0.0f0 | 32 | 2015* | Development | NI | N | NI-Sync 15.0.0f0
Corey | NI-TClk | 15.0 | 32 | 2015* | Development | NI | N | NI-TClk 15.0
Corey | NI-TimeSync | 15.0.0f0 | 32 | 2015* | Development | NI | N | NI-TimeSync 15.0.0f0
Corey | NI-USI | 15.0.1.6118 | 32 | 2015* | Development | NI | N | NI-USI 15.0.1.6118
Corey | NI-VISA | 19.5 | 32 | 2019* | Development | NI | N | NI-VISA 19.5
Corey | NiVisaServer.exe | 15.0.0.49152 | 32 | 2019* | Development | NI | Y | NI-VISA 19.5
Corey | NIvisaic.exe | 15.0.0.49152 | 32 | 2019* | Development | NI | Y | NI-VISA 19.5
Corey | NI-VISA Runtime | 19.5 | 32 | 2019* | Development | NI | N | NI-VISA Runtime 19.5
Corey | CompactRIO | 15.0.0 | 32 | 2015* | Development | NI | N | CompactRIO 15.0.0
Corey | C Series Module Support | 15.0.0 | 32 | 2015* | Development | NI | N | C Series Module Support 15.0.0
Corey | CVI | 15.0.0.408 | 32 | 2015* | Runtime | NI | N | CVI 15.0.0.408
Corey | FlexRIO | 15.0.0f0 | 32 | 2015* | Development | NI | N | FlexRIO 15.0.0f0
Corey | NI-RIO | 15.0.0 | 32 | 2015* | Development | NI | N | NI-RIO 15.0.0
Corey | NI-PAL Software | 19.0.0 | 32 | 2019* | Development | NI | N | NI-PAL Software 19.0.0
Garrett | CompactRIO | 15.0.0 | 32 | 2015* | Development | NI | N | CompactRIO 15.0.0
Garrett | C Series Module Support | 15.0.0 | 32 | 2015* | Development | NI | N | C Series Module Support 15.0.0
Garrett | FlexRIO | 15.0.0f0 | 32 | 2015* | Development | NI | Y | C Series Module Support 15.0.0
Garrett | IVI Compliance Package | 15.0 | 32 | 2015* | Development | NI | N | IVI Compliance Package 15.0
Garrett | LabVIEW | 15.0.1 | 32 | 2015 SP1 f10 | Development | NI | N | LabVIEW Development 2015 SP1 f10 15.0.1
Garrett | Advanced Signal Processing Toolkit | 15.0.0 | 32 | 2015* | Development | NI | Y | LabVIEW Development 2015 SP1 f10 15.0.1
Garrett | Database Connectivity Toolkit | 15.0.0 | 32 | 2015* | Development | NI | Y | LabVIEW Development 2015 SP1 f10 15.0.1
Garrett | DataFinder Toolkit | 15.0.06020 | 32 | 2015* | Development | NI | Y | LabVIEW Development 2015 SP1 f10 15.0.1
Garrett | Digital Filter Design Toolkit |  | 32 |  | Development | NI | Y | LabVIEW Development 2015 SP1 f10 15.0.1
Garrett | Real-Time | 15.0.1 | 32 | 2015* | Development | NI | Y | LabVIEW Development 2015 SP1 f10 15.0.1
Garrett | Real-Time Trace Viewer - LabVIEW 2015 Support | 15.0.1 | 32 | 2015* | Development | NI | Y | LabVIEW Development 2015 SP1 f10 15.0.1
Garrett | Report Generation Toolkit For Microsoft Office | 15.0.0 | 32 | 2015* | Development | NI | Y | LabVIEW Development 2015 SP1 f10 15.0.1
Garrett | Statechart Module | 15.0 | 32 | 2015* | Development | NI | Y | LabVIEW Development 2015 SP1 f10 15.0.1
Garrett | Unit Test Framework Toolkit | 15.0.0 | 32 | 2015* | Development | NI | Y | LabVIEW Development 2015 SP1 f10 15.0.1
Garrett | VI Analyzer Toolkit | 15.0.0 | 32 | 2015* | Development | NI | Y | LabVIEW Development 2015 SP1 f10 15.0.1
Garrett | LabVIEW | 12.0.1 | 32 | 2012 SP1 f9 | Runtime | NI | N | LabVIEW Runtime 2012 SP1 f9 12.0.1
Garrett | LabVIEW | 12.0.1 | 64 | 2012 SP1 f9 | Runtime | NI | N | LabVIEW Runtime 2012 SP1 f9 12.0.1
Garrett | LabVIEW | 13.0.1 | 32 | 2013 SP1 f6 | Runtime | NI | N | LabVIEW Runtime 2013 SP1 f6 13.0.1
Garrett | LabVIEW | 14.0.1 | 64 | 2014 SP1 f1 | Runtime | NI | N | LabVIEW Runtime 2014 SP1 f1 14.0.1
Garrett | LabVIEW | 14.0.1 | 32 | 2014 SP1 f3 | Runtime | NI | N | LabVIEW Runtime 2014 SP1 f3 14.0.1
Garrett | LabVIEW | 15.0.1 | 32 | 2015 SP1 | Runtime | NI | N | LabVIEW Runtime 2015 SP1 15.0.1
Garrett | LabVIEW | 20.0.1 | 64 | 2020 SP1 f1 | Runtime | NI | N | LabVIEW Runtime 2020 SP1 f1 20.0.1
Garrett | LabWindows/CVI | 15.0.0 | 32 | 2015 | Development | NI | N | LabWindows/CVI Development 2015 15.0.0
Garrett | Real-Time |  | 32 | 2015 | Development | NI | Y | LabWindows/CVI Development 2015 15.0.0
Garrett | CVI | 15.0.1.240 | 32 | 2015 SP1 | Runtime | NI | N | CVI Runtime 2015 SP1 15.0.1.240
Garrett | LabWindows/CVI Shared Add-Ons |  | 32 |  | Development | NI | N | LabWindows/CVI Shared Add-Ons
Garrett | PID Toolkit | 2.1.0 | 32 |  | Development | NI | Y | LabWindows/CVI Shared Add-Ons
Garrett | Real-Time Trace Viewer - CVI Support | 15.0.0 | 32 | 2015* | Development | NI | Y | LabWindows/CVI Shared Add-Ons
Garrett | Measurement & Automation Explorer | 15.3.0f0 | 32 | 2015* | Development | NI | N | Measurement & Automation Explorer 15.3.0f0
Garrett | Measurement Studio for VS2010 |  | 32 |  | Development | NI | N | Measurement Studio for VS2010
Garrett | DotNET |  | 32 |  | Development | NI | Y | Measurement Studio for VS2010
Garrett | Common | 15.0.40.49154 | 32 | 2015* | Development | NI | Y | Measurement Studio for VS2010
Garrett | Common | 15.0.40.49154 | 64 | 2015* | Development | NI | Y | Measurement Studio for VS2010
Garrett | NI 1588-2008 Network Management | 15.0.0f0 | 32 | 2015* | Development | NI | N | NI 1588-2008 Network Management 15.0.0f0
Garrett | NI I/O Trace | 15.0.0f0 | 32 | 2015* | Development | NI | N | NI I/O Trace 15.0.0f0
Garrett | NI PXI Platform Services Configuration | 15.1.0f0 | 32 | 2015* | Development | NI | N | NI PXI Platform Services Configuration 15.1.0f0
Garrett | NI PXI Platform Services | 19.5.0f0 | 32 | 2019* | Runtime | NI | N | NI PXI Platform Services 19.5.0f0
Garrett | NI R Series Multifunction RIO | 15.0.0 | 32 | 2015* | Development | NI | N | NI R Series Multifunction RIO 15.0.0
Garrett | NI Script Editor | 14.0 | 32 | 2014* | Development | NI | N | NI Script Editor 14.0
Garrett | NI SignalExpress | 15.0 | 32 | 2015* | Development | NI | N | NI SignalExpress 15.0
Garrett | NI System Configuration | 19.5.0f0 | 32 | 2019* | Development | NI | N | NI System Configuration 19.5.0f0
Garrett | NI-488.2 | 15.0.0 | 32 | 2015* | Development | NI | N | NI-488.2 15.0.0
Garrett | NI-488.2 | 19.5.0 | 32 | 2019* | Runtime | NI | N | NI-488.2 19.5.0
Garrett | NI-DAQmx ADE Support | 15.0.0 | 32 | 2015* | Development | NI | N | NI-DAQmx ADE Support 15.0.0
Garrett | NI-DAQmx Device Driver | 15.0.0f2 | 32 | 2015* | Development | NI | N | NI-DAQmx Device Driver 15.0.0f2
Garrett | NI-DAQmx MAX Configuration | 15.0.0 | 32 | 2015* | Development | NI | N | NI-DAQmx MAX Configuration 15.0.0
Garrett | NI-DCPower |  | 32 |  | Development | NI | N | NI-DCPower
Garrett | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DCPower
Garrett | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DCPower
Garrett | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-DCPower
Garrett | NI-DCPower Soft Front Panel | 15.0 | 32 | 2015* | Development | NI | Y | NI-DCPower
Garrett | NI-DMM |  | 32 |  | Development | NI | N | NI-DMM
Garrett | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DMM
Garrett | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DMM
Garrett | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-DMM
Garrett | DMM Soft Front Panel | 15.0.0 | 32 | 2015* | Development | NI | Y | NI-DMM
Garrett | NI-FGEN |  | 32 |  |  | NI | N | NI-FGEN
Garrett | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-FGEN
Garrett | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-FGEN
Garrett | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-FGEN
Garrett | FGEN Soft Front Panel | 15.0 | 32 | 2015* | Development | NI | Y | NI-FGEN
Garrett | NI-HSDIO |  | 32 |  |  | NI | N | NI-HSDIO
Garrett | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-HSDIO
Garrett | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-HSDIO
Garrett | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-HSDIO
Garrett | NI-HWS | 15.0.0 | 32 | 2015* | Development | NI | N | NI-HWS 15.0.0
Garrett | NI-Industrial Communications for EtherCAT | 15.0.0f3 | 32 | 2015* | Development | NI | N | NI-Industrial Communications for EtherCAT 15.0.0f3
Garrett | NI-PAL | 19.0.0 | 32 | 2019* | Development | NI | N | NI-PAL 19.0.0
Garrett | NI-RIO | 15.0.0 | 32 | 2015* | Development | NI | N | NI-RIO 15.0.0
Garrett | NI-SCOPE |  | 32 |  | Development | NI | N | NI-SCOPE
Garrett | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SCOPE
Garrett | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SCOPE
Garrett | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-SCOPE
Garrett | SCOPE Soft Front Panel | 15.0 | 32 | 2015* | Development | NI | Y | NI-SCOPE
Garrett | NI-Serial Configuration | 15.0.0f0 | 32 | 2015* | Development | NI | N | NI-Serial Configuration 15.0.0f0
Garrett | NI-Serial | 18.5.0f0 | 32 | 2018* | Runtime | NI | N | NI-Serial 18.5.0f0
Garrett | NI-SWITCH | 15.0 | 32 | 2015* | Development | NI | N | NI-SWITCH 15.0
Garrett | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SWITCH 15.0
Garrett | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SWITCH 15.0
Garrett | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-SWITCH 15.0
Garrett | Soft Front Panel | 15.0.0 | 32 | 2015* | Development | NI | Y | NI-SWITCH 15.0
Garrett | NI-Sync Runtime | 15.0.1f0 | 32 | 2015* | Development | NI | N | NI-Sync Runtime 15.0.1f0
Garrett | NI-TClk | 15.0 | 32 | 2015* | Development | NI | N | NI-TClk 15.0
Garrett | NI-TimeSync | 15.0.0f0 | 32 | 2015* | Development | NI | N | NI-TimeSync 15.0.0f0
Garrett | NI-USI | 15.0.1.6118 | 32 | 2015* | Development | NI | N | NI-USI 15.0.1.6118
Garrett | NI-VISA | 19.5 | 32 | 2019* | Development | NI | N | NI-VISA 19.5
Garrett | NiVisaServer.exe | 15.0.0.49152 | 32 | 2015* | Development | NI | Y | NI-VISA 19.5
Garrett | NIvisaic.exe | 15.0.0.49152 | 32 | 2015* | Development | NI | Y | NI-VISA 19.5
Garrett | NI-VISA | 19.5 | 32 | 2019* | Runtime | NI | Y | NI-VISA 19.5
Garrett | NI-VISA | 19.5 | 32 | 2019* | Development | NI | Y | NI-VISA 19.5
Spencer | CompactRIO | 15.0.0 | 32 | 2015* | Development | NI | N | CompactRIO 15.0.0
Spencer | C Series Module Support | 15.0.0 | 32 | 2015* | Development | NI | Y | CompactRIO 15.0.0
Spencer | FlexRIO | 15.0.0f0 | 32 | 2015* | Development | NI | N | FlexRIO 15.0.0f0
Spencer | IVI Compliance Package | 15.0 | 32 | 2015* | Development | NI | N | IVI Compliance Package 15.0
Spencer | LabVIEW | 15.0.1 | 32 | 2015 SP1 f10 | Development | NI | N | LabVIEW 15.0.1
Spencer | Advanced Signal Processing Toolkit | 15.0.0 | 32 | 2015* | Development | NI | N | Advanced Signal Processing Toolkit 15.0.0
Spencer | Database Connectivity Toolkit | 15.0.0 | 32 | 2015* | Development | NI | N | Database Connectivity Toolkit 15.0.0
Spencer | DataFinder Toolkit | 15.0.06020 | 32 | 2015* | Development | NI | N | DataFinder Toolkit 15.0.06020
Spencer | Digital Filter Design Toolkit |  | 32 | 2015* | Development | NI | N | Digital Filter Design Toolkit
Spencer | Real-Time | 15.0.1 | 32 | 2015* | Development | NI | N | Real-Time 15.0.1
Spencer | Real-Time Trace Viewer - LabVIEW 2015 Support | 15.0.1 | 32 | 2015* | Development | NI | N | Real-Time Trace Viewer - LabVIEW 2015 Support 15.0.1
Spencer | Report Generation Toolkit For Microsoft Office | 15.0.0 | 32 | 2015* | Development | NI | N | Report Generation Toolkit For Microsoft Office 15.0.0
Spencer | Statechart Module | 15.0 | 32 | 2015* | Development | NI | N | Statechart Module 15.0
Spencer | Unit Test Framework Toolkit | 15.0.0 | 32 | 2015* | Development | NI | N | Unit Test Framework Toolkit 15.0.0
Spencer | VI Analyzer Toolkit | 15.0.0 | 32 | 2015* | Development | NI | N | VI Analyzer Toolkit 15.0.0
Spencer | LabVIEW | 12.0.1 | 32 | 2012 SP1 f9 | Runtime | NI | N | LabVIEW 12.0.1
Spencer | LabVIEW | 12.0.1 | 64 | 2012 SP1 f9 | Runtime | NI | N | LabVIEW 12.0.1
Spencer | LabVIEW | 13.0.1 | 32 | 2013 SP1 f6 | Runtime | NI | N | LabVIEW 13.0.1
Spencer | LabVIEW | 14.0.1 | 32 | 2014 SP1 f11 | Runtime | NI | N | LabVIEW 14.0.1
Spencer | LabVIEW | 14.0.1 | 64 | 2014 SP1 f11 | Runtime | NI | N | LabVIEW 14.0.1
Spencer | LabVIEW | 15.0.1 | 32 | 2015 SP1 | Runtime | NI | N | LabVIEW 15.0.1
Spencer | LabVIEW | 19.0.1 | 32 | 2019 SP1 f5 | Runtime | NI | N | LabVIEW 19.0.1
Spencer | CVI | 15.0.0.408 | 32 | 2015 | Runtime | NI | N | CVI 15.0.0.408
Spencer | Measurement & Automation Explorer | 15.3.0f0 | 32 | 2015* | Development | NI | N | Measurement & Automation Explorer 15.3.0f0
Spencer | Measurement Studio for VS2010 |  | 32 |  | Development | NI | N | Measurement Studio for VS2010
Spencer | DotNET |  | 32 |  | Development | NI | Y | Measurement Studio for VS2010
Spencer | Common | 15.1.40.49152 | 32 | 2015* | Development | NI | Y | Measurement Studio for VS2010
Spencer | Common | 15.1.40.49152 | 64 | 2015* | Development | NI | Y | Measurement Studio for VS2010
Spencer | NI 1588-2008 Network Management | 15.0.0f0 | 32 | 2015* | Development | NI | N | NI 1588-2008 Network Management 15.0.0f0
Spencer | NI I/O Trace | 15.0.0f0 | 32 | 2015* | Development | NI | N | NI I/O Trace 15.0.0f0
Spencer | NI PXI Platform Services Configuration | 15.0.0f1 | 32 | 2015* | Development | NI | N | NI PXI Platform Services Configuration 15.0.0f1
Spencer | NI PXI Platform Services | 19.5.0f0 | 32 | 2019* | Runtime | NI | N | NI PXI Platform Services 19.5.0f0
Spencer | NI R Series Multifunction RIO | 15.0.0 | 32 | 2015* | Development | NI | N | NI R Series Multifunction RIO 15.0.0
Spencer | NI Script Editor | 14.0 | 32 | 2015* | Development | NI | N | NI Script Editor 14.0
Spencer | NI SignalExpress | 15.0 | 32 | 2015 | Development | NI | N | NI SignalExpress 15.0
Spencer | NI System Configuration | 19.5.0f0 | 32 | 2019* | Development | NI | N | NI System Configuration 19.5.0f0
Spencer | NI-488.2 | 15.0.0 | 32 | 2015* | Development | NI | N | NI-488.2 15.0.0
Spencer | NI-488.2 | 19.5.0 | 32 | 2019* | Development | NI | N | NI-488.2 19.5.0
Spencer | NI-DAQmx ADE Support | 15.0.0 | 32 | 2015* | Development | NI | N | NI-DAQmx ADE Support 15.0.0
Spencer | NI-DAQmx Device Driver | 15.0.0f2 | 32 | 2015* | Development | NI | N | NI-DAQmx Device Driver 15.0.0f2
Spencer | NI-DAQmx MAX Configuration | 15.0.0 | 32 | 2015* | Development | NI | N | NI-DAQmx MAX Configuration 15.0.0
Spencer | NI-DCPower |  | 32 | 2015* | Development | NI | N | NI-DCPower
Spencer | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DCPower
Spencer | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DCPower
Spencer | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-DCPower
Spencer | NI-DCPower Soft Front Panel | 15.0 | 32 | 2015* | Development | NI | Y | NI-DCPower
Spencer | NI-DMM |  | 32 |  | Development | NI | N | NI-DMM
Spencer | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DMM
Spencer | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DMM
Spencer | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-DMM
Spencer | NI-FGEN |  | 32 |  | Development | NI | N | NI-FGEN
Spencer | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-FGEN
Spencer | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-FGEN
Spencer | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-FGEN
Spencer | FGEN Soft Front Panel | 15.0 | 32 | 2015* | Development | NI | Y | NI-FGEN
Spencer | NI-HSDIO |  | 32 |  | Development | NI | N | NI-HSDIO
Spencer | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-HSDIO
Spencer | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-HSDIO
Spencer | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-HSDIO
Spencer | NI-HWS | 15.0.0 | 32 | 2015* | Development | NI | N | NI-HWS 15.0.0
Spencer | NI-Industrial Communications for EtherCAT | 15.0.0f3 | 32 | 2015* | Development | NI | N | NI-Industrial Communications for EtherCAT 15.0.0f3
Spencer | NI-PAL | 19.0.0 | 32 | 2019* | Development | NI | N | NI-PAL 19.0.0
Spencer | NI-RIO | 15.0.0 | 32 | 2015* | Development | NI | N | NI-RIO 15.0.0
Spencer | NI-SCOPE |  | 32 |  | Development | NI | N | NI-SCOPE
Spencer | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SCOPE
Spencer | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SCOPE
Spencer | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-SCOPE
Spencer | SCOPE Soft Front Panel | 15.0 | 32 | 2015* | Development | NI | Y | NI-SCOPE
Spencer | NI-Serial Configuration | 15.0.0f0 | 32 | 2015* | Development | NI | N | NI-Serial Configuration 15.0.0f0
Spencer | NI-Serial | 18.5.0f0 | 32 | 2018* | Runtime | NI | N | NI-Serial 18.5.0f0
Spencer | NI-SWITCH | 15.0 | 32 | 2015* | Development | NI | N | NI-SWITCH 15.0
Spencer | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SWITCH 15.0
Spencer | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SWITCH 15.0
Spencer | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-SWITCH 15.0
Spencer | Soft Front Panel | 15.0.0 | 32 | 2015* | Development | NI | Y | NI-SWITCH 15.0
Spencer | NI-Sync | 15.0.0f0 | 32 | 2015* | Development | NI | N | NI-Sync 15.0.0f0
Spencer | NI-TClk | 15.0 | 32 | 2015* | Development | NI | N | NI-TClk 15.0
Spencer | NI-TimeSync | 15.0.0f0 | 32 | 2015* | Development | NI | N | NI-TimeSync 15.0.0f0
Spencer | NI-USI | 17.0.0.6654 | 32 | 2017* | Development | NI | N | NI-USI 17.0.0.6654
Spencer | NI-VISA | 19.5 | 32 | 2019* | Development | NI | N | NI-VISA 19.5
Spencer | NiVisaServer.exe | 15.0.0.49152 | 32 | 2015* | Development | NI | Y | NI-VISA 19.5
Spencer | NIvisaic.exe | 15.0.0.49152 | 33 | 2015* | Development | NI | Y | NI-VISA 19.5
Spencer | NI-VISA | 19.5 | 32 | 2019* | Runtime | NI | N | NI-VISA 19.5
Vinny Per Confluence | LabVIEW |  | 32 | 2015 SP1 f7 | Development | NI | N | LabVIEW Development 2015 SP1 f7
Vinny Per Confluence | Real-Time | 15.0.1 | 32 | 2015* | Development | NI | N | Real-Time 15.0.1
Vinny Per Confluence | NI-Industrial Communications for EtherCAT | 15.0 | 32 | 2015* | Development | NI | N | NI-Industrial Communications for EtherCAT 15.0
Vinny Per Confluence | JKI VIPM |  |  |  | Development | JKI | N | JKI VIPM
Vinny Per Confluence | Open Source GOOP Development Suite | 1.1.17.56 | 32 | 2015 | Development | OpenG.org | N | Open Source GOOP Development Suite 1.1.17.56 | JKI VIPM
Vinny Per Confluence | OpenG Application Control Library | 4.1.0.7 | 32 | 2015 | Development | OpenG.org | N | OpenG Application Control Library 4.1.0.7 | JKI VIPM
Vinny Per Confluence | OpenG Array Library | 4.1.1.14 | 32 | 2015 | Development | OpenG.org | N | OpenG Array Library 4.1.1.14 | JKI VIPM
Vinny Per Confluence | OpenG Boolean Library | 4.0.0.7 | 32 | 2015 | Development | OpenG.org | N | OpenG Boolean Library 4.0.0.7 | JKI VIPM
Vinny Per Confluence | OpenG Builder | 3.0.1-2 | 32 | 2015 | Development | OpenG.org | N | OpenG Builder 3.0.1-2 | JKI VIPM
Vinny Per Confluence | OpenG Buttons Library | 4.0.0.7 | 32 | 2015 | Development | OpenG.org | N | OpenG Buttons Library 4.0.0.7 | JKI VIPM
Vinny Per Confluence | OpenG Compare VI to Disk Tool | 4.0.0.9 | 32 | 2015 | Development | OpenG.org | N | OpenG Compare VI to Disk Tool 4.0.0.9 | JKI VIPM
Vinny Per Confluence | OpenG Compariosn Library | 4.0.0.3 | 32 | 2015 | Development | OpenG.org | N | OpenG Compariosn Library 4.0.0.3 | JKI VIPM
Vinny Per Confluence | OpenG Dictionary Library | 4.0.0.4 | 32 | 2015 | Development | OpenG.org | N | OpenG Dictionary Library 4.0.0.4 | JKI VIPM
Vinny Per Confluence | OpenG Editor Library | 4.2.0.23 | 32 | 2015 | Development | OpenG.org | N | OpenG Editor Library 4.2.0.23 | JKI VIPM
Vinny Per Confluence | OpenG File Library | 4.0.1.22 | 32 | 2015 | Development | OpenG.org | N | OpenG File Library 4.0.1.22 | JKI VIPM
Vinny Per Confluence | OpenG LabPython Library | 4.0.0.4 | 32 | 2015 | Development | OpenG.org | N | OpenG LabPython Library 4.0.0.4 | JKI VIPM
Vinny Per Confluence | OpenG LabVIEW Data Library | 4.2.0.21 | 32 | 2015 | Development | OpenG.org | N | OpenG LabVIEW Data Library 4.2.0.21 | JKI VIPM
Vinny Per Confluence | OpenG LabVIEW Zip Library | 4.0.0-2 | 32 | 2015 | Development | OpenG.org | N | OpenG LabVIEW Zip Library 4.0.0-2 | JKI VIPM
Vinny Per Confluence | OpenG Large File Library | 4.0.0.3 | 32 | 2015 | Development | OpenG.org | N | OpenG Large File Library 4.0.0.3 | JKI VIPM
Vinny Per Confluence | OpenG Locate File in Project Tool | 4.0.0.7 | 32 | 2015 | Development | OpenG.org | N | OpenG Locate File in Project Tool 4.0.0.7 | JKI VIPM
Vinny Per Confluence | OpenG MD5 Digest Library | 4.1.1.10 | 32 | 2015 | Development | OpenG.org | N | OpenG MD5 Digest Library 4.1.1.10 | JKI VIPM
Vinny Per Confluence | OpenG Message Queue Library | 4.0.0.15 | 32 | 2015 | Development | OpenG.org | N | OpenG Message Queue Library 4.0.0.15 | JKI VIPM
Vinny Per Confluence | OpenG Numeric Library | 4.1.0.8 | 32 | 2015 | Development | OpenG.org | N | OpenG Numeric Library 4.1.0.8 | JKI VIPM
Vinny Per Confluence | OpenG Picture Library | 4.0.0.13 | 32 | 2015 | Development | OpenG.org | N | OpenG Picture Library 4.0.0.13 | JKI VIPM
Vinny Per Confluence | OpenG Port IO | 4.0.0-2 | 32 | 2015 | Development | OpenG.org | N | OpenG Port IO 4.0.0-2 | JKI VIPM
Vinny Per Confluence | OpenG Rename Folder of Vis Tool | 4.0.0.15 | 32 | 2015 | Development | OpenG.org | N | OpenG Rename Folder of Vis Tool 4.0.0.15 | JKI VIPM
Vinny Per Confluence | Open G String Library | 4.1.0.12 | 32 | 2015 | Development | OpenG.org | N | Open G String Library 4.1.0.12 | JKI VIPM
Vinny Per Confluence | OpenG Time Library | 4.0.1.3 | 32 | 2015 | Development | OpenG.org | N | OpenG Time Library 4.0.1.3 | JKI VIPM
Vinny Per Confluence | OpenG Toolkit | 1.0.1.9 | 32 | 2015 | Development | OpenG.org | N | OpenG Toolkit 1.0.1.9 | JKI VIPM
Vinny Per Confluence | OpenG Variant Configuration File Library | 4.0.0.5 | 32 | 2015 | Development | OpenG.org | N | OpenG Variant Configuration File Library 4.0.0.5 | JKI VIPM
Vinny Per Confluence | NI String Tools Library | 2.0.0.5 | 32 | 2015* | Development | NI | N | NI String Tools Library 2.0.0.5 | JKI VIPM
Vinny Per Confluence | MGI 1D Array | 1.0.0.28 | 32 | 2015* | Development | MGI | N | MGI 1D Array 1.0.0.28 | JKI VIPM
Vinny Per Confluence | MGI 2D Array | 1.0.0.15 | 32 | 2015* | Development | MGI | N | MGI 2D Array 1.0.0.15 | JKI VIPM
Vinny Per Confluence | MGI Actor Framework Message Maker | 1.0.0.17 | 32 | 2015* | Development | MGI | N | MGI Actor Framework Message Maker 1.0.0.17 | JKI VIPM
Vinny Per Confluence | MGI Application Control | 1.0.2.45 | 32 | 2015* | Development | MGI | N | MGI Application Control 1.0.2.45 | JKI VIPM
Vinny Per Confluence | MGI Bezier | 1.0.0.13 | 32 | 2015* | Development | MGI | N | MGI Bezier 1.0.0.13 | JKI VIPM
Vinny Per Confluence | MGI Boolean | 1.0.0.14 | 32 | 2015* | Development | MGI | N | MGI Boolean 1.0.0.14 | JKI VIPM
Vinny Per Confluence | MGI Cluster | 1.0.0.16 | 32 | 2015* | Development | MGI | N | MGI Cluster 1.0.0.16 | JKI VIPM
Vinny Per Confluence | MGI Coordinates | 1.0.0.12 | 32 | 2015* | Development | MGI | N | MGI Coordinates 1.0.0.12 | JKI VIPM
Vinny Per Confluence | MGI Error Handling | 1.0.0.23 | 32 | 2015* | Development | MGI | N | MGI Error Handling 1.0.0.23 | JKI VIPM
Vinny Per Confluence | MGI Error Reporter | 0.9.0.22 | 32 | 2015* | Development | MGI | N | MGI Error Reporter 0.9.0.22 | JKI VIPM
Vinny Per Confluence | MGI File | 1.0.0.33 | 32 | 2015* | Development | MGI | N | MGI File 1.0.0.33 | JKI VIPM
Vinny Per Confluence | MGI Graph | 1.0.0.15 | 32 | 2015* | Development | MGI | N | MGI Graph 1.0.0.15 | JKI VIPM
Vinny Per Confluence | MGI Library | 1.1.0.20 | 32 | 2015* | Development | MGI | N | MGI Library 1.1.0.20 | JKI VIPM
Vinny Per Confluence | MGI Matrix & Vector | 1.0.0.11 | 32 | 2015* | Development | MGI | N | MGI Matrix & Vector 1.0.0.11 | JKI VIPM
Vinny Per Confluence | MGI Menu Building | 0.4.0.25 | 32 | 2015* | Development | MGI | N | MGI Menu Building 0.4.0.25 | JKI VIPM
Vinny Per Confluence | MGI Numeric | 1.0.0.22 | 32 | 2015* | Development | MGI | N | MGI Numeric 1.0.0.22 | JKI VIPM
Vinny Per Confluence | MGI Picture & Image | 1.0.0.16 | 32 | 2015* | Development | MGI | N | MGI Picture & Image 1.0.0.16 | JKI VIPM
Vinny Per Confluence | MGI Read/Write Anything | 2.1.2.34 | 32 | 2015* | Development | MGI | N | MGI Read/Write Anything 2.1.2.34 | JKI VIPM
Vinny Per Confluence | MGI Robust XML | 1.0.1.2 | 32 | 2015* | Development | MGI | N | MGI Robust XML 1.0.1.2 | JKI VIPM
Vinny Per Confluence | MGI Spline | 1.0.0.11 | 32 | 2015* | Development | MGI | N | MGI Spline 1.0.0.11 | JKI VIPM
Vinny Per Confluence | MGI String | 1.1.0.31 | 32 | 2015* | Development | MGI | N | MGI String 1.1.0.31 | JKI VIPM
Vinny Per Confluence | MGI Timing | 1.0.0.13 | 32 | 2015* | Development | MGI | N | MGI Timing 1.0.0.13 | JKI VIPM
Vinny Per Confluence | MGI Tools | 0.6.0.4 | 32 | 2015* | Development | MGI | N | MGI Tools 0.6.0.4 | JKI VIPM
Vinny Per Confluence | MGI Tree | 1.0.0.12 | 32 | 2015* | Development | MGI | N | MGI Tree 1.0.0.12 | JKI VIPM
Vinny Per Confluence | MGI WSA Framework | 1.0.0.27 | 32 | 2015* | Development | MGI | N | MGI WSA Framework 1.0.0.27 | JKI VIPM
Vinny Per Confluence | Gpower Array Library | 2016.2.0.27 | 32 | 2015* | Development | Gpower | N | Gpower Array Library 2016.2.0.27 | JKI VIPM
Vinny Per Confluence | NI CompactRIO Information (CRI) Library | 2015.0.0.1 | 32 | 2015* | Development | NI | N | NI CompactRIO Information (CRI) Library 2015.0.0.1 | JKI VIPM
Vinny Per Confluence | OpenGDS | 1.1.17 | 32 | 2015* | Development |  | N | OpenGDS 1.1.17
Vinny Per Confluence | NI CompactTIO | 15.5 | 32 | 2015* | C-RIO | NI | N | NI CompactTIO 15.5
Vinny Per Confluence | LabVIEW Real-Time 15.0.1 | 15.0.1 | 32 | 2015* | C-RIO | NI | N | LabVIEW Real-Time 15.0.1 15.0.1
Vinny Per Confluence | NI System Configuration Remote Support |  | 32 | 2015* | C-RIO | NI | N | NI System Configuration Remote Support
Vinny Per Confluence | NI-RIO | 15.5 | 32 | 2015* | C-RIO | NI | N | NI-RIO 15.5
Vinny Per Confluence | CompactRIO Suport | 15.5 | 32 | 2015* | C-RIO | NI | Y | NI-RIO 15.5
Vinny Per Confluence | Run-Time Enginer for Web Services | 15.0.0 | 32 | 2015* | C-RIO | NI | N | Run-Time Enginer for Web Services 15.0.0
Vinny Per Confluence | SSL Support for LabVIEW | 15.0.0 | 32 | 2015* | C-RIO | NI | N | SSL Support for LabVIEW 15.0.0
Vinny Per Confluence | WebDAV Server | 15.0.0 | 32 | 2015* | C-RIO | NI | N | WebDAV Server 15.0.0
Vinny Per Confluence | HTTP Client with SSL Support | 15.0.0 | 32 | 2015* | C-RIO | NI | N | HTTP Client with SSL Support 15.0.0
Vinny Per Confluence | I/O Variable Remorte Configuration Web Server |  | 32 | 2015* | C-RIO | NI | N | I/O Variable Remorte Configuration Web Server
Vinny Per Confluence | Network Streams | 15.0 | 32 | 2015* | C-RIO | NI | N | Network Streams 15.0
Vinny Per Confluence | Network Variable Engine | 15.0.0 | 32 | 2015* | C-RIO | NI | N | Network Variable Engine 15.0.0
Vinny Per Confluence | NI Scan Engine | 4.4 | 32 | 2015* | C-RIO | NI | N | NI Scan Engine 4.4
Vinny Per Confluence | NI Systems Configuration | 15.3.0 | 32 | 2015* | C-RIO | NI | N | NI Systems Configuration 15.3.0
Vinny Per Confluence | NI Web-based Configuration and Monitoring |  | 32 | 2015* | C-RIO | NI | Y | NI Systems Configuration 15.3.0
Vinny Per Confluence | Hardware Configuration and Web Support | 15.0.0* | 32 | 2015* | C-RIO | NI | Y | NI Systems Configuration 15.3.0
Vinny Per Confluence | Network Configuration Web Support | 15.0.0* | 32 | 2015* | C-RIO | NI | Y | NI Systems Configuration 15.3.0
Vinny Per Confluence | Software Management Web Support | 15.0.0* | 32 | 2015* | C-RIO | NI | Y | NI Systems Configuration 15.3.0
Vinny Per Confluence | Time Configuration Web Support | 15.0.0 | 32 | 2015* | C-RIO | NI | Y | NI Systems Configuration 15.3.0
Vinny Per Confluence | NI Wireless Certificate Web Services | 15.0.0* | 32 | 2015* | C-RIO | NI | N | NI Wireless Certificate Web Services 15.0.0*
Vinny Per Confluence | NI Industrial Communications for EtherCAT |  | 32 | 2015* | C-RIO | NI | N | NI Industrial Communications for EtherCAT
Vinny Per Confluence | NI-RIO IO Scan | 15.5 | 32 | 2015* | C-RIO | NI | N | NI-RIO IO Scan 15.5
Vinny Per Confluence | NI Serial 9870 and 9871 Scan Enginer Support |  | 32 | 2015* | C-RIO | NI | N | NI Serial 9870 and 9871 Scan Enginer Support
Vinny Per Confluence | NI-VISA | 15.5.0 | 32 | 2015* | C-RIO | NI | N | NI-VISA 15.5.0
Vinny Per Confluence | NI-Watchdog | 15.0.0 | 32 | 2015* | C-RIO | NI | N | NI-Watchdog 15.0.0
Vinny Per Confluence | Variable Client Support for LabVIEW RT | 15.0.0* | 32 | 2015* | C-RIO | NI | N | Variable Client Support for LabVIEW RT 15.0.0*
Vinny Per Confluence | Variable Legacy Protocol Support | 5.7.1 | 32 | 2015* | C-RIO | NI | N | Variable Legacy Protocol Support 5.7.1
Vinny Per Confluence | Variable Legacy Server Support | 5.7.1 | 32 | 2015* | C-RIO | NI | Y | Variable Legacy Protocol Support 5.7.1
Vinny Per Confluence | WebDAV Cleitn with SSL Support | 15.0.0 | 32 | 2015* | C-RIO | NI | N | WebDAV Cleitn with SSL Support 15.0.0

## Cross Reference
User | Name | Version | Bitness | Year | Runtime/Development | Mfg | Dependant | Part Of | Installed with | Consistant | 0 | 0
Corey | IVI Compliance Package | 15.0 | 32 | 2015* | Development | NI | N | IVI Compliance Package 15.0 | 0 | C,G,S
Corey | LabVIEW | 0 | 32 | 2015 SP1 f10 | Development | NI | N | LabVIEW 2015 SP1 f10 | 0 | C,G,S
Corey | Advanced Signal Processing Toolkit | 15.0.0 | 32 | 2015 | Development | NI | Y | LabVIEW 2015 SP1 f10 | 0 | C,G,S
Corey | Database Connectivity Toolkit | 15.0.0 | 32 | 2015 | Development | NI | Y | LabVIEW 2015 SP1 f10 | 0 | C,G,S
Corey | DataFinder Toolkit | 15.0.06020 | 32 | 2015 | Development | NI | Y | LabVIEW 2015 SP1 f10 | 0 | C,G,S
Corey | Digital Filter Design Toolkit | 15.0.0 | 32 | 2015 | Development | NI | Y | LabVIEW 2015 SP1 f10 | 0 | C,G,S
Corey | MathScript RT Module | 15.0.0 | 32 | 2015 | Development | NI | Y | LabVIEW 2015 SP1 f10 | 0 | Only Corey
Corey | Real-Time | 15.0.1 | 32 | 2015 | Development | NI | Y | LabVIEW 2015 SP1 f10 | 0 | 0
Corey | Real-Time Trace Viewer - LabVIEW 2015 Support | 15.0.1 | 32 | 2015 | Development | NI | Y | LabVIEW 2015 SP1 f10 | 0 | 0
Corey | Report Generation Toolkit For Microsoft Office | 15.0.0 | 32 | 2015 | Development | NI | Y | LabVIEW 2015 SP1 f10 | 0 | 0
Corey | Statechart Module | 15.0 | 32 | 2015 | Development | NI | Y | LabVIEW 2015 SP1 f10 | 0 | 0
Corey | Unit Test Framework Toolkit | 15.0.0 | 32 | 2015 | Development | NI | Y | LabVIEW 2015 SP1 f10 | 0 | 0
Corey | VI Analyzer Toolki | 0 | 32 | 2015 | Development | NI | Y | LabVIEW 2015 SP1 f10 | 0 | 0
Corey | LabVIEW | 12.0.1 | 32 | 2012 SP1 f9 | Runtime | NI | N | LabVIEW Runtime 2012 SP1 f9 12.0.1 | 0 | C,G,S
Corey | LabVIEW | 12.0.1 | 64 | 2012 SP1 f9 | Runtime | NI | N | LabVIEW Runtime 2012 SP1 f9 12.0.1 | 0 | C,G,S
Corey | LabVIEW | 0 | 32 | 2013 SP1 f6 | Runtime | NI | N | LabVIEW Runtime 2013 SP1 f6 | 0 | C,G,S
Corey | LabVIEW | 0 | 32 | 2014 SP1 f11 | Runtime | NI | N | LabVIEW Runtime 2014 SP1 f11 | 0 | C,S
Corey | LabVIEW | 14.0.1 | 64 | 2014 SP1 f11 | Runtime | NI | N | LabVIEW Runtime 2014 SP1 f11 14.0.1 | 0 | C,S
Corey | LabVIEW | 15.0.1 | 32 | 2015 SP1 | Runtime | NI | N | LabVIEW Runtime 2015 SP1 15.0.1 | 0 | C,G,S
Corey | LabVIEW | 19.0.1 | 32 | 2019 SP1 f3 | Runtime | NI | N | LabVIEW Runtime 2019 SP1 f3 19.0.1 | 0 | Older
Corey | CVI | 15.0.0.408 | 32 | 2015 | Runtime | NI | N | CVI Runtime 2015 15.0.0.408 | 0 | 0
Corey | Measurement & Automation Explorer | 15.3.0f0 | 32 | 2015* | Development | NI | N | Measurement & Automation Explorer 15.3.0f0 | 0 | C,G,S
Corey | Measurement Studio for VS2010 | 0 | 32 | 0 | Development | NI | Y | Measurement Studio for VS2010 | 0 | C,G
Corey | DotNET | 0 | 32 | 0 | Development | NI | Y | Measurement Studio for VS2010 | 0 | C,G
Corey | Common | 15.0.40.49154 | 32 | 2015* | Development | NI | Y | Measurement Studio for VS2010 | 0 | C,G
Corey | Common | 15.0.40.49154 | 64 | 2015* | Development | NI | Y | Measurement Studio for VS2010 | 0 | C,G
Corey | NI 1588-2008 Network Management | 15.0.0f0 | 32 | 2015* | Development | NI | N | NI 1588-2008 Network Management 15.0.0f0 | 0 | 0
Corey | NI I/O Trace | 15.0.0f0 | 32 | 2015* | Development | NI | N | NI I/O Trace 15.0.0f0 | 0 | 0
Corey | NI PXI Platform Services Configuration | 15.0.0f1 | 32 | 2015* | Development | NI | N | NI PXI Platform Services Configuration 15.0.0f1 | 0 | 0
Corey | NI PXI Platform Services Configuration | 19.5.0f0 | 32 | 2019* | Development | NI | N | NI PXI Platform Services Configuration 19.5.0f0 | 0 | 0
Corey | NI R Series Multifunction RIO | 15.0.0 | 32 | 2015* | Development | NI | N | NI R Series Multifunction RIO 15.0.0 | 0 | 0
Corey | NI Script Editor | 14.0 | 32 | 2014* | Development | NI | N | NI Script Editor 14.0 | 0 | 0
Corey | NI SignalExpress | 2015 | 32 | 2015 | Development | NI | N | NI SignalExpress 2015 | 0 | 0
Corey | NI System Configuration | 19.5.0f0 | 32 | 2019* | Development | NI | N | NI System Configuration 19.5.0f0 | 0 | 0
Corey | NI-488.2 | 15.0 | 32 | 2015* | Development | NI | N | NI-488.2 15.0 | 0 | 0
Corey | NI-488.2 | 19.5 | 32 | 2019* | Development | NI | N | NI-488.2 19.5 | 0 | 0
Corey | NI-DAQmx ADE Support | 15.0.0 | 32 | 2015* | Development | NI | N | NI-DAQmx ADE Support 15.0.0 | 0 | 0
Corey | NI-DAQmx Device Driver | 15.0.0f2 | 32 | 2015* | Development | NI | N | NI-DAQmx Device Driver 15.0.0f2 | 0 | 0
Corey | NI-DAQmx MAX Configuration | 15.0.0 | 32 | 2015* | Development | NI | N | NI-DAQmx MAX Configuration 15.0.0 | 0 | 0
Corey | NI-DCPower | 15.0 | 32 | 2015* | Development | NI | N | NI-DCPower 15.0 | 0 | C,G,S
Corey | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DCPower 15.0 | 0 | C,G,S
Corey | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DCPower 15.0 | 0 | C,G,S
Corey | Runtime | 15.0 | 32 | 2015* | Development | NI | Y | NI-DCPower 15.0 | 0 | C,G,S
Corey | NI-DCPower Soft Front Panel | 15.0 | 32 | 2015* | Development | NI | Y | NI-DCPower 15.0 | 0 | C,G,S
Corey | NI-DMM | 15.0 | 32 | 2015* | Development | NI | N | NI-DMM 15.0 | 0 | C,G,S
Corey | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DMM 15.0 | 0 | C,G,S
Corey | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DMM 15.0 | 0 | C,G,S
Corey | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-DMM 15.0 | 0 | C,G,S
Corey | DMM Soft Front Panel | 15.0.0 | 32 | 2015* | Development | NI | Y | NI-DMM 15.0 | 0 | 0
Corey | NI-FGEN | 15.0 | 32 | 2015* | Development | NI | N | NI-FGEN 15.0 | 0 | C,G,S
Corey | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-FGEN 15.0 | 0 | C,G,S
Corey | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-FGEN 15.0 | 0 | C,G,S
Corey | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-FGEN 15.0 | 0 | C,G,S
Corey | FGEN Soft Front Panel | 15.0 | 32 | 2015* | Development | NI | Y | NI-FGEN 15.0 | 0 | 0
Corey | NI-SCOPE | 15.0 | 32 | 2015* | Development | NI | N | NI-SCOPE 15.0 | 0 | C,G,S
Corey | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SCOPE 15.0 | 0 | C,G,S
Corey | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SCOPE 15.0 | 0 | C,G,S
Corey | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-SCOPE 15.0 | 0 | C,G,S
Corey | SCOPE Soft Front Panel | 15.0 | 32 | 2015* | Development | NI | Y | NI-SCOPE 15.0 | 0 | C,G,S
Corey | NI-Serial Configuration | 15.0 | 32 | 2015* | Development | NI | N | NI-Serial Configuration 15.0 | 0 | 0
Corey | NI-Serial Runtime | 18.5 | 32 | 2018* | Development | NI | N | NI-Serial Runtime 18.5 | 0 | 0
Corey | NI-SWITCH | 15.0 | 32 | 2015* | Development | NI | N | NI-SWITCH 15.0 | 0 | 0
Corey | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SWITCH 15.0 | 0 | C,G,S
Corey | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SWITCH 15.0 | 0 | C,G,S
Corey | Runtime Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SWITCH 15.0 | 0 | C,G,S
Corey | Soft Front Panel | 15.0.0 | 32 | 2015* | Development | NI | Y | NI-SWITCH 15.0 | 0 | C,G,S
Corey | NI-Sync | 15.0.0f0 | 32 | 2015* | Development | NI | N | NI-Sync 15.0.0f0 | 0 | 0
Corey | NI-TClk | 15.0 | 32 | 2015* | Development | NI | N | NI-TClk 15.0 | 0 | 0
Corey | NI-TimeSync | 15.0.0f0 | 32 | 2015* | Development | NI | N | NI-TimeSync 15.0.0f0 | 0 | 0
Corey | NI-USI | 15.0.1.6118 | 32 | 2015* | Development | NI | N | NI-USI 15.0.1.6118 | 0 | 0
Corey | NI-VISA | 19.5 | 32 | 2019* | Development | NI | N | NI-VISA 19.5 | 0 | 0
Corey | NiVisaServer.exe | 15.0.0.49152 | 32 | 2019* | Development | NI | Y | NI-VISA 19.5 | 0 | 0
Corey | NIvisaic.exe | 15.0.0.49152 | 32 | 2019* | Development | NI | Y | NI-VISA 19.5 | 0 | 0
Corey | NI-VISA Runtime | 19.5 | 32 | 2019* | Development | NI | N | NI-VISA Runtime 19.5 | 0 | 0
Corey | CompactRIO | 15.0.0 | 32 | 2015* | Development | NI | N | CompactRIO 15.0.0 | 0 | C,G,S
Corey | C Series Module Support | 15.0.0 | 32 | 2015* | Development | NI | N | C Series Module Support 15.0.0 | 0 | C,G,S
Corey | CVI | 15.0.0.408 | 32 | 2015* | Runtime | NI | N | CVI 15.0.0.408 | 0 | C,G
Corey | FlexRIO | 15.0.0f0 | 32 | 2015* | Development | NI | N | FlexRIO 15.0.0f0 | 0 | C,G,S
Corey | NI-RIO | 15.0.0 | 32 | 2015* | Development | NI | N | NI-RIO 15.0.0 | 0 | 0
Corey | NI-PAL Software | 19.0.0 | 32 | 2019* | Development | NI | N | NI-PAL Software 19.0.0 | 0 | 0
Garrett | CompactRIO | 15.0.0 | 32 | 2015* | Development | NI | N | CompactRIO 15.0.0 | 0 | C,G,S
Garrett | C Series Module Support | 15.0.0 | 32 | 2015* | Development | NI | N | C Series Module Support 15.0.0 | 0 | C,G,S
Garrett | FlexRIO | 15.0.0f0 | 32 | 2015* | Development | NI | Y | C Series Module Support 15.0.0 | 0 | C,G,S
Garrett | IVI Compliance Package | 15.0 | 32 | 2015* | Development | NI | N | IVI Compliance Package 15.0 | 0 | C,G,S
Garrett | LabVIEW | 15.0.1 | 32 | 2015 SP1 f10 | Development | NI | N | LabVIEW Development 2015 SP1 f10 15.0.1 | 0 | C,G,S
Garrett | Advanced Signal Processing Toolkit | 15.0.0 | 32 | 2015* | Development | NI | Y | LabVIEW Development 2015 SP1 f10 15.0.1 | 0 | C,G,S
Garrett | Database Connectivity Toolkit | 15.0.0 | 32 | 2015* | Development | NI | Y | LabVIEW Development 2015 SP1 f10 15.0.1 | 0 | C,G,S
Garrett | DataFinder Toolkit | 15.0.06020 | 32 | 2015* | Development | NI | Y | LabVIEW Development 2015 SP1 f10 15.0.1 | 0 | C,G,S
Garrett | Digital Filter Design Toolkit | 0 | 32 | 0 | Development | NI | Y | LabVIEW Development 2015 SP1 f10 15.0.1 | 0 | C,G,S
Garrett | Real-Time | 15.0.1 | 32 | 2015* | Development | NI | Y | LabVIEW Development 2015 SP1 f10 15.0.1 | 0 | 0
Garrett | Real-Time Trace Viewer - LabVIEW 2015 Support | 15.0.1 | 32 | 2015* | Development | NI | Y | LabVIEW Development 2015 SP1 f10 15.0.1 | 0 | 0
Garrett | Report Generation Toolkit For Microsoft Office | 15.0.0 | 32 | 2015* | Development | NI | Y | LabVIEW Development 2015 SP1 f10 15.0.1 | 0 | 0
Garrett | Statechart Module | 15.0 | 32 | 2015* | Development | NI | Y | LabVIEW Development 2015 SP1 f10 15.0.1 | 0 | 0
Garrett | Unit Test Framework Toolkit | 15.0.0 | 32 | 2015* | Development | NI | Y | LabVIEW Development 2015 SP1 f10 15.0.1 | 0 | 0
Garrett | VI Analyzer Toolkit | 15.0.0 | 32 | 2015* | Development | NI | Y | LabVIEW Development 2015 SP1 f10 15.0.1 | 0 | 0
Garrett | LabVIEW | 12.0.1 | 32 | 2012 SP1 f9 | Runtime | NI | N | LabVIEW Runtime 2012 SP1 f9 12.0.1 | 0 | C,G,S
Garrett | LabVIEW | 12.0.1 | 64 | 2012 SP1 f9 | Runtime | NI | N | LabVIEW Runtime 2012 SP1 f9 12.0.1 | 0 | C,G,S
Garrett | LabVIEW | 13.0.1 | 32 | 2013 SP1 f6 | Runtime | NI | N | LabVIEW Runtime 2013 SP1 f6 13.0.1 | 0 | C,G,S
Garrett | LabVIEW | 14.0.1 | 64 | 2014 SP1 f1 | Runtime | NI | N | LabVIEW Runtime 2014 SP1 f1 14.0.1 | 0 | Older
Garrett | LabVIEW | 14.0.1 | 32 | 2014 SP1 f3 | Runtime | NI | N | LabVIEW Runtime 2014 SP1 f3 14.0.1 | 0 | Older
Garrett | LabVIEW | 15.0.1 | 32 | 2015 SP1 | Runtime | NI | N | LabVIEW Runtime 2015 SP1 15.0.1 | 0 | C,G,S
Garrett | LabVIEW | 20.0.1 | 64 | 2020 SP1 f1 | Runtime | NI | N | LabVIEW Runtime 2020 SP1 f1 20.0.1 | 0 | Only Garrett
Garrett | LabWindows/CVI | 15.0.0 | 32 | 2015 | Development | NI | N | LabWindows/CVI Development 2015 15.0.0 | 0 | Only Garrett
Garrett | Real-Time | 0 | 32 | 2015 | Development | NI | Y | LabWindows/CVI Development 2015 15.0.0 | 0 | 0
Garrett | CVI | 15.0.1.240 | 32 | 2015 SP1 | Runtime | NI | N | CVI Runtime 2015 SP1 15.0.1.240 | 0 | Newer
Garrett | LabWindows/CVI Shared Add-Ons | 0 | 32 | 0 | Development | NI | N | LabWindows/CVI Shared Add-Ons | 0 | Only Garrett
Garrett | PID Toolkit | 2.1.0 | 32 | 0 | Development | NI | Y | LabWindows/CVI Shared Add-Ons | 0 | 0
Garrett | Real-Time Trace Viewer - CVI Support | 15.0.0 | 32 | 2015* | Development | NI | Y | LabWindows/CVI Shared Add-Ons | 0 | 0
Garrett | Measurement & Automation Explorer | 15.3.0f0 | 32 | 2015* | Development | NI | N | Measurement & Automation Explorer 15.3.0f0 | 0 | C,G,S
Garrett | Measurement Studio for VS2010 | 0 | 32 | 0 | Development | NI | N | Measurement Studio for VS2010 | 0 | C,G
Garrett | DotNET | 0 | 32 | 0 | Development | NI | Y | Measurement Studio for VS2010 | 0 | C,G
Garrett | Common | 15.0.40.49154 | 32 | 2015* | Development | NI | Y | Measurement Studio for VS2010 | 0 | C,G
Garrett | Common | 15.0.40.49154 | 64 | 2015* | Development | NI | Y | Measurement Studio for VS2010 | 0 | C,G
Garrett | NI 1588-2008 Network Management | 15.0.0f0 | 32 | 2015* | Development | NI | N | NI 1588-2008 Network Management 15.0.0f0 | 0 | 0
Garrett | NI I/O Trace | 15.0.0f0 | 32 | 2015* | Development | NI | N | NI I/O Trace 15.0.0f0 | 0 | 0
Garrett | NI PXI Platform Services Configuration | 15.1.0f0 | 32 | 2015* | Development | NI | N | NI PXI Platform Services Configuration 15.1.0f0 | 0 | 0
Garrett | NI PXI Platform Services | 19.5.0f0 | 32 | 2019* | Runtime | NI | N | NI PXI Platform Services 19.5.0f0 | 0 | 0
Garrett | NI R Series Multifunction RIO | 15.0.0 | 32 | 2015* | Development | NI | N | NI R Series Multifunction RIO 15.0.0 | 0 | 0
Garrett | NI Script Editor | 14.0 | 32 | 2014* | Development | NI | N | NI Script Editor 14.0 | 0 | 0
Garrett | NI SignalExpress | 15.0 | 32 | 2015* | Development | NI | N | NI SignalExpress 15.0 | 0 | 0
Garrett | NI System Configuration | 19.5.0f0 | 32 | 2019* | Development | NI | N | NI System Configuration 19.5.0f0 | 0 | 0
Garrett | NI-488.2 | 15.0.0 | 32 | 2015* | Development | NI | N | NI-488.2 15.0.0 | 0 | 0
Garrett | NI-488.2 | 19.5.0 | 32 | 2019* | Runtime | NI | N | NI-488.2 19.5.0 | 0 | 0
Garrett | NI-DAQmx ADE Support | 15.0.0 | 32 | 2015* | Development | NI | N | NI-DAQmx ADE Support 15.0.0 | 0 | 0
Garrett | NI-DAQmx Device Driver | 15.0.0f2 | 32 | 2015* | Development | NI | N | NI-DAQmx Device Driver 15.0.0f2 | 0 | 0
Garrett | NI-DAQmx MAX Configuration | 15.0.0 | 32 | 2015* | Development | NI | N | NI-DAQmx MAX Configuration 15.0.0 | 0 | 0
Garrett | NI-DCPower | 0 | 32 | 0 | Development | NI | N | NI-DCPower | 0 | C,G,S
Garrett | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DCPower | 0 | C,G,S
Garrett | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DCPower | 0 | C,G,S
Garrett | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-DCPower | 0 | C,G,S
Garrett | NI-DCPower Soft Front Panel | 15.0 | 32 | 2015* | Development | NI | Y | NI-DCPower | 0 | C,G,S
Garrett | NI-DMM | 0 | 32 | 0 | Development | NI | N | NI-DMM | 0 | C,G,S
Garrett | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DMM | 0 | C,G,S
Garrett | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DMM | 0 | C,G,S
Garrett | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-DMM | 0 | C,G,S
Garrett | DMM Soft Front Panel | 15.0.0 | 32 | 2015* | Development | NI | Y | NI-DMM | 0 | 0
Garrett | NI-FGEN | 0 | 32 | 0 | 0 | NI | N | NI-FGEN | 0 | C,G,S
Garrett | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-FGEN | 0 | C,G,S
Garrett | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-FGEN | 0 | C,G,S
Garrett | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-FGEN | 0 | C,G,S
Garrett | FGEN Soft Front Panel | 15.0 | 32 | 2015* | Development | NI | Y | NI-FGEN | 0 | 0
Garrett | NI-HSDIO | 0 | 32 | 0 | 0 | NI | N | NI-HSDIO | 0 | G,S
Garrett | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-HSDIO | 0 | G,S
Garrett | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-HSDIO | 0 | G,S
Garrett | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-HSDIO | 0 | G,S
Garrett | NI-HWS | 15.0.0 | 32 | 2015* | Development | NI | N | NI-HWS 15.0.0 | 0 | 0
Garrett | NI-Industrial Communications for EtherCAT | 15.0.0f3 | 32 | 2015* | Development | NI | N | NI-Industrial Communications for EtherCAT 15.0.0f3 | 0 | 0
Garrett | NI-PAL | 19.0.0 | 32 | 2019* | Development | NI | N | NI-PAL 19.0.0 | 0 | 0
Garrett | NI-RIO | 15.0.0 | 32 | 2015* | Development | NI | N | NI-RIO 15.0.0 | 0 | 0
Garrett | NI-SCOPE | 0 | 32 | 0 | Development | NI | N | NI-SCOPE | 0 | C,G,S
Garrett | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SCOPE | 0 | C,G,S
Garrett | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SCOPE | 0 | C,G,S
Garrett | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-SCOPE | 0 | C,G,S
Garrett | SCOPE Soft Front Panel | 15.0 | 32 | 2015* | Development | NI | Y | NI-SCOPE | 0 | C,G,S
Garrett | NI-Serial Configuration | 15.0.0f0 | 32 | 2015* | Development | NI | N | NI-Serial Configuration 15.0.0f0 | 0 | 0
Garrett | NI-Serial | 18.5.0f0 | 32 | 2018* | Runtime | NI | N | NI-Serial 18.5.0f0 | 0 | 0
Garrett | NI-SWITCH | 15.0 | 32 | 2015* | Development | NI | N | NI-SWITCH 15.0 | 0 | 0
Garrett | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SWITCH 15.0 | 0 | C,G,S
Garrett | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SWITCH 15.0 | 0 | C,G,S
Garrett | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-SWITCH 15.0 | 0 | C,G,S
Garrett | Soft Front Panel | 15.0.0 | 32 | 2015* | Development | NI | Y | NI-SWITCH 15.0 | 0 | C,G,S
Garrett | NI-Sync Runtime | 15.0.1f0 | 32 | 2015* | Development | NI | N | NI-Sync Runtime 15.0.1f0 | 0 | 0
Garrett | NI-TClk | 15.0 | 32 | 2015* | Development | NI | N | NI-TClk 15.0 | 0 | 0
Garrett | NI-TimeSync | 15.0.0f0 | 32 | 2015* | Development | NI | N | NI-TimeSync 15.0.0f0 | 0 | 0
Garrett | NI-USI | 15.0.1.6118 | 32 | 2015* | Development | NI | N | NI-USI 15.0.1.6118 | 0 | 0
Garrett | NI-VISA | 19.5 | 32 | 2019* | Development | NI | N | NI-VISA 19.5 | 0 | 0
Garrett | NiVisaServer.exe | 15.0.0.49152 | 32 | 2015* | Development | NI | Y | NI-VISA 19.5 | 0 | 0
Garrett | NIvisaic.exe | 15.0.0.49152 | 32 | 2015* | Development | NI | Y | NI-VISA 19.5 | 0 | 0
Garrett | NI-VISA | 19.5 | 32 | 2019* | Runtime | NI | Y | NI-VISA 19.5 | 0 | 0
Garrett | NI-VISA | 19.5 | 32 | 2019* | Development | NI | Y | NI-VISA 19.5 | 0 | 0
Spencer | CompactRIO | 15.0.0 | 32 | 2015* | Development | NI | N | CompactRIO 15.0.0 | 0 | C,G,S
Spencer | C Series Module Support | 15.0.0 | 32 | 2015* | Development | NI | Y | CompactRIO 15.0.0 | 0 | C,G,S
Spencer | FlexRIO | 15.0.0f0 | 32 | 2015* | Development | NI | N | FlexRIO 15.0.0f0 | 0 | C,G,S
Spencer | IVI Compliance Package | 15.0 | 32 | 2015* | Development | NI | N | IVI Compliance Package 15.0 | 0 | C,G,S
Spencer | LabVIEW | 15.0.1 | 32 | 2015 SP1 f10 | Development | NI | N | LabVIEW 15.0.1 | 0 | C,G,S
Spencer | Advanced Signal Processing Toolkit | 15.0.0 | 32 | 2015* | Development | NI | N | Advanced Signal Processing Toolkit 15.0.0 | 0 | C,G,S
Spencer | Database Connectivity Toolkit | 15.0.0 | 32 | 2015* | Development | NI | N | Database Connectivity Toolkit 15.0.0 | 0 | C,G,S
Spencer | DataFinder Toolkit | 15.0.06020 | 32 | 2015* | Development | NI | N | DataFinder Toolkit 15.0.06020 | 0 | C,G,S
Spencer | Digital Filter Design Toolkit | 0 | 32 | 2015* | Development | NI | N | Digital Filter Design Toolkit | 0 | C,G,S
Spencer | Real-Time | 15.0.1 | 32 | 2015* | Development | NI | N | Real-Time 15.0.1 | 0 | 0
Spencer | Real-Time Trace Viewer - LabVIEW 2015 Support | 15.0.1 | 32 | 2015* | Development | NI | N | Real-Time Trace Viewer - LabVIEW 2015 Support 15.0.1 | 0 | 0
Spencer | Report Generation Toolkit For Microsoft Office | 15.0.0 | 32 | 2015* | Development | NI | N | Report Generation Toolkit For Microsoft Office 15.0.0 | 0 | 0
Spencer | Statechart Module | 15.0 | 32 | 2015* | Development | NI | N | Statechart Module 15.0 | 0 | 0
Spencer | Unit Test Framework Toolkit | 15.0.0 | 32 | 2015* | Development | NI | N | Unit Test Framework Toolkit 15.0.0 | 0 | 0
Spencer | VI Analyzer Toolkit | 15.0.0 | 32 | 2015* | Development | NI | N | VI Analyzer Toolkit 15.0.0 | 0 | 0
Spencer | LabVIEW | 12.0.1 | 32 | 2012 SP1 f9 | Runtime | NI | N | LabVIEW 12.0.1 | 0 | C,G,S
Spencer | LabVIEW | 12.0.1 | 64 | 2012 SP1 f9 | Runtime | NI | N | LabVIEW 12.0.1 | 0 | C,G,S
Spencer | LabVIEW | 13.0.1 | 32 | 2013 SP1 f6 | Runtime | NI | N | LabVIEW 13.0.1 | 0 | C,G,S
Spencer | LabVIEW | 14.0.1 | 32 | 2014 SP1 f11 | Runtime | NI | N | LabVIEW 14.0.1 | 0 | C,S
Spencer | LabVIEW | 14.0.1 | 64 | 2014 SP1 f11 | Runtime | NI | N | LabVIEW 14.0.1 | 0 | C,S
Spencer | LabVIEW | 15.0.1 | 32 | 2015 SP1 | Runtime | NI | N | LabVIEW 15.0.1 | 0 | C,G,S
Spencer | LabVIEW | 19.0.1 | 32 | 2019 SP1 f5 | Runtime | NI | N | LabVIEW 19.0.1 | 0 | Newer
Spencer | CVI | 15.0.0.408 | 32 | 2015 | Runtime | NI | N | CVI 15.0.0.408 | 0 | C,G
Spencer | Measurement & Automation Explorer | 15.3.0f0 | 32 | 2015* | Development | NI | N | Measurement & Automation Explorer 15.3.0f0 | 0 | C,G,S
Spencer | Measurement Studio for VS2010 | 0 | 32 | 0 | Development | NI | N | Measurement Studio for VS2010 | 0 | Newer
Spencer | DotNET | 0 | 32 | 0 | Development | NI | Y | Measurement Studio for VS2010 | 0 | Newer
Spencer | Common | 15.1.40.49152 | 32 | 2015* | Development | NI | Y | Measurement Studio for VS2010 | 0 | Newer
Spencer | Common | 15.1.40.49152 | 64 | 2015* | Development | NI | Y | Measurement Studio for VS2010 | 0 | Newer
Spencer | NI 1588-2008 Network Management | 15.0.0f0 | 32 | 2015* | Development | NI | N | NI 1588-2008 Network Management 15.0.0f0 | 0 | 0
Spencer | NI I/O Trace | 15.0.0f0 | 32 | 2015* | Development | NI | N | NI I/O Trace 15.0.0f0 | 0 | 0
Spencer | NI PXI Platform Services Configuration | 15.0.0f1 | 32 | 2015* | Development | NI | N | NI PXI Platform Services Configuration 15.0.0f1 | 0 | 0
Spencer | NI PXI Platform Services | 19.5.0f0 | 32 | 2019* | Runtime | NI | N | NI PXI Platform Services 19.5.0f0 | 0 | 0
Spencer | NI R Series Multifunction RIO | 15.0.0 | 32 | 2015* | Development | NI | N | NI R Series Multifunction RIO 15.0.0 | 0 | 0
Spencer | NI Script Editor | 14.0 | 32 | 2015* | Development | NI | N | NI Script Editor 14.0 | 0 | 0
Spencer | NI SignalExpress | 15.0 | 32 | 2015 | Development | NI | N | NI SignalExpress 15.0 | 0 | 0
Spencer | NI System Configuration | 19.5.0f0 | 32 | 2019* | Development | NI | N | NI System Configuration 19.5.0f0 | 0 | 0
Spencer | NI-488.2 | 15.0.0 | 32 | 2015* | Development | NI | N | NI-488.2 15.0.0 | 0 | 0
Spencer | NI-488.2 | 19.5.0 | 32 | 2019* | Development | NI | N | NI-488.2 19.5.0 | 0 | 0
Spencer | NI-DAQmx ADE Support | 15.0.0 | 32 | 2015* | Development | NI | N | NI-DAQmx ADE Support 15.0.0 | 0 | 0
Spencer | NI-DAQmx Device Driver | 15.0.0f2 | 32 | 2015* | Development | NI | N | NI-DAQmx Device Driver 15.0.0f2 | 0 | 0
Spencer | NI-DAQmx MAX Configuration | 15.0.0 | 32 | 2015* | Development | NI | N | NI-DAQmx MAX Configuration 15.0.0 | 0 | 0
Spencer | NI-DCPower | 0 | 32 | 2015* | Development | NI | N | NI-DCPower | 0 | C,G,S
Spencer | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DCPower | 0 | C,G,S
Spencer | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DCPower | 0 | C,G,S
Spencer | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-DCPower | 0 | C,G,S
Spencer | NI-DCPower Soft Front Panel | 15.0 | 32 | 2015* | Development | NI | Y | NI-DCPower | 0 | C,G,S
Spencer | NI-DMM | 0 | 32 | 0 | Development | NI | N | NI-DMM | 0 | C,G,S
Spencer | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DMM | 0 | C,G,S
Spencer | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DMM | 0 | C,G,S
Spencer | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-DMM | 0 | C,G,S
Spencer | NI-FGEN | 0 | 32 | 0 | Development | NI | N | NI-FGEN | 0 | C,G,S
Spencer | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-FGEN | 0 | C,G,S
Spencer | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-FGEN | 0 | C,G,S
Spencer | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-FGEN | 0 | C,G,S
Spencer | FGEN Soft Front Panel | 15.0 | 32 | 2015* | Development | NI | Y | NI-FGEN | 0 | 0
Spencer | NI-HSDIO | 0 | 32 | 0 | Development | NI | N | NI-HSDIO | 0 | G,S
Spencer | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-HSDIO | 0 | G,S
Spencer | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-HSDIO | 0 | G,S
Spencer | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-HSDIO | 0 | G,S
Spencer | NI-HWS | 15.0.0 | 32 | 2015* | Development | NI | N | NI-HWS 15.0.0 | 0 | 0
Spencer | NI-Industrial Communications for EtherCAT | 15.0.0f3 | 32 | 2015* | Development | NI | N | NI-Industrial Communications for EtherCAT 15.0.0f3 | 0 | 0
Spencer | NI-PAL | 19.0.0 | 32 | 2019* | Development | NI | N | NI-PAL 19.0.0 | 0 | 0
Spencer | NI-RIO | 15.0.0 | 32 | 2015* | Development | NI | N | NI-RIO 15.0.0 | 0 | 0
Spencer | NI-SCOPE | 0 | 32 | 0 | Development | NI | N | NI-SCOPE | 0 | C,G,S
Spencer | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SCOPE | 0 | C,G,S
Spencer | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SCOPE | 0 | C,G,S
Spencer | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-SCOPE | 0 | C,G,S
Spencer | SCOPE Soft Front Panel | 15.0 | 32 | 2015* | Development | NI | Y | NI-SCOPE | 0 | C,G,S
Spencer | NI-Serial Configuration | 15.0.0f0 | 32 | 2015* | Development | NI | N | NI-Serial Configuration 15.0.0f0 | 0 | 0
Spencer | NI-Serial | 18.5.0f0 | 32 | 2018* | Runtime | NI | N | NI-Serial 18.5.0f0 | 0 | 0
Spencer | NI-SWITCH | 15.0 | 32 | 2015* | Development | NI | N | NI-SWITCH 15.0 | 0 | 0
Spencer | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SWITCH 15.0 | 0 | C,G,S
Spencer | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SWITCH 15.0 | 0 | C,G,S
Spencer | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-SWITCH 15.0 | 0 | C,G,S
Spencer | Soft Front Panel | 15.0.0 | 32 | 2015* | Development | NI | Y | NI-SWITCH 15.0 | 0 | C,G,S
Spencer | NI-Sync | 15.0.0f0 | 32 | 2015* | Development | NI | N | NI-Sync 15.0.0f0 | 0 | 0
Spencer | NI-TClk | 15.0 | 32 | 2015* | Development | NI | N | NI-TClk 15.0 | 0 | 0
Spencer | NI-TimeSync | 15.0.0f0 | 32 | 2015* | Development | NI | N | NI-TimeSync 15.0.0f0 | 0 | 0
Spencer | NI-USI | 17.0.0.6654 | 32 | 2017* | Development | NI | N | NI-USI 17.0.0.6654 | 0 | 0
Spencer | NI-VISA | 19.5 | 32 | 2019* | Development | NI | N | NI-VISA 19.5 | 0 | 0
Spencer | NiVisaServer.exe | 15.0.0.49152 | 32 | 2015* | Development | NI | Y | NI-VISA 19.5 | 0 | 0
Spencer | NIvisaic.exe | 15.0.0.49152 | 33 | 2015* | Development | NI | Y | NI-VISA 19.5 | 0 | 0
Spencer | NI-VISA | 19.5 | 32 | 2019* | Runtime | NI | N | NI-VISA 19.5 | 0 | 0
Vinny Per Confluence | LabVIEW | 0 | 32 | 2015 SP1 f7 | Development | NI | N | LabVIEW Development 2015 SP1 f7 | 0 | 0
Vinny Per Confluence | Real-Time | 15.0.1 | 32 | 2015* | Development | NI | N | Real-Time 15.0.1 | 0 | 0
Vinny Per Confluence | NI-Industrial Communications for EtherCAT | 15.0 | 32 | 2015* | Development | NI | N | NI-Industrial Communications for EtherCAT 15.0 | 0 | 0
Vinny Per Confluence | JKI VIPM | 0 | 0 | 0 | Development | JKI | N | JKI VIPM | 0 | 0
Vinny Per Confluence | Open Source GOOP Development Suite | 1.1.17.56 | 32 | 2015 | Development | OpenG.org | N | Open Source GOOP Development Suite 1.1.17.56 | JKI VIPM | 0
Vinny Per Confluence | OpenG Application Control Library | 4.1.0.7 | 32 | 2015 | Development | OpenG.org | N | OpenG Application Control Library 4.1.0.7 | JKI VIPM | 0
Vinny Per Confluence | OpenG Array Library | 4.1.1.14 | 32 | 2015 | Development | OpenG.org | N | OpenG Array Library 4.1.1.14 | JKI VIPM | 0
Vinny Per Confluence | OpenG Boolean Library | 4.0.0.7 | 32 | 2015 | Development | OpenG.org | N | OpenG Boolean Library 4.0.0.7 | JKI VIPM | 0
Vinny Per Confluence | OpenG Builder | 3.0.1-2 | 32 | 2015 | Development | OpenG.org | N | OpenG Builder 3.0.1-2 | JKI VIPM | 0
Vinny Per Confluence | OpenG Buttons Library | 4.0.0.7 | 32 | 2015 | Development | OpenG.org | N | OpenG Buttons Library 4.0.0.7 | JKI VIPM | 0
Vinny Per Confluence | OpenG Compare VI to Disk Tool | 4.0.0.9 | 32 | 2015 | Development | OpenG.org | N | OpenG Compare VI to Disk Tool 4.0.0.9 | JKI VIPM | 0
Vinny Per Confluence | OpenG Compariosn Library | 4.0.0.3 | 32 | 2015 | Development | OpenG.org | N | OpenG Compariosn Library 4.0.0.3 | JKI VIPM | 0
Vinny Per Confluence | OpenG Dictionary Library | 4.0.0.4 | 32 | 2015 | Development | OpenG.org | N | OpenG Dictionary Library 4.0.0.4 | JKI VIPM | 0
Vinny Per Confluence | OpenG Editor Library | 4.2.0.23 | 32 | 2015 | Development | OpenG.org | N | OpenG Editor Library 4.2.0.23 | JKI VIPM | 0
Vinny Per Confluence | OpenG File Library | 4.0.1.22 | 32 | 2015 | Development | OpenG.org | N | OpenG File Library 4.0.1.22 | JKI VIPM | 0
Vinny Per Confluence | OpenG LabPython Library | 4.0.0.4 | 32 | 2015 | Development | OpenG.org | N | OpenG LabPython Library 4.0.0.4 | JKI VIPM | 0
Vinny Per Confluence | OpenG LabVIEW Data Library | 4.2.0.21 | 32 | 2015 | Development | OpenG.org | N | OpenG LabVIEW Data Library 4.2.0.21 | JKI VIPM | 0
Vinny Per Confluence | OpenG LabVIEW Zip Library | 4.0.0-2 | 32 | 2015 | Development | OpenG.org | N | OpenG LabVIEW Zip Library 4.0.0-2 | JKI VIPM | 0
Vinny Per Confluence | OpenG Large File Library | 4.0.0.3 | 32 | 2015 | Development | OpenG.org | N | OpenG Large File Library 4.0.0.3 | JKI VIPM | 0
Vinny Per Confluence | OpenG Locate File in Project Tool | 4.0.0.7 | 32 | 2015 | Development | OpenG.org | N | OpenG Locate File in Project Tool 4.0.0.7 | JKI VIPM | 0
Vinny Per Confluence | OpenG MD5 Digest Library | 4.1.1.10 | 32 | 2015 | Development | OpenG.org | N | OpenG MD5 Digest Library 4.1.1.10 | JKI VIPM | 0
Vinny Per Confluence | OpenG Message Queue Library | 4.0.0.15 | 32 | 2015 | Development | OpenG.org | N | OpenG Message Queue Library 4.0.0.15 | JKI VIPM | 0
Vinny Per Confluence | OpenG Numeric Library | 4.1.0.8 | 32 | 2015 | Development | OpenG.org | N | OpenG Numeric Library 4.1.0.8 | JKI VIPM | 0
Vinny Per Confluence | OpenG Picture Library | 4.0.0.13 | 32 | 2015 | Development | OpenG.org | N | OpenG Picture Library 4.0.0.13 | JKI VIPM | 0
Vinny Per Confluence | OpenG Port IO | 4.0.0-2 | 32 | 2015 | Development | OpenG.org | N | OpenG Port IO 4.0.0-2 | JKI VIPM | 0
Vinny Per Confluence | OpenG Rename Folder of Vis Tool | 4.0.0.15 | 32 | 2015 | Development | OpenG.org | N | OpenG Rename Folder of Vis Tool 4.0.0.15 | JKI VIPM | 0
Vinny Per Confluence | Open G String Library | 4.1.0.12 | 32 | 2015 | Development | OpenG.org | N | Open G String Library 4.1.0.12 | JKI VIPM | 0
Vinny Per Confluence | OpenG Time Library | 4.0.1.3 | 32 | 2015 | Development | OpenG.org | N | OpenG Time Library 4.0.1.3 | JKI VIPM | 0
Vinny Per Confluence | OpenG Toolkit | 1.0.1.9 | 32 | 2015 | Development | OpenG.org | N | OpenG Toolkit 1.0.1.9 | JKI VIPM | 0
Vinny Per Confluence | OpenG Variant Configuration File Library | 4.0.0.5 | 32 | 2015 | Development | OpenG.org | N | OpenG Variant Configuration File Library 4.0.0.5 | JKI VIPM | 0
Vinny Per Confluence | NI String Tools Library | 2.0.0.5 | 32 | 2015* | Development | NI | N | NI String Tools Library 2.0.0.5 | JKI VIPM | 0
Vinny Per Confluence | MGI 1D Array | 1.0.0.28 | 32 | 2015* | Development | MGI | N | MGI 1D Array 1.0.0.28 | JKI VIPM | 0
Vinny Per Confluence | MGI 2D Array | 1.0.0.15 | 32 | 2015* | Development | MGI | N | MGI 2D Array 1.0.0.15 | JKI VIPM | 0
Vinny Per Confluence | MGI Actor Framework Message Maker | 1.0.0.17 | 32 | 2015* | Development | MGI | N | MGI Actor Framework Message Maker 1.0.0.17 | JKI VIPM | 0
Vinny Per Confluence | MGI Application Control | 1.0.2.45 | 32 | 2015* | Development | MGI | N | MGI Application Control 1.0.2.45 | JKI VIPM | 0
Vinny Per Confluence | MGI Bezier | 1.0.0.13 | 32 | 2015* | Development | MGI | N | MGI Bezier 1.0.0.13 | JKI VIPM | 0
Vinny Per Confluence | MGI Boolean | 1.0.0.14 | 32 | 2015* | Development | MGI | N | MGI Boolean 1.0.0.14 | JKI VIPM | 0
Vinny Per Confluence | MGI Cluster | 1.0.0.16 | 32 | 2015* | Development | MGI | N | MGI Cluster 1.0.0.16 | JKI VIPM | 0
Vinny Per Confluence | MGI Coordinates | 1.0.0.12 | 32 | 2015* | Development | MGI | N | MGI Coordinates 1.0.0.12 | JKI VIPM | 0
Vinny Per Confluence | MGI Error Handling | 1.0.0.23 | 32 | 2015* | Development | MGI | N | MGI Error Handling 1.0.0.23 | JKI VIPM | 0
Vinny Per Confluence | MGI Error Reporter | 0.9.0.22 | 32 | 2015* | Development | MGI | N | MGI Error Reporter 0.9.0.22 | JKI VIPM | 0
Vinny Per Confluence | MGI File | 1.0.0.33 | 32 | 2015* | Development | MGI | N | MGI File 1.0.0.33 | JKI VIPM | 0
Vinny Per Confluence | MGI Graph | 1.0.0.15 | 32 | 2015* | Development | MGI | N | MGI Graph 1.0.0.15 | JKI VIPM | 0
Vinny Per Confluence | MGI Library | 1.1.0.20 | 32 | 2015* | Development | MGI | N | MGI Library 1.1.0.20 | JKI VIPM | 0
Vinny Per Confluence | MGI Matrix & Vector | 1.0.0.11 | 32 | 2015* | Development | MGI | N | MGI Matrix & Vector 1.0.0.11 | JKI VIPM | 0
Vinny Per Confluence | MGI Menu Building | 0.4.0.25 | 32 | 2015* | Development | MGI | N | MGI Menu Building 0.4.0.25 | JKI VIPM | 0
Vinny Per Confluence | MGI Numeric | 1.0.0.22 | 32 | 2015* | Development | MGI | N | MGI Numeric 1.0.0.22 | JKI VIPM | 0
Vinny Per Confluence | MGI Picture & Image | 1.0.0.16 | 32 | 2015* | Development | MGI | N | MGI Picture & Image 1.0.0.16 | JKI VIPM | 0
Vinny Per Confluence | MGI Read/Write Anything | 2.1.2.34 | 32 | 2015* | Development | MGI | N | MGI Read/Write Anything 2.1.2.34 | JKI VIPM | 0
Vinny Per Confluence | MGI Robust XML | 1.0.1.2 | 32 | 2015* | Development | MGI | N | MGI Robust XML 1.0.1.2 | JKI VIPM | 0
Vinny Per Confluence | MGI Spline | 1.0.0.11 | 32 | 2015* | Development | MGI | N | MGI Spline 1.0.0.11 | JKI VIPM | 0
Vinny Per Confluence | MGI String | 1.1.0.31 | 32 | 2015* | Development | MGI | N | MGI String 1.1.0.31 | JKI VIPM | 0
Vinny Per Confluence | MGI Timing | 1.0.0.13 | 32 | 2015* | Development | MGI | N | MGI Timing 1.0.0.13 | JKI VIPM | 0
Vinny Per Confluence | MGI Tools | 0.6.0.4 | 32 | 2015* | Development | MGI | N | MGI Tools 0.6.0.4 | JKI VIPM | 0
Vinny Per Confluence | MGI Tree | 1.0.0.12 | 32 | 2015* | Development | MGI | N | MGI Tree 1.0.0.12 | JKI VIPM | 0
Vinny Per Confluence | MGI WSA Framework | 1.0.0.27 | 32 | 2015* | Development | MGI | N | MGI WSA Framework 1.0.0.27 | JKI VIPM | 0
Vinny Per Confluence | Gpower Array Library | 2016.2.0.27 | 32 | 2015* | Development | Gpower | N | Gpower Array Library 2016.2.0.27 | JKI VIPM | 0
Vinny Per Confluence | NI CompactRIO Information (CRI) Library | 2015.0.0.1 | 32 | 2015* | Development | NI | N | NI CompactRIO Information (CRI) Library 2015.0.0.1 | JKI VIPM | 0
Vinny Per Confluence | OpenGDS | 1.1.17 | 32 | 2015* | Development | 0 | N | OpenGDS 1.1.17 | 0 | 0
Vinny Per Confluence | NI CompactTIO | 15.5 | 32 | 2015* | C-RIO | NI | N | NI CompactTIO 15.5 | 0 | 0
Vinny Per Confluence | LabVIEW Real-Time 15.0.1 | 15.0.1 | 32 | 2015* | C-RIO | NI | N | LabVIEW Real-Time 15.0.1 15.0.1 | 0 | 0
Vinny Per Confluence | NI System Configuration Remote Support | 0 | 32 | 2015* | C-RIO | NI | N | NI System Configuration Remote Support | 0 | 0
Vinny Per Confluence | NI-RIO | 15.5 | 32 | 2015* | C-RIO | NI | N | NI-RIO 15.5 | 0 | 0
Vinny Per Confluence | CompactRIO Suport | 15.5 | 32 | 2015* | C-RIO | NI | Y | NI-RIO 15.5 | 0 | 0
Vinny Per Confluence | Run-Time Enginer for Web Services | 15.0.0 | 32 | 2015* | C-RIO | NI | N | Run-Time Enginer for Web Services 15.0.0 | 0 | 0
Vinny Per Confluence | SSL Support for LabVIEW | 15.0.0 | 32 | 2015* | C-RIO | NI | N | SSL Support for LabVIEW 15.0.0 | 0 | 0
Vinny Per Confluence | WebDAV Server | 15.0.0 | 32 | 2015* | C-RIO | NI | N | WebDAV Server 15.0.0 | 0 | 0
Vinny Per Confluence | HTTP Client with SSL Support | 15.0.0 | 32 | 2015* | C-RIO | NI | N | HTTP Client with SSL Support 15.0.0 | 0 | 0
Vinny Per Confluence | I/O Variable Remorte Configuration Web Server | 0 | 32 | 2015* | C-RIO | NI | N | I/O Variable Remorte Configuration Web Server | 0 | 0
Vinny Per Confluence | Network Streams | 15.0 | 32 | 2015* | C-RIO | NI | N | Network Streams 15.0 | 0 | 0
Vinny Per Confluence | Network Variable Engine | 15.0.0 | 32 | 2015* | C-RIO | NI | N | Network Variable Engine 15.0.0 | 0 | 0
Vinny Per Confluence | NI Scan Engine | 4.4 | 32 | 2015* | C-RIO | NI | N | NI Scan Engine 4.4 | 0 | 0
Vinny Per Confluence | NI Systems Configuration | 15.3.0 | 32 | 2015* | C-RIO | NI | N | NI Systems Configuration 15.3.0 | 0 | 0
Vinny Per Confluence | NI Web-based Configuration and Monitoring | 0 | 32 | 2015* | C-RIO | NI | Y | NI Systems Configuration 15.3.0 | 0 | 0
Vinny Per Confluence | Hardware Configuration and Web Support | 15.0.0* | 32 | 2015* | C-RIO | NI | Y | NI Systems Configuration 15.3.0 | 0 | 0
Vinny Per Confluence | Network Configuration Web Support | 15.0.0* | 32 | 2015* | C-RIO | NI | Y | NI Systems Configuration 15.3.0 | 0 | 0
Vinny Per Confluence | Software Management Web Support | 15.0.0* | 32 | 2015* | C-RIO | NI | Y | NI Systems Configuration 15.3.0 | 0 | 0
Vinny Per Confluence | Time Configuration Web Support | 15.0.0 | 32 | 2015* | C-RIO | NI | Y | NI Systems Configuration 15.3.0 | 0 | 0
Vinny Per Confluence | NI Wireless Certificate Web Services | 15.0.0* | 32 | 2015* | C-RIO | NI | N | NI Wireless Certificate Web Services 15.0.0* | 0 | 0
Vinny Per Confluence | NI Industrial Communications for EtherCAT | 0 | 32 | 2015* | C-RIO | NI | N | NI Industrial Communications for EtherCAT | 0 | 0
Vinny Per Confluence | NI-RIO IO Scan | 15.5 | 32 | 2015* | C-RIO | NI | N | NI-RIO IO Scan 15.5 | 0 | 0
Vinny Per Confluence | NI Serial 9870 and 9871 Scan Enginer Support | 0 | 32 | 2015* | C-RIO | NI | N | NI Serial 9870 and 9871 Scan Enginer Support | 0 | 0
Vinny Per Confluence | NI-VISA | 15.5.0 | 32 | 2015* | C-RIO | NI | N | NI-VISA 15.5.0 | 0 | 0
Vinny Per Confluence | NI-Watchdog | 15.0.0 | 32 | 2015* | C-RIO | NI | N | NI-Watchdog 15.0.0 | 0 | 0
Vinny Per Confluence | Variable Client Support for LabVIEW RT | 15.0.0* | 32 | 2015* | C-RIO | NI | N | Variable Client Support for LabVIEW RT 15.0.0* | 0 | 0
Vinny Per Confluence | Variable Legacy Protocol Support | 5.7.1 | 32 | 2015* | C-RIO | NI | N | Variable Legacy Protocol Support 5.7.1 | 0 | 0
Vinny Per Confluence | Variable Legacy Server Support | 5.7.1 | 32 | 2015* | C-RIO | NI | Y | Variable Legacy Protocol Support 5.7.1 | 0 | 0

## A-Z Order
User | Name | Version | Bitness | Year | Runtime/Development | Mfg | Dependant | Part Of | Installed with | Consistant
Corey | Advanced Signal Processing Toolkit | 15.0.0 | 32 | 2015 | Development | NI | Y | LabVIEW 2015 SP1 f10 | 0 | C,G,S
Corey | C Series Module Support | 15.0.0 | 32 | 2015* | Development | NI | N | C Series Module Support 15.0.0 | 0 | C,G,S
Spencer | Measurement Studio for VS2010 | 0 | 32 | 0 | Development | NI | N | Measurement Studio for VS2010 | 0 | Newer
Spencer | DotNET | 0 | 32 | 0 | Development | NI | Y | Measurement Studio for VS2010 | 0 | Newer
Spencer | Common | 15.1.40.49152 | 32 | 2015* | Development | NI | Y | Measurement Studio for VS2010 | 0 | Newer
Spencer | Common | 15.1.40.49152 | 64 | 2015* | Development | NI | Y | Measurement Studio for VS2010 | 0 | Newer
Corey | CVI | 15.0.0.408 | 32 | 2015* | Runtime | NI | N | CVI 15.0.0.408 | 0 | C,G
Corey | Database Connectivity Toolkit | 15.0.0 | 32 | 2015 | Development | NI | Y | LabVIEW 2015 SP1 f10 | 0 | C,G,S
Corey | NI-DCPower | 15.0 | 32 | 2015* | Development | NI | N | NI-DCPower 15.0 | 0 | C,G,S
Corey | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DCPower 15.0 | 0 | C,G,S
Corey | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DCPower 15.0 | 0 | C,G,S
Corey | Runtime | 15.0 | 32 | 2015* | Development | NI | Y | NI-DCPower 15.0 | 0 | C,G,S
Corey | NI-DCPower Soft Front Panel | 15.0 | 32 | 2015* | Development | NI | Y | NI-DCPower 15.0 | 0 | C,G,S
Corey | NI-DMM | 15.0 | 32 | 2015* | Development | NI | N | NI-DMM 15.0 | 0 | C,G,S
Corey | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DMM 15.0 | 0 | C,G,S
Corey | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-DMM 15.0 | 0 | C,G,S
Corey | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-DMM 15.0 | 0 | C,G,S
Corey | NI-FGEN | 15.0 | 32 | 2015* | Development | NI | N | NI-FGEN 15.0 | 0 | C,G,S
Corey | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-FGEN 15.0 | 0 | C,G,S
Corey | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-FGEN 15.0 | 0 | C,G,S
Corey | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-FGEN 15.0 | 0 | C,G,S
Corey | NI-SCOPE | 15.0 | 32 | 2015* | Development | NI | N | NI-SCOPE 15.0 | 0 | C,G,S
Corey | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SCOPE 15.0 | 0 | C,G,S
Corey | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SCOPE 15.0 | 0 | C,G,S
Corey | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-SCOPE 15.0 | 0 | C,G,S
Corey | SCOPE Soft Front Panel | 15.0 | 32 | 2015* | Development | NI | Y | NI-SCOPE 15.0 | 0 | C,G,S
Corey | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SWITCH 15.0 | 0 | C,G,S
Corey | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SWITCH 15.0 | 0 | C,G,S
Corey | Runtime Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-SWITCH 15.0 | 0 | C,G,S
Corey | Soft Front Panel | 15.0.0 | 32 | 2015* | Development | NI | Y | NI-SWITCH 15.0 | 0 | C,G,S
Garrett | NI-HSDIO | 0 | 32 | 0 | 0 | NI | N | NI-HSDIO | 0 | G,S
Garrett | Configuration Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-HSDIO | 0 | G,S
Garrett | Development Support | 15.0 | 32 | 2015* | Development | NI | Y | NI-HSDIO | 0 | G,S
Garrett | Runtime | 15.0 | 32 | 2015* | Runtime | NI | Y | NI-HSDIO | 0 | G,S
Corey | DataFinder Toolkit | 15.0.06020 | 32 | 2015 | Development | NI | Y | LabVIEW 2015 SP1 f10 | 0 | C,G,S
Corey | Digital Filter Design Toolkit | 15.0.0 | 32 | 2015 | Development | NI | Y | LabVIEW 2015 SP1 f10 | 0 | C,G,S
Corey | FlexRIO | 15.0.0f0 | 32 | 2015* | Development | NI | N | FlexRIO 15.0.0f0 | 0 | C,G,S
Corey | LabVIEW | 0 | 32 | 2015 SP1 f10 | Development | NI | N | LabVIEW 2015 SP1 f10 | 0 | C,G,S
Corey | LabVIEW | 12.0.1 | 32 | 2012 SP1 f9 | Runtime | NI | N | LabVIEW Runtime 2012 SP1 f9 12.0.1 | 0 | C,G,S
Corey | LabVIEW | 12.0.1 | 64 | 2012 SP1 f9 | Runtime | NI | N | LabVIEW Runtime 2012 SP1 f9 12.0.1 | 0 | C,G,S
Corey | LabVIEW | 0 | 32 | 2013 SP1 f6 | Runtime | NI | N | LabVIEW Runtime 2013 SP1 f6 | 0 | C,G,S
Corey | LabVIEW | 0 | 32 | 2014 SP1 f11 | Runtime | NI | N | LabVIEW Runtime 2014 SP1 f11 | 0 | C,S
Corey | LabVIEW | 14.0.1 | 64 | 2014 SP1 f11 | Runtime | NI | N | LabVIEW Runtime 2014 SP1 f11 14.0.1 | 0 | C,S
Corey | LabVIEW | 15.0.1 | 32 | 2015 SP1 | Runtime | NI | N | LabVIEW Runtime 2015 SP1 15.0.1 | 0 | C,G,S
Spencer | LabVIEW | 19.0.1 | 32 | 2019 SP1 f5 | Runtime | NI | N | LabVIEW 19.0.1 | 0 | Newer
Garrett | LabVIEW | 20.0.1 | 64 | 2020 SP1 f1 | Runtime | NI | N | LabVIEW Runtime 2020 SP1 f1 20.0.1 | 0 | Only Garrett
Garrett | LabWindows/CVI | 15.0.0 | 32 | 2015 | Development | NI | N | LabWindows/CVI Development 2015 15.0.0 | 0 | Only Garrett
Garrett | LabWindows/CVI Shared Add-Ons | 0 | 32 | 0 | Development | NI | N | LabWindows/CVI Shared Add-Ons | 0 | Only Garrett
Corey | MathScript RT Module | 15.0.0 | 32 | 2015 | Development | NI | Y | LabVIEW 2015 SP1 f10 | 0 | Only Corey
Corey | Measurement & Automation Explorer | 15.3.0f0 | 32 | 2015* | Development | NI | N | Measurement & Automation Explorer 15.3.0f0 | 0 | C,G,S